Viamed Management Review
2024

Written by:

Derek Lamb
Managing Director

### Period September 2023 – September 2024

# (0.0) VIAMED Board ISO Review Directors Meeting

### Report References
Ref #343435.14663 Current Objectives Pre Meeting
Ref #336857.14666 ISO 13485 Scope for review
Ref #336857.14667 Exclusions To 13485 Review
Notes
 Must review and sign off the Scope and Exclusions

### Follow on Issues

### Conclusion

# (1.0) Minutes of Last Meeting

### Report References
Ref #336857.14695 Minutes of Last Meeting

Notes
  Meeting Date: 18 October 2023
- Attendees:
  - Jean Lamb
  - Steve Nixon
  - Derek Lamb
  - Helen Lamb (Minutes taker)
- Meeting Start Time: 10:30 AM
- Meeting End Time: 5:00 PM
- Agenda: Reviewed and agreed upon by the Board before the meeting started.

Summary:
The 2023 Management Review Board meeting was conducted on 18 October 2023. Attendees included Jean Lamb, Steve Nixon, Derek Lamb, and Helen Lamb, with the latter responsible for taking the minutes. The meeting lasted from 10:30 AM to 5:00 PM. The agenda was reviewed and approved prior to the meeting.
### Follow on Issues

### Conclusion

# (2.0) Matters Arising
Objective
### Report References
 302478.13321 Viamed 2023 Management Review Minutes included Oct 23 - Helen Lamb Minutes_10_10_24.pdf
Issue 277097 still ongoing and being worked on.
Issue 277266 still ongoing, Distributor agreement is being rewritten to utilise the new system.
Issue 309724 was sent as there is a system bug.
Issue 309727 sent to DL to set the objective for 2024.
Issue 309728 to DL regarding making a report that shows accounts on stop and the total value
Issue 309736 sent to DL regarding reviewing documents per supplier, to be discussed in the Wednesday meeting.
Issue 309737 sent to DL to monitor/review out-of-target stock.
Issue 309746 sent to DL to test that the new issue, Adverse incidents, shows on the review reports.
Issue 309748 sent to set up a system to get feedback sent to suppliers.
Issue 309770 sent to DL for moving the Process Update Effectiveness Review from this section to section 13.3 Process Performance.
Issue 309983 sent to HL for follow-up on building fabric matters.
Issue 309984 sent to all staff regarding Coronation bank holiday addition to the 2024 holiday allocation.
Issue 309857 sent to SN to explore UKCA and UKRP training for SH.

Notes

### Follow on Issues

### Conclusion

# (2.1) Follow-up actions from previous reviews

### Report References

Notes
   SEE (2.0)	Matters Arising Done together.
  Header: (2.0) Matters Arising
Follow-on Issue:
- Issue 277097 still ongoing and being worked on.
  Notes : (Export sales were dropping, - it recovered a bit and is now between the 2 years)
- Issue 277266 still ongoing, Distributor agreement is being rewritten to utilize the new system.
  Notes : now Closed

Header: (3.0) Turnover and Predicted for Year
Follow-on Issue:
Issue 309724 was sent as there is a system bug.
Notes : 07 Dec 2023 Derek Lamb updated the turnover pages, stock sales pages, and country sales so far,couple more have been done in the stock groups pages,rest will do as and when they sow themselves,not all existing pages were affected

Header: (6.0) Target for Year
Follow-on Issue:
Issue 309727 sent to DL to set the objective for 2024.
21 Oct 2023 Derek Lamb done

Header: (10.0) Debtors
Follow-on Issue:
Issue 309728 to DL regarding making a report that shows accounts on stop and the total value.
17 May 2024 Derek Lamb accounts on stop shows on the front crm page,unable to show value as that's in the accounts xero packages

Header: (11.1) Purchasing controls
Follow-on Issue:
Issue 309736 sent to DL regarding reviewing documents per supplier, to be discussed in the Wednesday meeting.

Header: (13.0) Stock Levels and product performance
Follow-on Issue:
Issue 309737 sent to DL to monitor/review out-of-target stock.
26 Jan 2024 Helen Lamb this has now come down

Header: (15.0) Customer Complaints
Follow-on Issue:
Issue 309746 sent to DL to test that the new issue, Adverse incidents, shows on the review reports.
21 Oct 2023 Derek Lamb 31015721 Oct 2023 test issue works as shown

Header: (15.1) Customer and product feedback
Follow-on Issue:
Issue 309748 sent to set up a system to get feedback sent to suppliers.
21 Oct 2023 Still a work in progress, survey monkey customer feedback working, data going into intrastats, lots currently changing with regardd suppleirs, data reviews and climate Questions

Header: (15.4) Preventive and corrective actions
Follow-on Issue:
Issue 309770 sent to DL for moving the Process Update Effectiveness Review from this section to section 13.3 Process Performance.
17 May 2024 Derek Lamb
done

Header: (18.0) Building fabric Issues
Follow-on Issue:
Issue 309983 sent to HL for follow-up on building fabric matters.
13 Jun 2024 Helen Lamb
this has all been done. We have also now got a gardener and had other work completed

Header: (19.0) Responsibilities, Staff, Training Issues
Follow-on Issue:
Issue 309984 sent to all staff regarding Coronation bank holiday addition to the 2024 holiday allocation.

Header: (19.1) Staff Appraisals
Follow-on Issue:
Issue 309857 sent to SN to explore UKCA and UKRP training for SH.

### Follow on Issues

### Conclusion

# (3.0) Turnover and Predicted for Year
Objective
### Report References

Ref #336857.14643 Turnover Report

Notes
 Summary
The turnover data from 2022 through 2024 shows fluctuating trends. In 2023, the total turnover was £2.669 million, and in 2022, it was slightly lower at £2.547 million. For 2024, the projected turnover is £2.63 million, based on the performance from January through October (£2.037 million) and estimated values for the remaining months. However, the current figures for 2024 fall short of the £3.0 million objective, with significant variances in the second half of the year, particularly in October. Additional effort may be required to meet the goal.

### Follow on Issues

### Conclusion

# (4.0) Profitability

### Report References

Notes
Heading: Profiability
Objective: 5 Percent Net of Turnover
We need to be hitting 120,000 to 130,000 for 5%
currently we been running at 1% at best for 2023,

### Follow on Issues

### Conclusion

# (6.0) Target for Year
Objective
### Report References

Notes

### Follow on Issues

### Conclusion

# (9.0) Overdraft

### Report References

Notes
 We currently have No overdraft,

### Follow on Issues

### Conclusion

# (10.0) Debtors
Objective
### Report References

Notes
Raw Data:
- Invoices Owed to You:
  - 592 Awaiting payment (including overdue): £260,657.59
  - 229 Overdue invoices (subset of above): £131,726.92
- Invoices by Timeframe:
  - Older: Significant volume.
  - 29 Sep–5 Oct: Low volume.
  - This week: Average volume.
  - 13–19 Oct: Increasing volume.
  - 20–26 Oct: Moderate volume.
  - Future: High volume.
- Turnover (Yearly):
  - 2024 Estimated Turnover: £2,037,263 (current) | £2,630,419 (estimated for the full year)
### Concise Summary:
- Total invoices awaiting payment: £260,657.59, of which £131,726.92 (50.5%) are overdue.
- The company aims to keep total debtors below 15% of turnover. Based on the current turnover for 2024 of £2,037,263, 15% equals approximately £305,589.
- Current total debt of £260,657.59 is within the 15% threshold, representing 12.8% of the current turnover.
- However, 50.5% of the total outstanding amount (£131,726.92) is overdue, which is a significant proportion.
### Action Points:
1. Prioritize the collection of overdue invoices to reduce the risk of further overdue debt, especially the £131,726.92.
2. Monitor the total debtor balance as turnover progresses to ensure the company remains under the 15% threshold for the full year.
Receivables breakdown by notable entries:
- Barts Health NHS Trust: £7,745.04 due in <1 month.
- D. Cortessis & Co L.P.: Total of £15,179.35, of which £6,391.64 and £8,787.71 in 3 months (FX).
- JJS Manufacturing Ltd: £19,137.60 total, with a significant portion under current, <1 month, and 1 month.
- Premier Diagnostics Ltd: £7,582.20 total, primarily older.
- Oxylink Piotr Podkowa (Euro): £15,904.75 total, primarily 1 month and older.
### Overall Total and Summary
The total outstanding receivables across all periods for Viamed Limited as of 31 October 2024 is £321,379.99.
### Breakdown by Ageing Categories:
- Current: £39,679.17
- <1 Month: £112,763.18
- 1 Month: £38,026.73
- 2 Months: £12,002.98
- 3 Months: £16,826.60
- Older: £102,081.33

### Follow on Issues

### Conclusion

# (10.1) Contract review , Picking, Packing and Dispatch
Objective
### Report References
Ref #336857.14644 Reasons for Editing Customer Orders
Ref #336857.14645 Shipping Stats
Ref #336857.14646 Shippers used
Notes
 Ref #336857.14644 Reasons for Editing Customer Orders
Key Takeaways:
- Customer Order Changes and Customer Updates are the most frequent reasons for order edits in the "Customer Update" category.
- Input Errors, such as Incorrect Information and Address Amendments, peak in the early months of 2024.
- Layout Errors remain infrequent but occur sporadically, with no major trends.
Regular business updates, like Priority and Price Changes, happen mostly during early 2024, with some consistency in carriage and shipment-related changes.
Ref #336857.14645 Shipping Stats
### Summary:
- Total Orders: 5,272 orders recorded from July 2023 to September 2024.
- Breakdown by Shipping Time:
  - Same Day: 3,260 orders (61.83%)
  - Next Day: 914 orders (17.33%)
  - Combined Same or Next Day: 4,174 orders (79.16%)
  - 3 Days: 153 orders (2.9%)
  - 4 Days: 193 orders (3.66%)
  - 5 Days: 90 orders (1.7%)
  - 6 Days: 64 orders (1.21%)
  - 7 Days: 52 orders (0.98%)
  - More than 7 Days: 544 orders (10.31%)
- Key Observations:
  - 79.16% of orders are shipped within the same or next day.
  - A significant portion of delays occurs in orders taking more than seven days to ship (10.31%).
  - There is a noticeable spike in orders shipped on the fourth day (likely influenced by weekend delivery gaps).
- Notes:
  - Data is based on approximations and considers the time between order confirmation and shipment notifications.
  - Orders processed over the weekend may reflect in 4-day shipments, causing minor spikes.
This summary highlights that nearly 80% of orders are shipped within one day, indicating strong performance in quick deliveries.

Ref #336857.14646 Shippers used
Summary:
1. Overall Volume: The total parcel volume ranged between 171 and 444 monthly deliveries from May 2023 to October 2024. The highest volume was in April 2024 with 444 parcels, while the lowest was in October 2024 with 171 parcels.
2. Key Courier Services:
  1. UPS: Saw consistently high usage, peaking in September 2024 with 405 parcels.
  2. DHL: Frequently used, ranging between 1 and 7 parcels monthly.
  3. FedEx: Generally managed between 1 and 6 parcels, with an increased usage in June 2024 (5 parcels).
3. Variations: Usage of less common couriers like EMS, Parcel Force, and Kuehne Nagel fluctuated with little consistency.
4. Trend: There was a noticeable increase in parcel volume in April 2024, followed by a gradual decline in subsequent months.

### Follow on Issues

### Conclusion

 (11.0)	Creditors

### Report References
 Ref #336857.14649 Creditors Report

Notes

### Follow on Issues

### Conclusion

# (11.1) Purchasing controls

### Report References
 Ref #336857.14650 Supplier Review Index
Notes
   Summary:
- Total Suppliers Reviewed: 36
- Suppliers with Rating "A" (Critical, sole supplier): 3 (e.g., H-Squared UK Electric Ltd.)
- Suppliers with Rating "B" (Supplier performing well): 31
- Suppliers with Rating "C" (Supplier OK, alternatives worth considering): 2 (The West Group LTD, Unimed)
Key Notes:
- Majority of the suppliers are rated B, indicating satisfaction but no exclusivity.
- Several suppliers lack formal supply agreements, but have ISO certifications, ensuring standards compliance.
- Few suppliers are not actively used or have expired reviews, requiring updates (e.g., Unimed, Beijing Choice Electronic).
Orders to Suppliers now cannot proceed unless there is a current and up to date supplier review been signed off.
### Follow on Issues

### Conclusion

 (12.0)	Loans
Objective
### Report References

Notes
 We Don’t have any Loans Currently

### Follow on Issues

### Conclusion

# (13.0) Stock Levels and product performance
Objective
### Report References
Ref #336857.14651 Stock Movements
Ref #336857.14652 Product Fail reviews
Ref #336857.14653 QA Fails Report
Notes
Below is a detailed list of issues requiring action, excluding those marked "No Work Required."
Issue ID	Date Created	Completed By	Date Completed	Repair Details	Days to Complete
342882	04 Oct 2024	Derek Lamb	10 Oct 2024	0110043: Requires Cleaning! - Manufacturing Defect; 0310265: Requires Cleaning! - Full Service, different model/part number, Waiting on response from Envitec.	7 days
340294	06 Sep 2024	Derek Lamb	13 Sep 2024	0110215: Requires Cleaning! - Zero offset out of tolerance, recalibration; 7910110: Requires Cleaning! - On/Off button fault, no cap required.	9 days
338382	16 Aug 2024	Derek Lamb	05 Sep 2024	8010004: Requires Cleaning! - Connector unstable, VST sensors, no cap required at this time.	22 days
335077	12 Jul 2024	Derek Lamb	18 Jul 2024	4410530: Requires Cleaning! - Calibration test, no issues found.	8 days
333683	28 Jun 2024	Derek Lamb	04 Jul 2024	0110043: Requires Cleaning! - Sensor mechanically broken; 7910110: Requires Cleaning! - No fault found, no cap required.	7 days
333078	21 Jun 2024	Derek Lamb	04 Jul 2024	7910201: Requires Cleaning! - Not switching on, no cap required, Vandagraph Tek Ox.	15 days
332460	14 Jun 2024	Derek Lamb	20 Jun 2024	1114007: Requires Cleaning! - Credited stock, return to shelf, no cap required.	8 days
331778	07 Jun 2024	Derek Lamb	13 Jun 2024	0110579: Requires Cleaning! - No fault found.	7 days
331099	31 May 2024	Derek Lamb	06 Jun 2024	7910201: Requires Cleaning! - Intermittent power, Tek Ox Vandagraph, no cap required.	7 days
329856	17 May 2024	Derek Lamb	21 May 2024	0110217: Requires Cleaning! - Service replacement; 0380030: Requires Cleaning! - Serviced/adjusted factory set valves; 2810004: Requires Cleaning! - Display fault; 7910110: Requires Cleaning! - Sensor lead failed.	5 days
327633	26 Apr 2024	Derek Lamb	03 May 2024	971023: Requires Cleaning! - Multiple faults, sensor replaced, case damaged, replaced.	9 days
325169	02 Apr 2024	Derek Lamb	05 Apr 2024	7910201: Requires Cleaning! - Erratic reading; 9710203: Requires Cleaning! - Case fault, both Vandagraph, no cap required.	5 days
323732	15 Mar 2024	Derek Lamb	26 Mar 2024	0012176: Requires Cleaning! - Chipox fault, return to supplier; 0110452: Requires Cleaning! - Unstable and non-linear, normal sensor fault, no cap required.	13 days
323008	08 Mar 2024	Derek Lamb	26 Mar 2024	0110229: Requires Cleaning! - Low output; 0110452: Requires Cleaning! - Unstable and non-linear, both normal sensor type failures, 0110229 Vandagraph sensor.	20 days
320903	16 Feb 2024	Derek Lamb	23 Feb 2024	0111235: Oxygen monitor with alarms, labelled as an alarm fault, turned out to be a physical connector fault, no cap required.	9 days
317562	12 Jan 2024	Derek Lamb	19 Jan 2024	0111260: Requires Cleaning! - Display fault, being returned to supplier; 0310100: Requires Cleaning! - Keyboard fault, no cap required.	9 days
316896	05 Jan 2024	Derek Lamb	11 Jan 2024	0380030: Tom Thumb Infant Resuscitator, replaced gauge face, no cap required; 1410000: Foetal Heart Simulator model V1000, serviced, no cap; 8010006: Oxygen Sensor - rEvo CR22D, zero offset error, sensor fault, no cap.	7 days
315219	15 Dec 2023	Derek Lamb	21 Dec 2023	8010050: Requires Cleaning! - Electrolyte leakage, rare fault, will monitor for recurrence.	7 days
311418	03 Nov 2023	Derek Lamb	10 Nov 2023	0111250: Requires Cleaning! - Handi Oxygen Analyser, no cap required, returning to supplier.	8 days
310083	20 Oct 2023	Derek Lamb	20 Oct 2023	0111275: Oxygen analyser OxiQuant S, high reading, return to supplier, no cap required; 7910110: Requires Cleaning! - No reading, Vandagraph, no cap required.	2 days

### Summary of Actions:

### Summary:
- The task of cleaning up product failure codes is systematically progressing under Derek Lamb’s oversight.
- Most issues were investigated, tagged, and closed promptly, with clean codes applied as required.
- Several products required no further action as no faults were found (e.g., routine recalibration, sensor checks, or return to stock).
- All stock references are being reviewed for new faults, and actions are being taken to categorize them correctly.
- Outstanding issues involve minor manufacturing defects or service adjustments, with actions pending supplier responses or additional investigation.
- Average task completion time ranges from 5 to 15 days, depending on issue complexity.
This review confirms that the process is effective, and the list is nearing completion.

### Follow on Issues

### Conclusion

# (13.1) Storage and Stock Control
Objective
### Report References
Ref #336857.14654 Warehouse temperatures

Notes
Current Stock Temperature Limits: -20 °C to 50 °C
Temperature (as of 10 October 2024, 4:21 pm):
  - Location: Main Office Stock Room, Goods Out Back Wall
  - Temperature: 20.60 °C
  - Pressure: 99895.00 Pa
Concise Summary
The warehouse stock room's temperature, recorded at 20.60 °C on 10 October 2024, falls well within the acceptable storage range of -20 °C to 50 °C. Historical data from April to October 2024 shows stable temperature trends, with monthly minimum temperatures ranging from 14.00 °C to 17.10 °C, and maximum temperatures between 21.50 °C and 26.20 °C. These values indicate a consistent climate conducive to safe stock storage, with no extremes recorded that would threaten stock stability.

 Follow on Issues

### Conclusion

# (13.2) Calibration Index Review
### Report References
 Ref #336857.14655 Calibration Index
Notes
 CE0185 (TF930 Frequency Generator)
  1. Status: Still with Cathy, awaiting calibration or replacement.
  2. Issue Dates:
    1. Outstanding as of 03 Oct 2024 (latest update).
    2. This equipment has been mentioned in multiple issues, dating back to June 2024.
  3. Notes: Philip Crossley has reported delays in its return and is awaiting resolution. In December 2023, it was replaced by CE216 and planned to be kept 6 months out of sync with CE0185.
2. CE082 (DVM) and CE111 (DVM)
  1. Status: Due for testing.
  2. Issue Date: 03 Oct 2024.
  3. Notes: Both devices are highlighted for testing, with plans to be processed soon.
3. CE210 (Flow Meter) and CE215 (Pressure Gauge)
  1. Status: Both need to be sent away for calibration.
  2. Issue Date: 03 Oct 2024.
  3. Notes: The flow meter has been previously reported for calibration since October 2023.
4. Cable Testers: CE188, CE191, CE194, CE195, CE196
  1. Status: Need to be located and checked.
  2. Issue Date: 03 Oct 2024.
  3. Notes: Philip Crossley noted that these testers are pending verification and calibration.
5. CE214 (Torque Screwdriver)
  1. Status: About to run out of calibration, suggested to replace it as it is cheaper to buy a new one.
  2. Issue Date: 03 Sep 2024.
  3. Notes: Decision to wait until it's needed, as it could be months before its use.
6. CE178 (Digital Pressure Gauge)
  1. Status: Recently back from calibration (Jul 2024).
  2. Issue Date: Previously reported in July 2024.
  3. Notes: Calibration is completed; no further action required.
7. CE164 (Microcal 1030)
  1. Status: Taken out of service due to being faulty.
  2. Issue Date: 05 Aug 2024.
  3. Notes: Microcal returned from calibration but was faulty and decommissioned.
### Summary of Actions:
- Immediate Calibration Required:
  - TF930 (CE0185): Pending calibration since June 2024.
  - DVMs CE082 and CE111: Testing needed.
  - Flow Meter CE210 and Pressure Gauge CE215: Send for calibration.
  - Cable Testers CE188, CE191, CE194, CE195, and CE196: Locate and check.
- Equipment to Monitor:
  - CE214 (Torque Screwdriver): Replacement needed, waiting until required for use.

### Follow on Issues

### Conclusion

# (13.3) Process performance
Objective
### Report References
Ref #336857.14664 Employee Processes
Ref #336857.14665 Process reviews
Notes

### Follow on Issues

### Conclusion

# (14.0) Back Orders
Objective
### Report References
 Ref #336857.14668 Active List as at 14 Oct 2024
Ref #336857.14669 OverView
Notes
 Use live data not uploads

### Follow on Issues

### Conclusion

# (15.0) Customer Complaints
Objective
### Report References

 Notes for discussion:
Handling of Customer Complaints where we are ‘In the Middle’ I.e. we are a conduit to the supplier from the customer. Timescales may be beyond our control,
See issue 304005 customer commented on a bluepoint product, we rasied an internal complaint, but its not solvable by us, and indeed is user abuse of the connector,
bluepoint took ages to send us a letter saying this is the only occurance, so no changes have been made to the product.
Do we add a section to our procedures in dealing with being in the middle specifically?
### Follow on Issues

### Conclusion

# (15.1) Customer and product feedback
Objective

### Report References

 343734 (14 Oct 2024): Sales forecasts and warnings for specific products with significant sales drops, including oxygen sensors and a foetal heart simulator.
342626 (02 Oct 2024): Feedback from Steve Collard regarding a website order for a Divesoft O2/He analyser.
342607 (02 Oct 2024): Request for feedback from a unique customer regarding EyeMax Flowsensors.
342568 (01 Oct 2024): Feedback from Royal Preston regarding equipment servicing issues.
342138 (26 Sep 2024): Feedback on R-45V oxygen sensor performance.
340944 (16 Sep 2024): System-generated sales forecasts for sales warnings.
338790 (21 Aug 2024): Positive feedback from eBay regarding MD300-C29 Finger Oximeter.
338787 (21 Aug 2024): Positive feedback from eBay for MD300-C5 Frog Paediatric Finger Pulse Oximeter.
338730 (20 Aug 2024): Feedback on rainout issues in Hamilton ventilators.
338095 (14 Aug 2024): System-generated sales forecasts for stock warnings.
336244 (25 Jul 2024): Positive feedback regarding R-22VA oxygen sensors.
335640 (18 Jul 2024): Positive feedback from Nottingham University Hospitals on aftersales care and support for MaxO2 ME sensors.
333541 (26 Jun 2024): Feedback about unusual failure of R-43V oxygen sensors from Alder Hey hospital.
330051 (20 May 2024): Positive feedback from James Cook University Hospital on spare parts and stock availability for Tom Thumb devi

Summary:
October 2023
1. 19 Oct 2023:
  1. Customer Feedback: The customer accepted a 50% credit as a goodwill gesture (EUR 145.95) for an issue with Medisera products. The credit was applied, and the customer thanked Viamed for the resolution.
2. 18 Oct 2023:
  1. Product Feedback Review: A general review of customer feedback for the past 12 months found no complaints among the feedback gathered.
3. 16 Oct 2023:
  1. EyeMax Feedback: Feedback regarding EyeMax products, noting a satisfaction survey for EyeMax phototherapy masks. Customers were generally satisfied with the product.
### November 2023
1. 10 Nov 2023:
  1. Customer Feedback for Maxtec EyeMax: The feedback included mixed responses. A customer from the Panda unit and A&E pediatric department rated the product highly, though they mentioned the product as "overpriced" and the value for money as average.
### January 2024
1. 05 Jan 2024:
  1. EyeMax Feedback: Mid and South Essex NHS Foundation Trust provided highly positive feedback on EyeMax masks, noting reliability and high quality of the product.
### Additional Feedback:
- 02 Oct 2024: Positive feedback from Steve Collard on excellent service for a website order for a Divesoft O2/He analyzer.
- 02 Oct 2024: Royal Preston provided feedback regarding equipment servicing.

Notes

### Follow on Issues

### Conclusion

# (15.2) Non Conformities Review
Objective
### Report References
Ref #336857.14671 Complaints and Non Conformance
Order Errors:
- Incorrect order entries were logged, such as address errors (Issue ID 343889) and carriage misprocessing (Issue ID 343820). These were identified as internal office processing mistakes.
- Another error involved shipping items incorrectly using UPS instead of Royal Mail as per customer memo instructions.
Shipped Item Returns:
- Multiple return cases were recorded, including a box return due to a manufacturing defect involving loose PCB components (Issue ID 343727).
- Similar return incidents were logged, requiring non-conformance reviews to determine if CAPA (Corrective and Preventive Action) processes should be initiated.
Non-conformance Reviews:
Regular reviews were conducted on non-conformance logs (e.g., Issue ID 343025), checking actions implemented to prevent recurrence and monitoring any increase in error rates. These were reviewed to ensure corrective actions are in place and effective.
Customer Complaints:
- Complaints were filed regarding system or staff errors, such as an issue with the Shopify Admin Page (Issue ID 341548), where an order was not fulfilled. It was resolved by internal review and corrective measures.
- High QA failure rates were noted in some reports, requiring attention and review by relevant staff (Issue ID 342609).
ISO and Training Audits:
Audits identified issues such as incorrect task numbers in training documents and were subsequently corrected (Issue ID 341465).

Notes

### Follow on Issues

### Conclusion

# (15.3) Vigilance System
Objective	Assess whether any reporting needs to be made that has not already been reported over the last 12 month. Ensure the board is happy with existing vigilance issue for the last 12 months.
### Report References

Notes

### Follow on Issues

### Conclusion

# (15.4) Preventive and corrective actions
Objective
### Report References

Notes

### Follow on Issues

### Conclusion

# (16.0) ISO Issues
Objective
### Report References
### Ref #336857.14709 BSI 2391793-202310-N1
Servicing process was not fully effective as servicing procedure
and information was not seen to include analysis to determine if
information is to be handled as a complaint.
Clause 7.5.4
VOP09, 24. 11. 2021 Repairs and Servicing
SRN 36055, Tom Thumb SN 0401370, 11. 10. 2023
SRN 36045, barcode 987618, M000SN 4278, Microstim DB3, Report
1697639395, 18.10. 2023.
Added pull down for engineers to use to highlight potential Nonconformance or customer complaints from the returns service.
Checked it shows in the complaints review.

Notes
 More global for discussion, is we will be reducing our scope with BSI regarding discontinued products,
we now out of service support for most of our old range, do we keep 13483? do we move to 9001?

### Follow on Issues

### Conclusion

# (16.1) Regulatory Changes
Objective
### Report References
Task 48
Reviewed and no changes to the 13485:2016.
 ISO 13485-2016 Still Current as per our certification.
Notes

### Follow on Issues

### Conclusion

# (16.2) Documentation and records
Objective
### Report References

Statistic Header	------------------
Barcodes	2,525,538
Barcode Movements	2,881,191
Documents	165,516
Live Documents	77,645
Access Logs / Page Impressions	1,401,514
Tracking Customer Orders	23,626
Total Issues	335,999

.
Tracking 12% more barcodes in 2024,
26% increase in document storage,
25% increase in number of live documents
Tracking Customer orders is broken as same report as last year,
new Order System with:
 (32657 total, Query took 0.0003 seconds.) records,
The Overview page Needs a complete rewrite, as its reading old opera tables,
underlying data is 100% ok, its just the overview report screen

Notes

### Follow on Issues

### Conclusion

# (16.3) Quality planning
Objective
### Report References
Ref #336857.14690 VM3COP00.00 VOP00.00 Viamed Quality Statement policy and objectives
Ref #336857.14677 Responsibility's Organsiation Chart
Ref #336857.14666 ISO 13485 Scope for review
Ref #336857.14694 Objectives Expanded
Ref #336857.14667 Exclusions To 13485 Review

Notes

### Follow on Issues

### Conclusion

# (16.4) Achievement of Quality Policy and Objectives.
Objective
### Report References

Notes

### Follow on Issues

### Conclusion

# (16.5) Changes to the Management system
Objective
### Report References
 Ref #336857.14707 ISO 13485 2016 Route Map

Notes

### Follow on Issues

### Conclusion

# (16.6) Changes to CE marked products
Objective
### Report References
Viamed CE Marked Medical products have all been discontinued.
No changes to legacy products. Or CE products in their lifespan.

Notes

### Follow on Issues

### Conclusion

# (16.7) External Parties risks and opportunities review
Objective
### Report References
Ref #336857.14706 External Parties
 Need to action the new supplier review questionaire, also need to ensure the question of climate change is addressed, its been added to ISO 9001:2015 as an amendment, so can foresee it being added to 13485 : 2016.
Added the clause to the review, still to be addressed.

Notes

### Follow on Issues

Conclusion

# (16.8) New products
Objective
### Report References
No Viamed products. It is based on suppliers releasing new products.
We are not designing our own products anymore.

Notes

### Follow on Issues

### Conclusion

# (16.9) Advisory notices & recalls
Objective
### Report References

Notes
No advisories, notices or Recalls.

### Follow on Issues

Conclusion

# (16.10) Possible system changes
Objective
### Report References
Objective
To outline potential system changes and provide an update on current server status.
Report References
A new main server and backup server have been installed.
Server Overview:
- vmserver10.thevault.me.uk – Live working server.
- vmserver9.thevault.me.uk – Live backup server (offsite, mirroring live system).
- vmserver10.viamed.co.uk – Live development server, ready to act as a swap-out for both hardware and data when needed.

Notes

### Follow on Issues

Conclusion

# (16.11) Recommendations or improvement
Objective
### Report References

Notes

### Follow on Issues

### Conclusion

# (16.12) Results of internal audits / Mini Audits
Objective
Ref #336857.14674 audit results chart
Ref #336857.14675 Results Mini Audits

### Report References

Notes

### Follow on Issues

### Conclusion

# (16.13) Audits Meeting Closure
Objective
 Ref #336857.14673 Audit Cross Ref Check and Calender
### Report References

Notes

### Follow on Issues

### Conclusion

# (17.0) Company Issues
Objective
### Report References

Notes

### Follow on Issues

### Conclusion

# (17.1) GDPR
Objective
### Report References

Notes

### Follow on Issues

### Conclusion

# (17.2) Review of responsibilities
Objective
### Report References
Ref #336857.14677 Responsibility's Organisation Chart
Ref #336857.14676 Responsibility's review
Notes

### Follow on Issues

Conclusion

# (17.3) Resources required
Objective
### Report References

Notes

### Follow on Issues

Conclusion

# (18.0) Building fabric Issues
Objective
### Report References

Notes

### Follow on Issues

Conclusion

# (19.0) Responsibilities, Staff , Training Issues
Objective
### Report References

Notes

### Follow on Issues

Conclusion

# (19.1) Staff Appraisals
Objective
### Report References

Notes

### Follow on Issues

Conclusion

# (20.0) Distributor Issues
Objective
### Report References

Notes

### Follow on Issues

Conclusion

# (21.0) Supplier Issues and review
Objective
### Report References

Notes

### Follow on Issues

Conclusion

# (21.1) Supplier / subcontractor performance
Objective
### Report References

Notes

### Follow on Issues

Conclusion

# (22.0) Any other Business
Objective
### Report References
Ref #336857.14711 VM3COP60.04 Viamed Disaster Planning Business Continuity Plan Reports ID72870
 Ref #336857.14712 VM3COP60.06 BUSINESS CONTINUITY PLAN Contingency Plan Viamed VST Vandagraph ID74819

Notes
Continuity Plans require reviewing

### Follow on Issues

Conclusion

# (22.1) Review Management Meeting Headers
Objective: Are Objectives suitable for purpose
### Report References

Notes

### Follow on Issues

### Conclusion