## Sheet1
Correct Part No. | Description | NOTE | Viamed Part Querying
BPH-NS30-062Z-02M | Compatible NIBP Air Hose: Neonate, Single Tube, 3.0m, Connector diameter: 5mm | BPH-NS30-059Z-02M, this part No. has been cancelled and won't be use any more. New Part No. for this is the one with ***-062Z-*** | 6014158
BPH-AS30-062Z-02M | Compatible NIBP Air Hose: Adult/Pediatric, Single Tube, 3.0m, Connector diameter: 5mm | BPH-AS30-059Z-02M, this part No. has been cancelled and won't be use any more, New Part No. for this is the one with ***-062Z-*** | 6014159
BPH-NS15-062Z-60 | Compatible NIBP Air Hose: Neonate, Single Tube, 1.5m, Connector diameter:5mm | BPH-NS15-059Z-60, this part No. has been cancelled and won't be use any more, New Part No. for this is the one with ***-062Z-*** | 6014160
BPH-AS15-062Z-60 | Compatible NIBP Air Hose: Neonate, Single Tube, 1.5m, Connector diameter:5mm | BPH-AS15-059Z-60, this part No. has been cancelled and won't be use any more. New Part No. for this is the one with ***-062Z-*** | 6014161
FDELA-HL01-SGE | Compatible Sonicaid/Huntleigh Fetal Leg Plate (DECG) Cable ACC-OBS-068 |  | 6018316
FDELA-SL01-SKE | Compatible Spacelabs Fetal Leg Plate (DECG) Cable - 2.5m, use with Kendall spiral electrode |  | 6018319
FDELA-NT01-SKE | Compatible Neoventa STAN S41 Fetal Leg Plate (DECG) Cable, 2.5m, use with Kendall spiral electrode | we don't have this FDELA-NT01-SNE | 6018324
FDELA-SL01-SKE | Compatible Spacelabs Fetal Leg Plate (DECG) Cable - 2.5m, use with Kendall spiral electrode |  | 6018326