## Sheet1
6018750 | Temperature Adapter Cable | TA-PH-AD03 | Compatible with Philips/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/065
6018751 | Temperature Adapter Cable | TA-MQ-AD03 | Compatible with GE Marquette/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/005
6018752 | Temperature Adapter Cable | TA-DG-AD03 | Compatible with Draeger/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/084
6018753 | Temperature Adapter Cable | TA-SL-AD03 | Compatible with Spacelabs/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/116
6018754 | Temperature Adapter Cable | TA-MRA-AD03 | Compatible with Mindray/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/127
6018755 | Temperature Adapter Cable | TA-MRB-AD03 | Compatible with Mindray-Datascope/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/130
6018756 | Temperature Adapter Cable | TA-BLT-AD03 | Compatible with Biolight/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/153
6018757 | Temperature Adapter Cable | TA-SW-AD03 | Compatible with Artema/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/014B
6018758 | Temperature Adapter Cable | TA-IFN-AD03 | Compatible with Infinium/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/341
6018759 | Temperature Adapter Cable | TA-MRA-AD25 | Compatible with Mindray/Temperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/2.5M/127
6018760 | Temperature Adapter Cable | TA-MQ-2AD03 | Compatible with GE Marquette/Dual channelTemperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/005
6018761 | Temperature Adapter Cable | TA-MQ700-2AD03 | Compatible with GE Marquette/Dual channelTemperature adapter cable/Applied to YSI700 Reusable temperature adapter cable/0.3M/005
6018762 | Temperature Adapter Cable | TA-SL-2AD03 | Compatible with Spacelabs/Dual channelTemperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/116
6018763 | Temperature Adapter Cable | TA-NK-2AD03 | Compatible with Nihon Kohden/Dual channelTemperature adapter cable/Applied to YSI400 Reusable temperature adapter cable/0.3M/108
6018764 | Temperature Adapter Cable | TA-Y400-YSI30 | Compatible with YSI400/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/347R
6018765 | Temperature Adapter Cable | TA-PH-YSI30 | Compatible with Philips/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/065
6018766 | Temperature Adapter Cable | TA-MQ-YSI30 | Compatible with GE Marquette/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/005
6018767 | Temperature Adapter Cable | TA-DG-YSI30 | Compatible with Draeger/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/084
6018768 | Temperature Adapter Cable | TA-SL-YSI30 | Compatible with Spacelabs/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/116
6018769 | Temperature Adapter Cable | TA-MRA-YSI30 | Compatible with Mindray/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/127
6018770 | Temperature Adapter Cable | TA-MRB-YSI30 | Compatible with Mindray-Datascope/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/130
6018771 | Temperature Adapter Cable | TA-BLT-YSI30 | Compatible with Biolight/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/153
6018772 | Temperature Adapter Cable | TA-SW-YSI30 | Compatible with Artema/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/014B
6018773 | Temperature Adapter Cable | TA-IFN-YSI30 | Compatible with Infinium/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/341
6018774 | Temperature Adapter Cable | TA-Y400S-YSI30 | Compatible with YSI400/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/347S
6018775 | Temperature Adapter Cable | TA-P63SB-YSI30 | Compatible with CritiCool/Temperature adapter cable/Applied to YSI400 Disposable temperature adapter cable/3.0M/348R
6018776 | Temperature Adapter Cable | TA-Y400-PM30 | Compatible with YSI400/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/347R
6018777 | Temperature Adapter Cable | TA-PH-PM30 | Compatible with Philips/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/065
6018778 | Temperature Adapter Cable | TA-MQ-PM30 | Compatible with GE Marquette/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/005
6018779 | Temperature Adapter Cable | TA-DG-PM30 | Compatible with Draeger/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/084
6018780 | Temperature Adapter Cable | TA-SL-PM30 | Compatible with Spacelabs/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/116
6018781 | Temperature Adapter Cable | TA-MRA-PM30 | Compatible with Mindray/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/127
6018782 | Temperature Adapter Cable | TA-MRB-PM30 | Compatible with Mindray-Datascope/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/130
6018783 | Temperature Adapter Cable | TA-BLT-PM30 | Compatible with Biolight/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/153
6018784 | Temperature Adapter Cable | TA-SW-PM30 | Compatible with Artema/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/014B
6018785 | Temperature Adapter Cable | TA-IFN-PM30 | Compatible with Infinium/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/341
6018786 | Temperature Adapter Cable | TA-Y400S-PM30 | Compatible with YSI400/Temperature adapter cable/Applied to Philips Disposable temperature adapter cable/3.0M/347S
6018787 | Temperature Adapter Cable | TA-PH-YS130 | Philips 11CA40112 Compatible
6018788 | Temperature Adapter Cable | TA-MQ-YSI30 | GE Healthcare Temperature Adapter Cable 2021701-001 Compatible
6018789 | Temperature Adapter Cable | C400-10 | Original Smiths Medical C400-10 Level 1 Electrical Cable for Disposable Temp Probe
6018790 | Temperature Adapter Cable | 040-001235-00 | Mindray, Temperature Adapter Cables, 040-001235-00
6018791 | Temperature Adapter Cable | A-MQ-2YSI30 | GE Healthcare Temperature Adapter Cable Compatible Replacement: 2 channel, 3.0m, use with GE 400 series disposable probes, Reusable
6018792 | Temperature Adapter Cable | TA-MQ-2PM30 | GE Healthcare Temperature Adapter Cable Compatible Replacement: 2 channel, 3.0m, use with Philips disposable probes, Reusable
6018793 | Temperature Adapter Cable | 0010-30-43056 | Mindray, Temperature Adapter Cables, 0010-30-43056 TEMP Conversion Cable (2-pin plug to audio socket)
6018794 | Temperature Adapter Cable | 0011-30-37391 | Mindray Temp extension cable for disposable probes, 0011-30-37391 Temperature extension cable, 2Pin, 3m, round connector
6018795 | Temperature Adapter Cable | TA-FDA-2AD40 | Fukuda Denshi Temperature Adapter Cable CJO-P01T-DA4.0 Replacement: 2 channel, 4.0m use with 400 series
6018796 | Temperature Adapter Cable | TA-FDA-2AD05 | Fukuda Denshi Temperature Adapter Cable CJO-P01T-DA0.5 Replacement: 2 channel, 0.5m used with 400 series
6018797 | Temperature Adapter Cable | TA-AT-AT03 | Atom 19387 Compatible Temperature Adapter Cable - 0.3m, used with Atom Core temperature probe
6018798 | Temperature Adapter Cable | TA-AT01-AT03 | Edan 19463 Compatible Temperature Adapter Cable - 0.3m, Used with Atom Periphery disposable probes