	Document ref:

Version:
	0391055

1.3

	Viamed Infant Resuscitation Cabinet Service Sheet



	Hospital / Organisation:

Location (department, room number):

Engineer (print):

Service Date:
	

	
	

	
	

	
	

	Action


	Notes
	OK

	Cabinet Body – Serial number: 


	

	Check for overall signs of damage

Comments:
	□

	Check door catch – swivel catch on door

Comments:
	□

	Check door catch – retaining clasp on cabinet

Comments:
	□

	Check integrity of welds on the door hinges

Comments:
	□

	Check hinges for damage or deformation

Comments:
	□

	Check the restraining bars for damage or deformation

Comments:
	□

	Check the cabinet is securely fixed to wall

Comments:
	□

	Check medirails and tighten any loose rails

Comments:
	□

	Check grommets on the hose inlets are in place and intact

Comments:
	□

	Check the bumper stops that prevent door banging during closing

Comments:
	□

	Check ‘caution’ sticker is in place on the platform

Comments:
	□

	Check bed for damage i.e. cracks, chips

Comments:
	□

	Check all the bed mounting screws are in place

Comments:
	□

	Check mattress for damage i.e. tears, split seams

Comments:
	□

	Tom Thumb – Serial Number:


	

	Follow service procedure as detailed in the Tom Thumb service manual

Comments:
	□

	Check oxygen hose, if present, for wear, and replace if necessary (at least every 4 years) 
Hose replaced?   Yes □     No □
Date of last hose replacement: 

Comments:


	□


	Action
	Notes
	OK



	Low Suction Controller – Serial number:


	

	Follow service procedure as detailed in suction controller operator’s or service manual

Comments:
	□

	Change filter assembly

Comments:
	□

	Check vacuum hose for wear, and replace if necessary (at least every 4 years) 
Hose replaced?   Yes □     No □
Date of last hose replacement: 

Comments:
	□

	Check rail clamp is securely attached to suction controller

Comments:
	□

	Replace suction tubing

Comments:
	□

	Replace tapered connector

Comments:
	□

	Check receiving canister for damage, replace if necessary

Comments:
	□

	Radiant Warmer – Serial number:
Note: if the unit is hard wired, a PAT test may not be applicable: consult your organisation’s regulations.

Is unit hard-wired?        Yes □     No □
PAT test performed?     Yes □     No □   Pass □   Fail □
Comments:


	

	Follow service procedure as detailed in radiant warmer service manual

Comments:
	□

	APGAR Timer – Serial number:


	

	Change batteries

Comments:
	□

	Follow service procedure as detailed in Apgar timer operator’s manual

Comments:
	□

	General


	

	Check storage bins present

Comments:
	□

	Tidy any trailing hoses, using tie-wraps if necessary

Comments:
	□

	Check Operator’s Manuals are in place

Comments:
	□

	Clean cabinet with isopropyl alcohol

Comments:
	□

	Additional notes or comments:


	
































































































































1

