## Sheet1
Sales order | Item number | Purchase order | Ordered | Received | Quantity | Received in good condition | Failed Viamed QA | Sold to date by Viamed | Still in Viamed stock | Customer reported failures to date | Medical devices safety risks | Residual risks
00760386 | C73894 | PVM4044 | 2024-10-10 | 2024-12-30 | 100 | Yes | 0 | 0 | 100 | 0 | Non | Non
00760386 | C43690-R17AH | PVM4044 | 2024-10-10 | 2024-12-30 | 50 | Yes | 1 | 39 | 10 | 0 | Non | Non
00759934 | C73894 | PVM4034 | 2024-10-07 | 2024-12-30 | 100 | Yes | 0 | 0 | 100 | 0 | Non | Non
00755727 | C44611-R22AHJR | PVM3984 | 2024-09-09 | 2024-11-27 | 100 | Yes, but labelled as R-22AHJ | 8 | 92 | 8 | 0 | Non | Non
00755727 | C73894 | PVM3984 | 2024-09-09 | 2024-11-27 | 100 | Yes | 0 | 100 | 0 | 0 | Non | Non
00755126 | C73894 | PVM3982 | 2024-09-06 | 2024-11-27 | 100 | Yes | 0 | 57 | 43 | 0 | Non | Non
00750187 | C73894 | PVM3936 | 2024-08-08 | 2024-11-05 | 100 | Yes | 0 | 100 | 0 | 0 | Non | Non
00748645 | C73894 | PVM3928 | 2024-08-01 | 2024-10-15 | 100 | Yes | 0 | 80 | 20 | 0 | Non | Non