## Sheet1
Manual fudge	Host	Stock Reference	Description	Tag	Unit Cost	Freight %	Duty %	Landed Cost	Qty Barcodes	Value
	Vandagraph	0022171	Universal mounting plate with `V` mount	Stock	10.2	0	0	10.2	10	102
	Vandagraph	0110018	Oxygen sensor R-17V	Stock	23	0	0	23	0	0
	Vandagraph	0110041	Oxygen sensor R-41V	Stock	23	0	0	23	3	69
	Vandagraph	0110132	Oxygen sensor - Automotive R-22AV	Stock	20	0	0	20	0	0
	Vandagraph	0110215	Oxygen Sensor R-33S1	Stock	30.4	0	0	30.4	324	9849.6
	Vandagraph	0110217	Oxygen sensor R-17VAN	Stock	18.04	0	0	18.04	92	1659.68
	Vandagraph	0110220	Oxygen sensor R-22OMS	Stock	23	0	0	23	3	69
	Vandagraph	0110224	Oxygen sensor R-33DE	Stock	35.59	0	0	35.59	63	2242.17
	Vandagraph	0110225	Oxygen sensor R-22DEM	Stock	25.5	0	0	25.5	1	25.5
	Vandagraph	0110226	Oxygen sensor R-33VAN	Stock	30	0	0	30	18	540
	Vandagraph	0110227	Oxygen sensor R-22AEX	Stock	25.5	0	0	25.5	3	76.5
	Vandagraph	0110229	Oxygen sensor R-22SHO	Stock	26	0	0	26	39	1014
	Vandagraph	0110231	Oxygen Sensor R-22DSX	Stock	20	0	0	20	3	60
	Vandagraph	0110232	Oxygen sensor R-22VAN	Stock	12.92	0	0	12.92	69	891.48
	Vandagraph	0110237	Oxygen sensor R-17S1 (high output)	stock	23	0	0	23	18	414
	Vandagraph	0110241	Oxygen sensor R-33VAN-2	Stock	30	0	0	30	1	30
	Vandagraph	0110242	Oxygen sensor R-33VAN-3	Stock	30	0	0	30	3	90
	Vandagraph	0110248	Oxygen sensor R-9507M	Stock	30	0	0	30	1	30
	Vandagraph	0110301	Oxygen sensor Type 22. P/N 3001	Stock	12.78	0	0	12.78	0	0
	Vandagraph	0110381	Oxygen sensor WGA-02 Sumner	Stock	17.84	0	0	17.84	50	892
	Vandagraph	0110390	Oxygen sensor STK-01	Stock	25	0	0	25	50	1250
	Vandagraph	0110425	Oxygen sensor MAX-250. With `O` ring.	Stock	54	0	0	54	1	54
	Vandagraph	0110429	Oxygen sensor MAX-250E	Stock	54	15	0	62.1	5	310.5
	Vandagraph	0110560	Oxygen sensor OOM111	Stock	55.5	0	0	55.5	10	555
	Vandagraph	0111261	Oxygen analyser MaxO2+AE. External	Stock	183.2	15	0	210.68	0	0
	Vandagraph	0111277	Oxygen monitor MySign O Kit	stock	315.88	0	0	315.88	1	315.88
	Vandagraph	0120080	Oxygen Sensor Input Protection Cap	Stock	0.09	0	0	0.09	117	10.53
	Vandagraph	0120103	T adapter: 15mm	Stock	1.6	0	0	1.6	32	51.2
	Vandagraph	0120120	Oxygen barbed adapter.	Stock	4.6	15	0	5.29	7	37.03
	Vandagraph	0120130	Connector 15mm O.D. - tapered barbed	Stock	1.53	9.2	0	1.67076	165	275.6754
	Vandagraph	0120131	Connector 15mm I.D./22mm O.D. - tapered	Stock	1.69	9.2	0	1.84548	56	103.34688
	Vandagraph	0120133	Connector 22mm I.D./30mm O.D. - tapered	Stock	1.86	9.2	0	2.03112	88	178.73856
	Vandagraph	0121180	`V` wall mount.	Stock	8.4	0	0	8.4	9	75.6
	Vandagraph	0121350	MySign O - Oxygen Sensor Cable	Stock	27.1	0	0	27.1	1	27.1
	Vandagraph	0130109	MCWR06X5601FTL - SMD Chip Resistor, 5.6 kohm	Stock	0.01	0	0	0.01	200	2
	Vandagraph	0130110 Singles	Harwin M20 Series crimp housing 2 way.	Stock	0.11	0	0	0.11	100	11
	Vandagraph	0130111 Singles	Harwin M20 Series crimp socket tin.	Stock	0.07	0	0	0.07	200	14
	Vandagraph	0131202	Oxygen Sensor Cable Black.	Stock	10	0	0	10	8	80
*	Vandagraph	0131203	Oxygen Sensor Cable Yellow	Stock	8.5		0	8.5	1578	13413	*
	Vandagraph	0150013	Kite Sensor Box - 101x101x50mm - Pack of 150	Stock	0.08	0	0	0.08	1700	136
	Vandagraph	0150030	Oxygen sensor barrier bag 3.5 x 5``.``	Packaging	8.45	0	0	8.45	13	109.85
*	Vandagraph	7910100	Oxygen Analyser - VN202 MkII Auto	Raw Parts	52.44	10	0	57.684	145	8364.18	*
*	Vandagraph	7910100	Oxygen Analyser - VN202 MkII Auto	Built	86	10		94.6	6	567.6	*
	Vandagraph	7910110	Oxygen Analyser VN202mkII Manual	Stock	52.44	10	0	57.684	92	5306.928	*
	Vandagraph	7910110	Oxygen Analyser VN202mkII Manual	Complete	86	10		94.6	1	94.6	*
*	Vandagraph	7910201	Oxygen Analyser Tek-Ox Auto + Quick-Ox	Stock Parts for	35.57	3	0	36.6371	549	20113.7679	*
*		7910201	Oxygen Analyser Tek-Ox Auto + Quick-Ox	Built	76.62	3	0	78.9186	60	4735.116	*
*	Vandagraph	7910210	Oxygen Analyser Tek-Ox Manual	ToBuild	35.57	3	0	36.6371	20	732.742	*
*	Vandagraph	7910210	Oxygen Analyser Tek-Ox Manual	Built				0		0	*
*	Vandagraph	7910252	Oxygen Analyser Argo-Naught Sumner	Stock	35.57	0	0	35.57	10	355.7	*
*	Vandagraph	7910290	Derived Argon Analyser - NM-Argon	Stock	43.94	0	0	43.94	3	131.82	*
	Vandagraph	7930110	VN202 Mk2 Label - Front Panel Main.	Stock Vandagraph	0	0	0	0	200	0
	Vandagraph	7930111	VN202 Mk2 Label - Front Panel Small.	Stock Vandagraph	0	0	0	0	200	0
	Vandagraph	7930112	VN202 Mk2 Label - Rear Panel.	Stock Vandagraph	0	0	0	0	200	0
	Vandagraph	7930118	VN202 Mk2 Jack Socket.	Stock Vandagraph	2.25	0	0	2.25	21	47.25
*	Vandagraph	7930120	TEK-OX and VN202 Mk2 LCD	Stock Vandagraph	3.48	0	0	3.48	1050	3654	*
*	Vandagraph	7990102	User Manual Insert - VN202 Mk2	Stock Vandagraph	0.21	0	0	0.21	1500	315	*
	Vandagraph	9015004	PCB Daughter for R-22DEM	Stock	0	0	0	0	416	0
	Vandagraph	9070005	Protective Black Case for TEK-OX	Stock	12.2	0	0	12.2	612	7466.4	*
	Vandagraph	9070006	Protective Case for TEK-OX	stock	11.62	0	0	11.62	0	0
	Vandagraph	9070008	TEK-OX Internal Cable Harness	Stock	0.77	0	0	0.77	30	23.1
	Vandagraph	9071006	RS PRO Jack Connector 3.5 mm Cable Mount Mono Plug	Stock	1.33	0	0	1.33	50	66.5
	Vandagraph	9071007 Singles	Jack Plug - 750 - 3.55mm	Stock Vandagraph	2.95	0	0	2.95	805	2374.75
	Vandagraph	9071011	JST Connector Wire with Crimp	Stock	0.49	0	0	0.49	26	12.74
	Vandagraph	9071013	JST Connector Housing - Male	Stock	0.09	0	0	0.09	13	1.17
	Vandagraph	9071014	JST connector side entry shrouded header	Stock	0.19	0	0	0.19	1000	190	*
	Vandagraph	9071038	3 way molex housing	Stock Vandagraph	0.1	0	0	0.1	100	10
	Vandagraph	9071040	Molex, PicoBlade Female Connector Housing for R-9507M	Stock	0.21	0	0	0.21	47	9.87
	Vandagraph	9071041	Molex PicoBlade Series Female Crimp and Wire for R-9507M	Stock	0.85	0	0	0.85	42	35.7
	Vandagraph	9071159	Universal Mains Power With Adapters	Stock	1	0	0	1	12	12
	Vandagraph	9530000	Label - TEK-OX Front 31x25mm	Stock	0.09	0	0	0.09	2000	180
	Vandagraph	9530002	TEK-OX Base Seal	stock	0.2	0	0	0.2	2486	497.2
	Vandagraph	9530003	TEK-OX Main Body insert black (internal chassis)	stock	0.76	0	0	0.76	2673	2031.48
	Vandagraph	9530005	TEK-OX Black Bottom Cover	stock	0.35	0	0	0.35	2500	875
	Vandagraph	9530006	TEK-OX Front Gasket	stock	0.33	0	0	0.33	2649	874.17
	Vandagraph	9530011	Label - Tek-Ox Back Serial Number	Stock	0.08	0	0	0.08	2000	160
	Vandagraph	9530014	Battery -ve Label for Tex-Ox	Stock	0.04	0	0	0.04	4000	160
	Vandagraph	9530016	Battery +ve Label for Tex-Ox	Stock	0.04	0	0	0.04	4000	160
	Vandagraph	9530017	Label - Tek-Ox Internal Serial Number	Stock	0.08	0	0	0.08	2000	160
	Vandagraph	9530052	TEK-OX Left Shell Black (strengthened)	stock	0.22	0	0	0.22	3091	680.02
	Vandagraph	9530053	TEK-OX Right Shell Black (strengthened)	stock	0.22	0	0	0.22	2502	550.44
	Vandagraph	9530055	TEK-OX Front Cover Black with Lens and Protect	stock	1.5	0	0	1.5	2500	3750
	Vandagraph	9710201	Double Cavity Injection Mould Tool - Quick-Ox Dome mk1 - R-33VAN Case	Stock	0	0	0	0	1	0
	Vandagraph	9710202	Double Cavity Injection Mould Tool - Quick-Ox Dome	Stock	3720	0	0	3720	2	7440		*
	Vandagraph	9710203	Injection Mould Tool - Flow Diverter	Stock Vandagraph	3770	0	0	3770	1	3770		*
	Vandagraph	9710204	Compression Tooling - Flow Diverter O-Ring	Stock	695	0	0	695	1	695
	Vandagraph	9711000	Flow Diverter	Stock	0.66	0	0	0.66	4993	3295.38
	Vandagraph	9711001	Flow Diverter O-Ring	Stock Vandagraph	0.09	0	0	0.09	4993	449.37
	Vandagraph	9711006	DIN22F Pressure Restrictor	Stock Vandagraph	9.6	0	0	9.6	217	2083.2
	Vandagraph	9711110	Adaptor R-22SHO to Alpha 1 Analyser pack of 25	Stock	24.5	0	0	24.5	1	24.5
	Vandagraph	9711111	Adaptor R-22SHO to Alpha 1 Analyser	Stock	0.98	0	0	0.98	500	490
	Vandagraph	9711415	Wall Mount Adaptor (plastic) Therapy EQ	Stock Vandagraph	6	0	0	6	15	90
	Vandagraph	9711501	PTFE Syringe Filter 0.22 um 25mm Purple	Stock	0	0	0	0	35	0
	Vandagraph	9711901	DIN Pressure Reducer	Stock Vandagraph	25.22	0	0	25.22	17	428.74
	Vandagraph	9711902	A-Clamp	Stock Vandagraph	0	0	0	0	4	0
	Vandagraph	9711905	Tee Blue 2 x 1 Way Valve	Stock	5.81	0	0	5.81	1200	6972
	Vandagraph	9711906	Tee Blue No Valve	stock	1.17	0	0	1.17	96	112.32
	Vandagraph	9711910	Tee Adapter for Weld Gas Analyser	Stock	5.59	0	0	5.59	35	195.65
	Vandagraph	9730012	Tek-Ox Instructions - Case Insert	Stock	0.12	0	0	0.12	2000	240
	Vandagraph	9730015	Grommet 4.0mm Black - pack of 100	Stock	6.55	0	0	6.55	3	19.65
	Vandagraph	9730036 Singles	Push Switch Round Waterproof	Stock Vandagraph	1.65	0	0	1.65	568	937.2
	Vandagraph	9730040	10K Calibration Pot GPB 16NP10KMA	Stock Vandagraph	6.5	0	0	6.5	295	1917.5
	Vandagraph	9730063	TEK-OX Battery Bottom Contact, Nickel plated	Stock	0.1	0	0	0.1	1823	182.3
	Vandagraph	9730064 Singles	TEK-OX Battery Terminals, left Nickel plated	Stock	0.18	0	0	0.18	1963	353.34
	Vandagraph	9730067	Tek-Ox Battery Terminal Coils Right	Stock	0.18	0	0	0.18	1767	318.06
	Vandagraph	9730069	Label - TEK-OX Box 77 x 41mm	stock	0.22	0	0	0.22	2000	440
	Vandagraph	9730082	Push Switch Round Waterproof Green	stock	1.8	0	0	1.8	198	356.4
	Vandagraph	9730087	VN202 Protective Carry Case	stock	10.22	12	0	11.4464	138	1579.6032
	Vandagraph	9730088	Seal Kit 0098-92015	stock	0.35	0	0	0.35	400	140
	Vandagraph	9730181	R-22AT Adapter Cap	stock	1.85	0	0	1.85	322	595.7
	Vandagraph	9730200	Oxygen Sensor Holder Body	Stock Vandagraph	0.29	0	0	0.29	300	87
	Vandagraph	9730201	BS0130-10 VITON O Ring - R-33VAN	Stock Vandagraph	0.06	0	0	0.06	500	30
	Vandagraph	9730202	Quick-Ox Dome	Stock Vandagraph	0.34	0	0	0.34	3200	1088
	Vandagraph	9730210	Quick-Ox Sampler	Stock Vandagraph	5.96	0	0	5.96	139	828.44
	Vandagraph	9730215	Gas Sampling DIN KIT	Stock Vandagraph	0	0	0	0	10	0
	Vandagraph	9730220	Direct Feed Pressure Reducer	Stock	0	0	0	0	11	0
	Vandagraph	9730500	VDC Contractor PVC 1 pair audio cable, black	stock	54.22	0	0	54.22	1	54.22
	Vandagraph	97300502	TDK Ferrite – ZCAT2035-0930A	stock	0.63	0	0	0.63	150	94.5
	Vandagraph	9730503	Multicomp Terminal pin - pack of 100	Stock	3.33	0	0	3.33	0	0
	Vandagraph	9730901	Sensor Label - Blank - Roll of 1000	stock	14.39	0	0	14.39	18	259.02
	Vandagraph	9730953	MixChek Tubing	Stock	25.8	0	0	25.8	1	25.8
	Vandagraph	9790002	Book – Oxygen Measurement for Divers mk2.	stock	6.5	0	0	6.5	100	650
	Vandagraph	9790010	Quick-Ox Instructions for Use	stock	0.21	0	0	0.21	500	105
	Vandagraph	9790040	Vandagraph Oxygen Sensors Poster	Stock	38.5	0	0	38.5	1	38.5
	Vandagraph	9790041	Vandagraph Compatible Oxygen Sensors Poster	Stock	38.5	0	0	38.5	1	38.5
	Vandagraph	9790042	VN202 mkII Poster	Stock	38.5	0	0	38.5	1	38.5
	Vandagraph	9790043	Tek-Ox Poster	Stock	38.5	0	0	38.5	1	38.5
	Vandagraph	9930128	Split Ring - 13mm	Stock	0.32	0	0	0.32	400	128
	Vandagraph	9930129	Screw thread for lanyard	Stock Vandagraph	1.15	0	0	1.15	1000	1150
	Vandagraph	9930130	Screw thread socket - brass	Stock Vandagraph	1.18	0	0	1.18	1000	1180
	Vandagraph	9950051	Batteries 1.5V AA. Pk10.	Stock	3.65	0	0	3.65	50	182.5
										138907.01794