	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire BD20 7DT - United Kingdom
Tel: +44 (0)1535 634542        Fax: +44 (0)1535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



QA Functionality Test Sheet

Instrument: 
Viamed VG900 SpO2 Sensor Test Unit
Part number: 
0013100

Serial number: 


On/Off Switch function    
(
POWER LED lit 
(
All four red open circuit LEDs lit
(
LOW BATT function tested. 
(
Good sensor test check all four green OK LEDs are illuminated:
Datascope 
(
Nellcor & Auxiliary
(
Ohmeda
(
Open circuit tests:

Datascope 
Detector 
(   Red LED (   IR LED
 (   Resistor (
Nellcor & Auxiliary 
Detector 
(   Red LED (   IR LED  (   Resistor (
Ohmeda 
Detector 
(   Red LED (   IR LED  (   Resistor (
Short circuit tests:

Datascope 
Detector 
(   Red LED (   IR LED
 (   Resistor (
Nellcor & Auxiliary 
Detector 
(   Red LED (   IR LED  (   Resistor (
Ohmeda 


Detector   (   Red LED (   IR LED  (   Resistor (
Performance Status  
PASS
Signed:





Name:






Date:






The equipment detailed herein has been tested and now conforms to the manufacturer’s published specifications. 

The Q.A. of the above is in strict conformity to: BS EN ISO 9001-2008 & ISO 13485-2003.  
[image: image1.png]