## Sheet1
Componant | Schiller Defigard Touch 7 | Orantech SKUs | After Discount price （EXW， China) |  | Zoll x-series | Orantech SKUs | After Discount price （EXW， China) |  | Viamed Part Number
SPO2 adult patient sensor | Masimo PC 4050 | SS-165RB-AF10 | 24 | USD/PC | Masimo PC 1863 | SS-005RB-AF10 | 18 | USD/PC
SPO2 Cable | Masimo PC 4798 | SA-175RB-24RD | 45 | USD/PC | Masimo PC 2055 | SA-009RB-12LS | 20 | USD/PC
BP cuff small | single tube bayonet | BPN-40BS-W01M | 3.9 | USD/PC | welch alleyn two tubed flexiport | BPNW-40NS used with BPA-D-1111-26 | 3.45 25 | USD/PC USD/Bag, 10/pcs/bag
BP cuff Medium | single tube bayonet | BPN-50BS-W01M | 3.95 | USD/PC | welch alleyn two tubed flexiport | BPNW-50NS used with BPA-D-1111-26 | 4.5 25 | USD/PC USD/Bag, 10/pcs/bag
BP cuff large | single tube bayonet | BPN-70BS-W01M | 5.45 | USD/PC | welch alleyn two tubed flexiport | BPNW-70NS used with BPA-D-1111-26 | 5.3 25 | USD/PC USD/Bag, 10/pcs/bag
BP cable | Schiller 0-87-0007 | BPH-AS25-02M-02M | 9 | USD/PC, 25pcs/box | Zoll 8300-0002-01 | BPH-AD30-57-10 or BPH-AD30-57-26 (then go direct to Flexiport cuffs) | 34 39 | USD/PC USD/PC | 6014000
ECG cable | schiller MPC 0-05-0046-10 | N/A |  |  | Zoll 8300-0803-12 | EC-4038RS-I | Needs time to confirm it
ECG 12 lead | schiller MPC 0-05-0046-10 | N/A |  |  | Zoll 8300-0802-12 | EC-10038RS-I | Needs time to confirm it
Thermometer cable | Schiller 2.310298 | N/A |  |  | Zoll 8000-000319 | TA-Y400-YSI30 | 12.5 | USD/PC
Temperature rectal sensor | Schiller 1-128-4491 | TSD-YSI-AG09 | 65 | USD/Box 25pcs/box | Zoll 8000-000317 | TSD-YSI-AG09 | 65 | USD/Box 25pcs/box | 6018531
Further information regarding the BP cuffs:
BP Cuff size | Arm circumference | without connector |  |  | Bladder size
Small Adult | 20-28cm | BPN-40BS | 3.2 | USD/PC | 9.5 x 19cm
Adult | 25-35cm | BPN-50BS | 3.45 | USD/PC | 13.1 x 23.5cm
Large Adult | 33-47cm | BPN-70BS | 4.75 | USD/PC | 16.5 x 32cm
Small child | 12-16cm | BPN-20BS | 2.88 | USD/PC
Child | 18-26cm | BPN-30BS | 3.2 | USD/PC | 9.8 x 18cm