	     [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: +44 (0)1535 634542     Fax: +44 (0)1535 635582

Email: info@viamed.co.uk   Website: www.viamed.co.uk



VM2160 Pulse Oximeter 

Service Parts List
Applies to VM2160 series (0012160, 0012161, 0012162, 0012163, 012164) 

serial numbers > 00000400

	Part Number
	Description
	Price EUR

	0039000
	Keypad.
	€3.50

	0039001
	Display Window.
	€3.00

	0002003
	Housing assembly complete
	€22.00

	0002004
	Main PCB assembly, includes: 
	€83.50

	0039010
	Main PCB V.3.x (includes ref. E.6).
	

	0039015
	Main PCB screw, (4 required per unit).
	

	0039016
	OLED display.
	

	0039017
	Sensor connector (Minimed).
	

	0039018
	PCB interconnection cable.
	

	0039019
	Micro switch (on/off).
	

	0002006
	SpO2 Module
	€76.50


27/09/12


[image: image1.png]