Why the VM-2500 does not require calibration

The VM-2500 series capnograph is calibrated during the manufacturing process. 

The firmware contains algorithms that self-compensate for drift over time caused by changes from the original component specification (e.g. changes within the optics, alteration of the light transmission properties of the windows in the mainstream airway adapter etc.) and self-adjusts its calibration settings based on the information that it generates during the start up and self-test procedure. 

The self-calibration routine has been rigorously tested and proven to consistently give accurate results without the need to fully recalibrate against a reference gas, which is a major advantage of this unit over many alternative capnographs that need recalibrating on a regular basis.

Should it be required, there is an option within the service menu to verify the calibration accuracy using a tight tolerance, medical grade reference gas.

