## Sheet1
Full Value Stock
£145,630.47
Host	Stock Reference	Description	Tag	Unit Cost	Freight %	Duty %	Landed Cost	Qty Barcodes	Total Cost
Vandagraph	0022171	Universal mounting plate with `V` mount	Stock	10.2	0	0	10.2	3	30.6	Included
Vandagraph	0110041	Oxygen sensor R-41V	Stock	23	0	0	23	8	184	Included
Vandagraph	0110215	Oxygen Sensor R-33S1	Stock	30.4	0	0	30.4	191	5806.4	Included
Vandagraph	0110217	Oxygen sensor R-17VAN	Stock	20.54	0	0	20.54	180	3697.2	Included
Vandagraph	0110220	Oxygen sensor R-22OMS	Stock	23	0	0	23	0	0	Included
Vandagraph	0110224	Oxygen sensor R-33DE	Stock	22.22	0	0	22.22	104	2310.88	Included
Vandagraph	0110225	Oxygen sensor R-22DEM	Stock	25.5	0	0	25.5	2	51	Included
Vandagraph	0110226	Oxygen sensor R-33VAN	Stock	30	0	0	30	7	210	Included
Vandagraph	0110227	Oxygen sensor R-22AEX	Stock	25.5	0	0	25.5	9	229.5	Included
Vandagraph	0110231	Oxygen Sensor R-22DSX	Stock	0	0	0	0	5	0	Included
Vandagraph	0110232	Oxygen sensor R-22VAN	Stock	13.4	0	0	13.4	202	2706.8	Included
Vandagraph	0110237	Oxygen sensor R-17S1 (high output)	stock	23	0	0	23	9	207	Included
Vandagraph	0110238	Oxygen sensor R-22AT	Stock	25	0	0	25	9	225	Included
Vandagraph	0110239	Oxygen sensor R-33VAN (RP)	Stock	30	0	0	30	124	3720	Included
Vandagraph	0110242	Oxygen sensor R-33VAN-3	Stock	0.5	0	0	0.5	0	0	Included
Vandagraph	0110248	Oxygen sensor R-9507M	Stock	0	0	0	0	1	0	Included
Vandagraph	0110429	Oxygen sensor MAX-250E	Stock	54	15	0	69	7	483	Included
Vandagraph	0110560	Oxygen sensor OOM111	Stock	55.5	0	0	55.5	20	1110	Included
Vandagraph	0111261	Oxygen analyser MaxO2+AE. External	Stock	183.2	15	0	198.2	0	0	Included
Vandagraph	0111277	Oxygen monitor MySign O Kit	stock	315.88	0	0	315.88	8	2527.04	Included
Vandagraph	0120080	Oxygen Sensor Input Protection Cap	Stock	0.09	0	0	0.09	520	46.8	Included
Vandagraph	0120103	T adapter: 15mm	Stock	1.6	0	0	1.6	32	51.2	Included
Vandagraph	0120120	Oxygen barbed adapter.	Stock	4.6	15	0	19.6	2	39.2	Included
Vandagraph	0120130	Connector 15mm O.D. - tapered barbed	Stock	1.49	9.2	0	10.69	132	1411.08	Included
Vandagraph	0120131	Connector 15mm I.D./22mm O.D. - tapered	Stock	1.65	9.2	0	10.85	45	488.25	Included
Vandagraph	0120133	Connector 22mm I.D./30mm O.D. - tapered	Stock	1.8	9.2	0	11	60	660	Included
Vandagraph	0121180	`V` wall mount.	Stock	8.4	0	0	8.4	3	25.2	Included
Vandagraph	0121350	MySign O - Oxygen Sensor Cable	Stock	27.1	0	0	27.1	4	108.4	Included
Vandagraph	0130109	MCWR06X5601FTL - SMD Chip Resistor, 5.6 kohm	Stock	0	0	0	0	200	0	Included
Vandagraph	0130110 Singles	Harwin M20 Series crimp housing 2 way.	Stock	0.11	0	0	0.11		0	Included
Vandagraph	0130111 Singles	Harwin M20 Series crimp socket tin.	Stock	0.07	0	0	0.07		0	Included
Vandagraph	0131202	Oxygen Sensor Cable Black.	Stock	10	0	0	10	7	70	Included
Vandagraph	0131203	Oxygen Sensor Cable Yellow	Stock	6.36	0	0	6.36	2493	15855.48	Included
Vandagraph	0140011 Singles	Oxygen sensor evaluation.	Repair Code	0	0	0	0		0	Included
Vandagraph	0150013	Kite Sensor Box - 101x101x50mm - Pack of 150	Stock	0.09	0	0	0.09	2600	234	Included
Vandagraph	0150030	Oxygen sensor barrier bag 3.5 x 5``.``	Packaging	7	0	0	7	3	21	Included
Vandagraph	0380030			0				0	0	Included
Vandagraph	1410000			0				0	0	Included
Vandagraph	7910110	Oxygen Analyser VN202mkII Manual	Stock	27.18	10	0	37.18	113	4201.34	Included
Vandagraph	7910201	Oxygen Analyser Tek-Ox Auto – no built	Stock	38.27	10		48.27	199	9605.73
Vandagraph	7910201	Oxygen Analyser Tek-Ox Auto + Quick-Ox	Stock Vandagraph	75.56	10	0	85.56	45	3850.2	Included
Vandagraph	7910210	Oxygen Analyser Tek-Ox Manual	Stock	38.27	10	0	48.27	52	2510.04	Included
Vandagraph	7910252	Oxygen Analyser Argo-Naught Sumner	Stock Vandagraph	20.82	0	0	20.82	0	0	Included
Vandagraph	7910254	TEK-OX for Weld Gas - 0.00 UD	Stock	20.82	0	0	20.82	0	0	Included
Vandagraph	7910255	Weld Gas Analyser-Sarco Stopper 0.00 UD	Stock	38.27	10	0	48.27	120	5792.4	Included
Vandagraph	7910290	Derived Argon Analyser - NM-Argon	Stock	27.18	0	0	27.18	3	81.54	Included
Vandagraph	7930110	VN202 Mk2 Label - Front Panel Main.	Stock Vandagraph	0	0	0	0	399	0	Included
Vandagraph	7930111	VN202 Mk2 Label - Front Panel Small.	Stock Vandagraph	0	0	0	0	400	0	Included
Vandagraph	7930112	VN202 Mk2 Label - Rear Panel.	Stock Vandagraph	0	0	0	0	400	0	Included
Vandagraph	7930118	VN202 Mk2 Jack Socket.	Stock Vandagraph	2.45	0	0	2.45	321	786.45	Included
Vandagraph	7930120	TEK-OX and VN202 Mk2 LCD	Stock Vandagraph	3.38	0	0	3.38	200	676	Included
Vandagraph	7990102	User Manual Insert - VN202 Mk2	Stock Vandagraph	0.21	0	0	0.21	1350	283.5	Included
Vandagraph	7990112	Vandagraph Oxygen Sensors Leaflet	Promotional	0.35	0	0	0.35	200	70	Included
Vandagraph	7990113	Tek-Ox Leaflet	Promotional	0.18	0	0	0.18	100	18	Included
Vandagraph	7990114	VN202 mkII Leaflet	Promotional	0.18	0	0	0.18	100	18	Included
Vandagraph	9015004	PCB Daughter for R-22DEM	Stock	0	0	0	0	360	0	Included
Vandagraph	9070004	Protective Dry Box	Stock	7.24	0	0	7.24	1272	9209.28	Included
Vandagraph	9070005	Protective Black Case for TEK-OX	Stock	12.2	0	0	12.2	0	0	Included
Vandagraph	9070008	TEK-OX Internal Cable Harness	Stock	0.75	0	0	0.75	22	16.5	Included
Vandagraph	9071006	RS PRO Jack Connector 3.5 mm Cable Mount Mono Plug	Stock	1.33	0	0	1.33	62	82.46	Included
Vandagraph	9071007 Singles	Jack Plug - 750 - 3.55mm	Stock Vandagraph	2.92	0	0	2.92	618	1804.56	Included
Vandagraph	9071011	JST Connector Wire with Crimp	Stock	0.49	0	0	0.49	20	9.8	Included
Vandagraph	9071013	JST Connector Housing - Male	Stock	0.09	0	0	0.09	11	0.99	Included
Vandagraph	9071014	JST connector side entry shrouded header	Stock	0.2	0	0	0.2	1400	280	Included
Vandagraph	9071038	3 way molex housing	Stock Vandagraph	0.1	0	0	0.1	59	5.9	Included
Vandagraph	9071040	Molex, PicoBlade Female Connector Housing for R-9507M	Stock	0.21	0	0	0.21	47	9.87	Included
Vandagraph	9071041	Molex PicoBlade Series Female Crimp and Wire for R-9507M	Stock	0.85	0	0	0.85	42	35.7	Included
Vandagraph	9071159	Universal Mains Power With Adapters	Stock	0	0	0	0	12	0	Included
Vandagraph	9530000	Label - TEK-OX Front 31x25mm	Stock	0.09	0	0	0.09	2000	180	Included
Vandagraph	9530001	Label - Tek-Ox Small Round Front	Stock	0.08	0	0	0.08	2000	160	Included
Vandagraph	9530002	TEK-OX Base Seal	stock	0.2	0	0	0.2	1836	367.2	Included
Vandagraph	9530003	TEK-OX Main Body insert black (internal chassis)	stock	0.73	0	0	0.73	2033	1484.09	Included
Vandagraph	9530005	TEK-OX Black Bottom Cover	stock	0.34	0	0	0.34	1850	629	Included
Vandagraph	9530006	TEK-OX Front Gasket	stock	0.32	0	0	0.32	1999	639.68	Included
Vandagraph	9530011	Label - Tek-Ox Back Serial Number	Stock	0.08	0	0	0.08	500	40	Included
Vandagraph	9530014	Battery -ve Label for Tex-Ox	Stock	0.04	0	0	0.04	1000	40	Included
Vandagraph	9530016	Battery +ve Label for Tex-Ox	Stock	0.04	0	0	0.04	1000	40	Included
Vandagraph	9530017	Label - Tek-Ox Internal Serial Number	Stock	0.08	0	0	0.08	500	40	Included
Vandagraph	9530019	TEK-OX Box - model BP-3003 - Top Label	Stock	0.86	0	0	0.86	770	662.2	Included
Vandagraph	9530020	Label Cutter - One off Cost	Stock	62	0	0	62	1	62	Included
Vandagraph	9530052	TEK-OX Left Shell Black (strengthened)	stock	0.21	0	0	0.21	2441	512.61	Included
Vandagraph	9530053	TEK-OX Right Shell Black (strengthened)	stock	0.21	0	0	0.21	1852	388.92	Included
Vandagraph	9530055	TEK-OX Front Cover Black with Lens and Protect	stock	1.45	0	0	1.45	1850	2682.5	Included
Vandagraph	9710201	Double Cavity Injection Mould Tool - Quick-Ox Dome mk1 - R-33VAN Case	Stock	0	0	0	0	1	0	Included
Vandagraph	9710202	Double Cavity Injection Mould Tool - Quick-Ox Dome	Stock	3720	0	0	3720	2	7440	Included
Vandagraph	9710203	Injection Mould Tool - Flow Diverter	Stock Vandagraph	3770	0	0	3770	1	3770	Included
Vandagraph	9710204	Compression Tooling - Flow Diverter O-Ring	Stock	695	0	0	695	1	695	Included
Vandagraph	9710205	2 Cavity Injection Mould Tool - Tee Adapter	Stock	4060	0	0	4060	1	4060	Included
Vandagraph	9710206	4 Cavity Injection Mould Tool - Top Wheel for Tee Adapter	Stock	2610	0	0	2610	1	2610	Included
Vandagraph	9710207	4 Cavity Injection Mould Tool - Leaf for Tee Adapter	Stock	3620	0	0	3620	1	3620	Included
Vandagraph	9711000	Flow Diverter	Stock	0.66	0	0	0.66	3950	2607	Included
Vandagraph	9711001	Flow Diverter O-Ring	Stock Vandagraph	0.09	0	0	0.09	3950	355.5	Included
Vandagraph	9711002	B-50057 Flow Diverter Singles	Stock_writeoff 2024	0	0	0	0	2000	0	Included
Vandagraph	9711006	DIN22F Pressure Restrictor	Stock Vandagraph	9.6	0	0	9.6	119	1142.4	Included
Vandagraph	9711110	Adaptor R-22SHO to Alpha 1 Analyser pack of 25	Stock	0	0	0	0	2	0	Included
Vandagraph	9711111	Adaptor R-22SHO to Alpha 1 Analyser	Stock	0.01	0	0	0.01	500	5	Included
Vandagraph	9711415	Wall Mount Adaptor (plastic) Therapy EQ	Stock Vandagraph	0	0	0	0	15	0	Included
Vandagraph	9711501	PTFE Syringe Filter 0.22 um 25mm Purple	Stock	0	0	0	0	35	0	Included
Vandagraph	9711901	DIN Pressure Reducer	Stock Vandagraph	28.9	0	0	28.9	26	751.4	Included
Vandagraph	9711902	A-Clamp	Stock Vandagraph	0	0	0	0	4	0	Included
Vandagraph	9711906	Tee Blue No Valve	stock	1.14	0	0	1.14	67	76.38	Included
Vandagraph	9711910	Tee Adapter for Weld Gas Analyser	Stock	5.59	0	0	5.59	33	184.47	Included
Vandagraph	9711912	Vandagraph TEE 2 x One Way Valve	Stock	0.93	0	0	0.93	5000	4650	Included
Vandagraph	9730012	Tek-Ox Instructions - Case Insert	Stock	0.12	0	0	0.12	300	36	Included
Vandagraph	9730015	Grommet 4.0mm Black - pack of 100	Stock	6.55	0	0	6.55	2	13.1	Included
Vandagraph	9730036 Singles	Push Switch Round Waterproof	Stock Vandagraph	1.65	0	0	1.65	865	1427.25	Included
Vandagraph	9730040	10K Calibration Pot GPB 16NP10KMA	Stock Vandagraph	6.4	0	0	6.4	1434	9177.6	Included
Vandagraph	9730063	TEK-OX Battery Bottom Contact, Nickel plated	Stock	0.09	0	0	0.09	1173	105.57	Included
Vandagraph	9730064 Singles	TEK-OX Battery Terminals, left Nickel plated	Stock	0.17	0	0	0.17	1313	223.21	Included
Vandagraph	9730067	Tek-Ox Battery Terminal Coils Right	Stock	0.17	0	0	0.17	1117	189.89	Included
Vandagraph	9730069	Label - TEK-OX Box 77 x 41mm	stock	0.22	0	0	0.22	0	0	Included
Vandagraph	9730082	Push Switch Round Waterproof Green	stock	1.8	0	0	1.8	47	84.6	Included
Vandagraph	9730087	VN202 Protective Carry Case	stock	10.51	12	0	22.51	319	7180.69	Included
Vandagraph	9730088	Seal Kit 0098-92015	stock	0.35	0	0	0.35	48	16.8	Included
Vandagraph	9730181	R-22AT Adapter Cap	Stock	0	0	0	0	249	0	Included
Vandagraph	9730200	Oxygen Sensor Holder Body	Stock Vandagraph	0.31	0	0	0.31	2980	923.8	Included
Vandagraph	9730201	BS0130-10 VITON O Ring - R-33VAN	Stock Vandagraph	0.06	0	0	0.06	500	30	Included
Vandagraph	9730202	Quick-Ox Dome	Stock Vandagraph	0.34	0	0	0.34	2400	816	Included
Vandagraph	9730210	Quick-Ox Sampler	Stock Vandagraph	5	0	0	5	32	160	Included
Vandagraph	9730215	Gas Sampling DIN KIT	Stock Vandagraph	0	0	0	0	3	0	Included
Vandagraph	9730220	Direct Feed Pressure Reducer	Stock	0	0	0	0	8	0	Included
Vandagraph	9730500	VDC Contractor PVC 1 pair audio cable, black	stock	59.36	0	0	59.36	2	118.72	Included
Vandagraph	9730503	Multicomp Terminal pin - pack of 100	Stock	1.69	0	0	1.69	5	8.45	Included
Vandagraph	9730901	Sensor Label - Blank - Roll of 1000	stock	14.39	0	0	14.39	15	215.85	Included
Vandagraph	9730953	MixChek Tubing	Stock	25.8	0	0	25.8	2	51.6	Included
Vandagraph	9790010	Quick-Ox Instructions for Use	stock	0.21	0	0	0.21	330	69.3	Included
Vandagraph	9790040	Vandagraph Oxygen Sensors Poster	Promotional	38.5	0	0	38.5	1	38.5	Included
Vandagraph	9790041	Vandagraph Compatible Oxygen Sensors Poster	Stock	38.5	0	0	38.5	1	38.5	Included
Vandagraph	9790042	VN202 mkII Poster	Promotional	38.5	0	0	38.5	1	38.5	Included
Vandagraph	9790043	Tek-Ox Poster	Promotional	38.5	0	0	38.5	1	38.5	Included
Vandagraph	9930128	Split Ring - 13mm	Stock	0.32	0	0	0.32	405	129.6	Included
Vandagraph	9930129	Screw thread for lanyard	Stock Vandagraph	1.15	0	0	1.15	1050	1207.5	Included
Vandagraph	9930130	Screw thread socket - brass	Stock Vandagraph	1.18	0	0	1.18	1050	1239	Included
Vandagraph	9950051	Batteries 1.5V AA. Pk10.	Stock	3.65	0	0	3.65	82	299.3	Included
Vandagraph	PPRD Singles	Delivery - Royal Mail 1st Class Signed	Delivery Code	0.01	0	0	0.01		0	Included
Vandagraph	PPRMIS	Royal Mail International Signed	Stock	0	0	0	0	2	0	Included
Vandagraph	PPRMIT	Royal Mail International Tracked	Stock	0	0	0	0	1	0	Included
Vandagraph	PPRMITS	Royal Mail International Tracked and Signed	Stock	0	0	0	0	30	0	Included
Vandagraph	PPUPS6 Singles	UPS Courier delivery - Standard.	Stock	0	0	0	0		0	Included