## Sheet1
First review – look at what we have and what needs doing

	BUILDING	LOCATION	Zone	Bar code ID	Calibration Index Number CE	TYPE	Problem	To Do	What has been done	Still to do
Fire Extinguisher
	No. 15	Porch				Powder	No signs		Signs ordered	put signs up
	No. 15	Main Hall				Water	No signs		Signs ordered	put signs up
	No. 15	MD Landing				Water	No signs		Signs ordered	put signs up
	No. 15	R+D Room				CO2	No signs		Signs ordered	put signs up
	No. 15	Goods Out				Powder	No signs	Needs fixing to the wall does have bracket will need plugs and screws	Signs ordered	Put on wall + put signs up
	No. 15	Archive				Powder	No signs		Signs ordered	put signs up
	No. 15	Tom Thumb Room 1				Water	No signs	Needs fixing to the wall does not have bracket will need plugs and screws	Signs ordered and Bracket ordered.	Put on wall + put signs up
	No. 15	Tom Thumb Room 2				Powder	No signs		Signs ordered	put signs up
	No. 15	Stock Room 5				CO2	No signs		Signs ordered	put signs up
	No. 15	Workshop				CO2	No signs		Signs ordered	put signs up
	No. 15	Stock Room 1				CO2	No signs		Signs ordered	put signs up

Emergency Light
	No. 15	Archive 1				With Test Box	All Fine working and charging
	No. 15	Archive 2				With Test Box	Not working and no charging light on	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	Main Hall above entrance				Sweep light no test box	Not fully working red light in left none on right	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	Stock Room 5 By entrance to workshop				No test box	charging light on	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	Stock Room 1 by Tom Thumb room				No test box	charging light on	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	Tom Thumb Room 1 by outside door				No test box	charging light on	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	Tom Thumb Room 1 by boiler				No test box	charging light on	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	Porch				No test box	charging light on	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	R+D Room				No test box	No charging light	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	MD Landing				No test box	No charging light	Waiting on Keybury quote to maintain and update emergence lighting
	No. 15	Workshop				No test box	No charging light	Waiting on Keybury quote to maintain and update emergence lighting

MCP
	No. 15	Porch				Standard	Up to date	Keybury service now
	No. 15	Goods Out				Standard	Up to date	Keybury service now
	No. 15	Tom Thumb Room By outside door				Standard	Up to date	Keybury service now

Fire Extinguisher
	No. 17	By front door				Powder	None	Nothing
	No. 17	By front door				CO2	None	Nothing
	No. 17	Kitchen				Powder	None	Nothing
	No. 17	1st Floor Landing				Water	None	Nothing
	No. 17	1st Floor Landing				CO2	None	Nothing

Emergency Light
	No. 17	Ground Floor Hall by front door				With Test Box	None
	No. 17	Ground Floor Hall by kitchen door				With Test Box	None
	No. 17	1st Floor Landing				With Test Box	None
	No. 17	1st Floor Landing				With Test Box	None
	No. 17	2nd Floor Landing				With Test Box	None

MCP
	No. 17	By front door				Standard	Up to date	Keybury service now
	No. 17	By back door in conservatory				Standard	Up to date	Keybury service now
	No. 17	1st Floor Landing				Standard	Up to date	Keybury service now
	No. 17	2nd Floor Landing				Standard	Up to date	Keybury service now