## Sheet1
	BUILDING	Number	LOCATION	Location of Test Box Emergency lights only	Test needed	Zone	Bar code ID	Calibration Index Number CE	TYPE	Problem	To Do	What has been done	Still to do
Fire Extinguisher
	No. 15		Porch		Visual Check monthly				Powder	None		Signs ordered	put signs up
	No. 15		Main Hall		Visual Check monthly				Water	None		Signs ordered	put signs up
	No. 15		MD Landing		Visual Check monthly				Water	None		Signs ordered	put signs up
	No. 15		R+D Room		Visual Check monthly				CO2	None		Signs ordered	put signs up
	No. 15		Goods Out		Visual Check monthly				Powder	None	Needs fixing to the wall does have bracket will need plugs and screws	Signs ordered	Put on wall + put signs up
	No. 15		Archive		Visual Check monthly				Powder	None		Signs ordered	put signs up
	No. 15		Tom Thumb Room 1		Visual Check monthly				Water	None	Needs fixing to the wall does not have bracket will need plugs and screws	Signs ordered and Bracket ordered.	Put on wall + put signs up
	No. 15		Tom Thumb Room 2		Visual Check monthly				Powder	None		Signs ordered	put signs up
	No. 15		Stock Room 5		Visual Check monthly				CO2	None		Signs ordered	put signs up
	No. 15		Workshop		Visual Check monthly				CO2	None		Signs ordered	put signs up
	No. 15		Stock Room 1		Visual Check monthly				CO2	None		Signs ordered	put signs up

Emergency Light	No. 15	1.1	Main Entrance	On wall by door box just test this one	Tested monthly with test box				With Test Box	None
	No. 15	1.2	Main Office above door	On wall by main door	Tested monthly with test box				With Test Box	None
	No. 15	1.12	Main Office at end of corridor	Same box as 1.2 by main door	Tested monthly with test box				With Test Box	None
	No. 15	2.7	Top of stairs to stock room 4	On wall by light	Tested monthly with test box				With Test Box	None
	No. 15	1.3	MD Landing	On wall on landing	Tested monthly with test box				With Test Box	None
	No. 15	2.6	Stock Room 1 by first door	On wall by first door	Tested monthly with test box				With Test Box	None
	No. 15	1.11	Stock Room 1 by Tom Thumb room door	Same box as 2.6	Tested monthly with test box				With Test Box	None
	No. 15	1.7	Stock Room 4 outside workshop	On wall by workshop door	Tested monthly with test box				With Test Box	None
	No. 15	1.8	Workshop	On wall in workshop	Tested monthly with test box				With Test Box	None
	No. 15	1.9	Tom Thumb room above boiler	Same box as 1.8 in workshop	Tested monthly with test box				With Test Box	None
	No. 15	1.10	Tom Thumb Room By outside door	On wall by door	Tested monthly with test box				With Test Box	None
	No. 15	1.6	Archiving by Tom Thumb room	On wall by door	Tested monthly with test box				With Test Box	None
	No. 15	2.5	Archiving near Tom Thumb room	On wall by steps at goods out same as 1.5	Tested monthly with test box				With Test Box	None
	No. 15	2.4	Archiving middle	On wall by steps at goods out same as 1.5	Tested monthly with test box				With Test Box	None
	No. 15	1.5	Archiving on wall of steps at goods out	On wall by steps at goods out	Tested monthly with test box				With Test Box	None
	No. 15	1.13	Goods Out by outside door	On wall by outside door	Tested monthly with test box				With Test Box	None
	No. 15	1.14	Goods Out by goods in desk	On wall by outside door same as 1.13	Tested monthly with test box				With Test Box	None
	No. 15	1.15	Goods Out by packing bench	On wall by outside door same as 1.13	Tested monthly with test box				With Test Box	None
	No. 15	2.3	Goods Out by R+D room steps	On wall by outside door same as 1.13	Tested monthly with test box				With Test Box	None
	No. 15	1.4	R+D Room door near goods out	On wall at goods out end	Tested monthly with test box				With Test Box	None
	No. 15	2.1	R+D Room middle	On wall at goods out end same as 1.4	Tested monthly with test box				With Test Box	None
	No. 15	2.2	R+D Room By balcony door	On wall at goods out end same as 1.4	Tested monthly with test box				With Test Box	None

MCP
	No. 15		Porch		Tested weekly – Monday morning	Zone 1			Standard	Up to date
	No. 15		Goods Out		Tested weekly – Monday morning	Zone 1			Standard	Up to date
	No. 15		Tom Thumb Room By outside door		Tested weekly – Monday morning	Zone 1			Standard	Up to date
	No. 15		R+D Room		Tested weekly – Monday morning	Zone 2			Standard	Up to date

Fire Extinguisher
	No. 17		By front door		Visual Check monthly				Powder	None
	No. 17		By front door		Visual Check monthly				CO2	None
	No. 17		Kitchen		Visual Check monthly				Powder	None
	No. 17		1st Floor Landing		Visual Check monthly				Water	None
	No. 17		1st Floor Landing		Visual Check monthly				CO2	None

Emergency Light
	No. 17	3.0	Ground Floor Hall by front door	Test box in server cellar	Tested monthly with test box				With Test Box	None
	No. 17	3.1	Ground Floor Hall by kitchen door	Test box in server cellar same as	Tested monthly with test box				With Test Box	None
	No. 17	3.2	1st Floor Landing by Accounts	Test box in server cellar	Tested monthly with test box				With Test Box	None
	No. 17	3.3	1st Floor Landing by SN room	Test box in server cellar	Tested monthly with test box				With Test Box	None
	No. 17	3.4	2nd Floor Landing	On wall by door	Tested monthly with test box				With Test Box	None

MCP
	No. 17		By front door		Tested weekly – Monday morning				Standard	Up to date
	No. 17		By back door in conservatory		Tested weekly – Monday morning				Standard	Up to date
	No. 17		1st Floor Landing		Tested weekly – Monday morning				Standard	Up to date
	No. 17		2nd Floor Landing		Tested weekly – Monday morning				Standard	Up to date