PRO-NOX vs Pre-mixed– Cost Comparison

If you currently use pre-mixed nitrous oxide/oxygen tanks

If you can use piped gases, the savings you will see on gas are roughly equivalent to the cost of the premixed tanks.

Yearly spending on premixed tanks  ___________

These savings will pay for a PRO-NOX system in ________________________________

Improved infection control

No tanks to lift, agitate or change (fewer back injuries!)

Lower maintenance

No tank-carts at the bedside

No running to find the pre-mixed tank

Equipping one room for nitrous oxide delivery

Premix -	1- regulator w/ patient-held demand valve	__________

1- spare demand valve		____________

(to allow cleaning between patients – as per manual)

vs

1 PRO-NOX system		____________

Improved infection control

Change 1 N2O tank instead of 5 premixed tanks

Lower maintenance

Can mount tank onto wall

Savings on gas expenses will pay the difference in ___________

PRO-NOX using piped O2 and N2O cylinders (no piped N2O)

Using N2O cylinders will cost ~10-20% of using premixed

Savings on gas (85% of cost of premixed)  	____________

This will pay for your PRO-NOX in  ________________________

Improved infection control

Clear indicators of low tank pressure

Safety alarms and shut-offs

Lower maintenance

Fewer tanks to change

PRO-NOX using O2 and N2O cylinders (portable)

Gas savings will be approx. 75% of premixed.  ___________

This will pay for your PRO-NOX in  ________________________

PRO-NOX Enhanced Infection Control and built-in safety measures keep your patient safe.

And the active scavenger protects the staff.

You can’t put a price on that!

Conversions

1 cubic meter (m3) of gas = 1000 litres of gas

1 litre of liquid O2 = 861 litres of gas

1 cubic meter of liquid O2= 861,000 litres of gas

1 litre of liquid N2O = 670 litres of gas

1 cubic meter of liquid N2O = 670,000 litres of gas

1 e-cylinder of O2 has 625 litres of gas

1 e-cylinder of N2O has 1590 litres of gas

1 e-cylinder of premixed gas has ~310 litres of O2 and ~310 litres of N2O

Calculating the true cost of gas

Cost of premixed = $73.55

1.  	$1 per cubic metre of O2 gas		= $0.001 per litre

X 310 (litres of O2 in an E-cylinder of premixed gas)	= $0.31 per tank equivalent

$30 per cubic metre of N2O gas	= $0.03 per litre

X 310 (litres of N2O in an E-cylinder of premixed gas)	= $9.30 per tank equivalent

0.31 + 9.30 = $9.61 for the equivalent of 1 tank of premixed

73.55 – 9.61 = savings per ‘tank’ of $63.94

2. 	$1 per cubic metre of O2 gas		= $0.001 per litre

X 310 (litres of O2 in an E-cylinder of premixed gas)	= $0.31 per tank equivalent

$81.95 per e-cylinder of N2O x 0.2 (1590 litres/310 litres)	= $16.39 per tank equivalent

0.31 + 16.39 = $16.70

73.55 – 16.70 = savings per ‘tank’ of $56.85

3.	$36.45 per e-cylinder of O2 x 0.5	= $18.23 per tank equivalent

$81.95 per e-cylinder of N2O x 0.2	= $16.39 per tank equivalent

18.23 + 16.39 = $34.62 for the equivalent of 1 tank of premixed

73.55 – 34.62 = savings per ‘tank’ of $38.93

These prices are taken from Linde list pricing and are used as an example only.  Individual customer pricing and volume discounts will significantly affect results.  Use customer-specific prices if possible.