21 sensors to be supplied FOC

| SRS63931 | SRN23140 | ISC100284 | Not replaced - nearly 2 yrs when returned |
| --- | --- | --- | --- |
| SRS63931 | SRN23141 | ISC101253 | Replaced under warranty |
| SRS63931 | SRN23142 | ISC101252 | Replaced under warranty |
| SRS64006 | SRN23387 | ISC101125 | Replaced as good will - out of warranty |
| SRS64006 | SRN23388 | ISC101126 | Replaced as good will - out of warranty |
| SRS64006 | SRN23389 | ISC101127 | Replaced as good will - out of warranty |
| SRS64007 | SRN23410 | ISC100074 | Not replaced - nearly 2 yrs when returned |
| SRS64007 | SRN23411 | ISC100883 | Replaced as good will - out of warranty |
| SRS64007 | SRN23412 | ISC100867 | Replaced as good will - out of warranty |
| SRS64088 | SRN23676 | ISC103012 | Replaced under warranty |
| SRS64088 | SRN23677 | ISC101407 | Replaced under warranty |
| SRS64088 | SRN23678 | ISC101687 | Replaced under warranty |
| SRS64088 | SRN23679 | ISC100926 | Replaced as good will - out of warranty |
| SRS64088 | SRN23680 | ISC100927 | Replaced as good will - out of warranty |
| SRS64088 | SRN23681 | ISC101405 | Replaced as good will - out of warranty |
| SRS64096 | SRN23702 | ISC101945 | Replaced under warranty |
| SRS64096 | SRN23703 | ISC102593 | Replaced under warranty |
| SRS64204 | SRN23928 | ISC101994 | Not tested yet - but replaced under warranty |
| SRS64204 | SRN23929 | ISC101995 | Not tested yet - but replaced under warranty |
| SRS64204 | SRN23930 | ISC102598 | Not tested yet - but replaced under warranty |
| SRS64204 | SRN23931 | ISC100884 | Not tested yet - but replaced under warranty |
| SRS64204 | SRN23932 | ISC100887 | Not tested yet - but replaced under warranty |
| SRS64204 | SRN23933 | ISC100889 | Not tested yet - but replaced under warranty |