21 sensors to be supplied FOC

	SRS63931
	SRN23140 
	ISC100284
	Not replaced  - nearly 2 yrs when returned

	SRS63931
	SRN23141
	ISC101253
	Replaced under warranty

	SRS63931
	SRN23142
	ISC101252
	Replaced under warranty

	SRS64006
	SRN23387 
	ISC101125
	Replaced as good will - out of warranty

	SRS64006
	SRN23388
	ISC101126
	Replaced as good will - out of warranty

	SRS64006
	SRN23389
	ISC101127
	Replaced as good will - out of warranty

	SRS64007
	SRN23410
	ISC100074
	Not replaced  - nearly 2 yrs when returned

	SRS64007
	SRN23411
	ISC100883
	Replaced as good will - out of warranty

	SRS64007
	SRN23412
	ISC100867
	Replaced as good will - out of warranty

	SRS64088
	SRN23676
	ISC103012
	Replaced under warranty

	SRS64088
	SRN23677
	ISC101407
	Replaced under warranty

	SRS64088
	SRN23678
	ISC101687
	Replaced under warranty

	SRS64088
	SRN23679
	ISC100926
	Replaced as good will - out of warranty

	SRS64088
	SRN23680
	ISC100927
	Replaced as good will - out of warranty

	SRS64088
	SRN23681
	ISC101405
	Replaced as good will - out of warranty

	SRS64096
	SRN23702
	ISC101945
	Replaced under warranty

	SRS64096
	SRN23703
	ISC102593
	Replaced under warranty

	SRS64204
	SRN23928
	ISC101994
	Not tested yet - but replaced under warranty

	SRS64204
	SRN23929
	ISC101995
	Not tested yet - but replaced under warranty

	SRS64204
	SRN23930
	ISC102598
	Not tested yet - but replaced under warranty

	SRS64204
	SRN23931
	ISC100884
	Not tested yet - but replaced under warranty

	SRS64204
	SRN23932
	ISC100887
	Not tested yet - but replaced under warranty

	SRS64204
	SRN23933
	ISC100889
	Not tested yet - but replaced under warranty


