V1.1    20/06/11

Production Procedure 7900021

Weld Wide, Ar-Gone Gas Analyzer assembly 
[image: image1.jpg]. &

N
\I\/ Tlosi'
*J»EBLDWDE SOL[EJM%%’R

The 0 @nd Kes

e 18, Delta L2 15

e éz\izen“e. Genta Lakes:

Wy dwidesolutions © Nl

N |
NG conTans CAUST




Install the following into assembly 7900020:

1 x 0110370 Oxygen Sensor, WGA-01 Weld Wide 

Ensure that the analyzer reads 25.00 % +/- 2% when potentiometer fully 

+ve (clockwise).

[image: image2.jpg]



