## Sheet1
				Luer Lock Male	Luer Lock Male					Viamed	Viamed					Welch Allyn	Welch Allyn					Respironics	Respironics					Oridion	Oridion
	Term	Type	Patient type	Gas	Qty/Box		Box	Box		Term	Type	Patient type	Gas	Qty/Box		Box	Single		Term	Type	Patient type	Gas	Qty/Box	Box	Single				Term	Type	Patient type	Gas	Qty/Box		Box	Single			Term	Type	Patient type	Gas	Qty/Box	Box	Single
≤ 24hrs	Short-term	Nasal Prong	Adult	CO2	25	P-S-LLM-200	4420850	4421050		Short-term	Nasal Prong	Adult	CO2	25	P-S-BPM-200	4420800	4421000		Short-term	Nasal Prong	Adult	CO2	40	4420900	4421100				Short-term	Nasal Prong	Adult	CO2	40	P-S-RES-200	4420950	4421150			Short-term	Nasal Prong	Adult	CO2	40
≤ 24hrs	Short-term	Nasal	Adult	CO2	25	NA-S-LLM-200	4420851	4421051		Short-term	Nasal	Adult	CO2	25	NA-S-BPM-200	4420801	4421001		Short-term	Nasal	Adult	CO2	25	4420901	4421101				Short-term	Nasal	Adult	CO2	25	NA-S-RES-200	4420951	4421151			Short-term	Nasal	Adult	CO2	25
≤ 24hrs	Short-term	Nasal	Paediatric	CO2	25	NP-S-LLM-200	4420852	4421052		Short-term	Nasal	Paediatric	CO2	25	NP-S-BPM-200	4420802	4421002		Short-term	Nasal	Paediatric	CO2	25	4420902	4421102				Short-term	Nasal	Paediatric	CO2	25	NP-S-RES-200	4420952	4421152			Short-term	Nasal	Paediatric	CO2	25
≤ 24hrs	Short-term	Nasal	Infant	CO2	25	NI-S-LLM-200	4420853	4421053		Short-term	Nasal	Infant	CO2	25	NI-S-BPM-200	4420803	4421003		Short-term	Nasal	Infant	CO2	25	4420903	4421103				Short-term	Nasal	Infant	CO2	25	NI-S-RES-200	4420953	4421153			Short-term	Nasal	Infant	CO2	25
≤ 24hrs	Short-term	Nasal	Adult	CO2/O2	10	NAO2-S-LLM-200	4420854	4421054		Short-term	Nasal	Adult	CO2/O2	10	NAO2-S-BPM-200	4420804	4421004		Short-term	Nasal	Adult	CO2/O2	10	4420904	4421104				Short-term	Nasal	Adult	CO2/O2	10	NAO2-S-RES-200	4420954	4421154			Short-term	Nasal	Adult	CO2/O2	10
≤ 24hrs	Short-term	Nasal	Paediatric	CO2/O2	10	NPO2-S-LLM-200	4420855	4421055		Short-term	Nasal	Paediatric	CO2/O2	10	NPO2-S-BPM-200	4420805	4421005		Short-term	Nasal	Paediatric	CO2/O2	10	4420905	4421105				Short-term	Nasal	Paediatric	CO2/O2	10	NPO2-S-RES-200	4420955	4421155			Short-term	Nasal	Paediatric	CO2/O2	10
≤ 24hrs	Short-term	Nasal	Infant	CO2/O2	10	NIO2-S-LLM-200	4420856	4421056		Short-term	Nasal	Infant	CO2/O2	10	NIO2-S-BPM-200	4420806	4421006		Short-term	Nasal	Infant	CO2/O2	10	4420906	4421106				Short-term	Nasal	Infant	CO2/O2	10	NIO2-S-RES-200	4420956	4421156			Short-term	Nasal	Infant	CO2/O2	10
≤ 72hrs	Long-term	Nasal	Adult	CO2	25	NA-L-LLM-220	4420857	4421057		Long-term	Nasal	Adult	CO2	25	NA-L-BPM-220	4420807	4421007		Long-term	Nasal	Adult	CO2	25	4420907	4421107				Long-term	Nasal	Adult	CO2	25	NA-L-RES-220	4420957	4421157			Long-term	Nasal	Adult	CO2	25
≤ 72hrs	Long-term	Nasal	Paediatric	CO2	25	NP-L-LLM-200	4420858	4421058		Long-term	Nasal	Paediatric	CO2	25	NP-L-BPM-200	4420808	4421008		Long-term	Nasal	Paediatric	CO2	25	4420908	4421108				Long-term	Nasal	Paediatric	CO2	25	NP-L-RES-200	4420958	4421158			Long-term	Nasal	Paediatric	CO2	25
≤ 72hrs	Long-term	Nasal	Infant	CO2	25	NI-L-LLM-200	4420859	4421059		Long-term	Nasal	Infant	CO2	25	NI-L-BPM-200	4420809	4421009		Long-term	Nasal	Infant	CO2	25	4420909	4421109				Long-term	Nasal	Infant	CO2	25	NI-L-RES-200	4420959	4421159			Long-term	Nasal	Infant	CO2	25
≤ 72hrs	Long-term	Nasal	Adult	CO2/O2	10	NAO2-L-LLM-200	4420860	4421060		Long-term	Nasal	Adult	CO2/O2	10	NAO2-L-BPM-200	4420810	4421010		Long-term	Nasal	Adult	CO2/O2	10	4420910	4421110				Long-term	Nasal	Adult	CO2/O2	10	NAO2-L-RES-200	4420960	4421160			Long-term	Nasal	Adult	CO2/O2	10
≤ 72hrs	Long-term	Nasal	Paediatric	CO2/O2	10	NPO2-L-LLM-200	4420861	4421061		Long-term	Nasal	Paediatric	CO2/O2	10	NPO2-L-BPM-200	4420811	4421011		Long-term	Nasal	Paediatric	CO2/O2	10	4420911	4421111				Long-term	Nasal	Paediatric	CO2/O2	10	NPO2-L-RES-200	4420961	4421161			Long-term	Nasal	Paediatric	CO2/O2	10
≤ 72hrs	Long-term	Nasal	Infant	CO2/O2	10	NIO2-L-LLM-200	4420862	4421062		Long-term	Nasal	Infant	CO2/O2	10	NIO2-L-BPM-200	4420812	4421012		Long-term	Nasal	Infant	CO2/O2	10	4420912	4421112				Long-term	Nasal	Infant	CO2/O2	10	NIO2-L-RES-200	4420962	4421162			Long-term	Nasal	Infant	CO2/O2	10
≤ 24hrs	Short-term	Oral/Nasal	Adult	CO2	25	ONA-S-LLM-200	4420863	4421063		Short-term	Oral/Nasal	Adult	CO2	25	ONA-S-BPM-200	4420813	4421013		Short-term	Oral/Nasal	Adult	CO2	25	4420913	4421113				Short-term	Oral/Nasal	Adult	CO2	25	ONA-S-RES-200	4420963	4421163			Short-term	Oral/Nasal	Adult	CO2	25
≤ 24hrs	Short-term	Oral/Nasal	Paediatric	CO2	25	ONP-S-LLM-200	4420864	4421064		Short-term	Oral/Nasal	Paediatric	CO2	25	ONP-S-BPM-200	4420814	4421014		Short-term	Oral/Nasal	Paediatric	CO2	25	4420914	4421114				Short-term	Oral/Nasal	Paediatric	CO2	25	ONP-S-RES-200	4420964	4421164			Short-term	Oral/Nasal	Paediatric	CO2	25
≤ 24hrs	Short-term	Oral/Nasal	Adult	CO2/O2	10	ONAO2-S-LLM-200	4420865	4421065		Short-term	Oral/Nasal	Adult	CO2/O2	10	ONAO2-S-BPM-200	4420815	4421015		Short-term	Oral/Nasal	Adult	CO2/O2	10	4420915	4421115				Short-term	Oral/Nasal	Adult	CO2/O2	10	ONAO2-S-RES-200	4420965	4421165			Short-term	Oral/Nasal	Adult	CO2/O2	10
≤ 24hrs	Short-term	Oral/Nasal	Paediatric	CO2/O2	10	ONPO2-S-LLM-200	4420866	4421066		Short-term	Oral/Nasal	Paediatric	CO2/O2	10	ONPO2-S-BPM-200	4420816	4421016		Short-term	Oral/Nasal	Paediatric	CO2/O2	10	4420916	4421116				Short-term	Oral/Nasal	Paediatric	CO2/O2	10	ONPO2-S-RES-200	4420966	4421166			Short-term	Oral/Nasal	Paediatric	CO2/O2	10
≤ 72hrs	Long-term	Oral/Nasal	Adult	CO2	25	ONA-L-LLM-200	4420867	4421067		Long-term	Oral/Nasal	Adult	CO2	25	ONA-L-BPM-200	4420817	4421017		Long-term	Oral/Nasal	Adult	CO2	25	4420917	4421117				Long-term	Oral/Nasal	Adult	CO2	25	ONA-L-RES-200	4420967	4421167			Long-term	Oral/Nasal	Adult	CO2	25
≤ 72hrs	Long-term	Oral/Nasal	Paediatric	CO2	25	ONP-L-LLM-200	4420868	4421068		Long-term	Oral/Nasal	Paediatric	CO2	25	ONP-L-BPM-200	4420818	4421018		Long-term	Oral/Nasal	Paediatric	CO2	25	4420918	4421118				Long-term	Oral/Nasal	Paediatric	CO2	25	ONP-L-RES-200	4420968	4421168			Long-term	Oral/Nasal	Paediatric	CO2	25
≤ 72hrs	Long-term	Oral/Nasal	Adult	CO2/O2	10	ONAO2-L-LLM-200	4420869	4421069		Long-term	Oral/Nasal	Adult	CO2/O2	10	ONAO2-L-BPM-200	4420819	4421019		Long-term	Oral/Nasal	Adult	CO2/O2	10	4420919	4421119				Long-term	Oral/Nasal	Adult	CO2/O2	10	ONAO2-L-RES-200	4420969	4421169			Long-term	Oral/Nasal	Adult	CO2/O2	10
≤ 72hrs	Long-term	Oral/Nasal	Paediatric	CO2/O2	10	ONPO2-L-LLM-200	4420870	4421070		Long-term	Oral/Nasal	Paediatric	CO2/O2	10	ONPO2-L-BPM-200	4420820	4421020		Long-term	Oral/Nasal	Paediatric	CO2/O2	10	4420920	4421120				Long-term	Oral/Nasal	Paediatric	CO2/O2	10	ONPO2-L-RES-200	4420970	4421170			Long-term	Oral/Nasal	Paediatric	CO2/O2	10
≤ 24hrs	Short-term	Airway Adapter, 22mm	Adult/Paediatric		25	A22-S-LLM-200	4420871	4421071		Short-term	Airway Adapter	Adult/Paediatric		25	A22-S-BPM-200	4420821	4421021		Short-term	Airway Adapter	Adult/Paediatric		25	4420921	4421121				Short-term	Airway Adapter	Adult/Paediatric		25	A22-S-RES-200	4420971	4421171			Short-term	Airway Adapter	Adult/Paediatric		25
≤ 24hrs	Short-term	Airway Adapter, 15mm	Infant (ID < 4.0mm)		25	A4.0-S-LLM-200	4420872	4421072		Short-term	Airway Adapter	Infant (ID < 4.0mm)		25	A4.0-S-BPM-200	4420822	4421022		Short-term	Airway Adapter	Infant (ID < 4.0mm)		25	4420922	4421122				Short-term	Airway Adapter	Infant (ID < 4.0mm)		25	A4.0-S-RES-200	4420972	4421172			Short-term	Airway Adapter	Infant (ID < 4.0mm)		25
≤ 72hrs	Long-term	Airway Adapter, 22mm	Adult/Paediatric		25	A22-L-LLM-200	4420873	4421073		Long-term	Airway Adapter	Adult/Paediatric		25	A22-L-BPM-200	4420823	4421023		Long-term	Airway Adapter	Adult/Paediatric		25	4420923	4421123				Long-term	Airway Adapter	Adult/Paediatric		25	A22-L-RES-200	4420973	4421173			Long-term	Airway Adapter	Adult/Paediatric		25
≤ 72hrs	Long-term	Airway Adapter, 15mm	Infant (ID < 4.0mm)		25	A4.0-L-LLM-200	4420874	4421074		Long-term	Airway Adapter	Infant (ID < 4.0mm)		25	A4.0-L-BPM-200	4420824	4421024		Long-term	Airway Adapter	Infant (ID < 4.0mm)		25	4420924	4421124				Long-term	Airway Adapter	Infant (ID < 4.0mm)		25	A4.0-L-RES-200	4420974	4421174			Long-term	Airway Adapter	Infant (ID < 4.0mm)		25
≤ 24hrs	Short-term	Line with Luer Lock connector			25		4420880	4420880		Short-term	Line with Luer connector			25		4420830	4421030		Short-term	Line with Luer connector			25	4420930	4421130				Short-term				25					Short-term				25

	Airway adapter	with Luer Lock connector			25		4420531	4420532		Airway adapter	with Luer connector			25		4420531	4420532		Airway adapter	with Luer connector			25	4420531	4420532				Airway adapter				25					Airway adapter				25