	PP8711
	Cot Lid (folding, with central hinge) 

For use with Hoskins bassinette/crib.

External dimensions: 413mm (w) x 712mm (l)



	PP8712
	Cot Lid – (folding, with central hinge)

For use with Bristol Maid bassinette/crib.

External dimensions: 425mm (w) x 712mm (l)

NOTE: 

For use with older generation cribs, latest version PP8787 may be more suitable.


	PP8713
	Cot Lid – (folding, with central hinge)

For use with Nesbitt Evans bassinette/crib.

External dimensions: 428mm (w) x 712mm (l)

NOTE: 

For use with older generation cribs, latest version PP8789 may be more suitable.



	PP8776
	Cot Lid – (one piece)

For use with Hoskins bassinette/crib.

External dimensions: 413mm (w) x 712mm (l)



	PP8777
	Cot Lid – (one piece)

For use with Bristol Maid bassinette/crib.

External dimensions: 425mm (w) x 712mm (l)

NOTE: 

For use with older generation cribs, latest version PP8788 may be more suitable.


	PP8778
	Cot Lid – (one piece)

For use with Nesbitt Evans bassinette/crib.

External dimensions: 428mm (w) x 712mm (l)

NOTE: For use with older generation cribs, latest version PP8790 may be more suitable.



	PP8787
	Cot Lid – (folding, with central hinge)

For use with Bristol Maid bassinette/crib.

External dimensions: 433mm (w) x 735mm (l)

For use with Bristol Maid plastic crib part number: 2PLC0014



	PP8788
	Cot Lid – (one piece)

For use with Bristol Maid bassinette/crib.

External dimensions: 433mm (w) x 735mm (l)

For use with Bristol Maid plastic crib part number: 2PLC0014



	PP8789
	Cot Lid – (folding, with central hinge)

For use with Arjo-Huntleigh bassinette/crib.

External dimensions: 428mm (w) x 735mm (l)

For use with Arjo-Huntleigh plastic crib part number: 34030



	PP8790
	Cot Lid – (one piece)

For use with Arjo-Huntleigh bassinette/crib.

External dimensions: 428mm (w) x 735mm (l)

For use with Arjo-Huntleigh plastic crib part number: 34030




