	Glass Top Cupboard
	Cabinet 1
	Cabinet 2
	Round Stands
	Under Counter Items

	· AX300

· MX300

· O2 Sensor Jar

· O2 Adapter Jar

· V1000

· Flow sensors A & H

· Square perpex display


	· 1x 2500-S** 

· 1x 2500-M**

· 1x 2500-MG**

· VM-2101 Demo

· VM-2103 Demo

· VM-2105 Grey Demo

· VM-2105 Orange Demo

· VM-2160 Demo**

· TT-480 with either old display or new version – See SN

· Neopeep , adapter and Mask for TT

· Apgar Timer with Medirail bracket

· Microstim and display stand
	· 1x 2500-S** 

· 1x 2500-M**

· VM-2101 Demo

· VM-2103 Demo

· VM-2105 Grey Demo

· VM-2105 Orange Demo

· VM-2160 Demo **

· Reusable SpO2 Board

· Disposable SpO2 Board

· Versastrem Board
	· VM-2160**

· VM-2500- M with Orange boot/stand

· VM-2500-S**

· VM-2101

· VM-2103

· VM-2105 Grey

· VM-2105 Orange


	· Cannula of all types

· Spare Neonatal Mainsteam Airway adapter

· Carry cases

· 1 of eaxh bracket, wall, universal, pole ect….

· Vet Sensors

· VM-2500 SorM with Orange Case

· 2 of each SpO2 sensor type for 2160/2500




* Requires Pole Display Stand & Large Pole Clamp

** Requires Pole Display Stand, Universal Mounting Bracket Fitted & Large Pole Clamp

