	Viamed P/N
	Description
	BPM version
	CE Class

	4420525
	Nomo Adapter
	3090122009
	Class I

	4420550
	Sampling Lines, disposable, hydrophobic
With Luer Lock – MLL/MLL, Box of 25
	3090121014
	Class I

	4420552
	Disposable Airway Adapter Sampling Line
	5090521005
	Class IIa

	4420560
	Nasal Sampling Line, Box of 40
	4090121001
	Class I

	4420710
	Nasal Sampling Cannula – Adult, 

Box of 25
	4090120015
	Class I

	4420711
	Nasal Sampling Cannula – Paediatric, 

Box of 25
	4090120016
	Class I

	4420712
	Nasal Sampling Cannula – Intermediate Infant, 

Box of 25 
	Unreleased
	Class I

	4420713
	Nasal Sampling Cannula – Infant, 

Box of 25 
	3090120018
	Class I

	4420718
	Nasal Sampling Cannula with O2 – Adult, 

Box of 10
	3090121019
	Class IIa

	4420719
	Nasal Sampling Cannula with O2 – Paediatric,

 Box of 10
	3090121020
	Class IIa

	4420730
	Nasal/Oral Sampling Cannula – Adult, 

Box of 25
	4090120021
	Class I

	4420731
	Nasal/Oral Sampling Cannula – Paediatric, 

Box of 25
	4090120022
	Class I

	4420738
	Nasal/Oral with O2 Sampling Cannula – Adult, 

Box of 25
	3090121023
	Class IIa

	4420739
	Nasal/Oral with O2 Sampling Cannula – Paediatric, 

Box of 25
	3090121024
	Class IIa

	4420531
	Sidestream Airway Adapter - Adult/Paediatric, 
I.D. 15 mm./O.D. 22 mm – O.D. 15 mm, 

Box of 25
	3090121002
	Class I


