Answering an Alarm Call,

If you get a Phone call from Keybury Alarm centre,

Press 1 if you are able to attend.

Press 2 if you are unable to get to the offices.

You should be informed if it is a Double activation. I.E. 2 or more sensors have been activated.
If this is the case the Police should meet you at the offices.

Assuming its a Single Sensor activation.

Check the Main warehouse / Offices in the same way
If the building is alarming you can silence the alarm by swiping your security key.
The Alarm box should give an ID number of which sensor has been tripped. (Map of the sensors is located on the wall behind Dereks computer).
Take a look in the alarm areas see if any boxes have fallen over, or if something is 'waving' around that might trip the sensor.
Once the area has been checked and your happy everything appears to be closed/secure.
Try to re-set the alarm, it might take one or 2 swipes to get past any error codes.
If the alarm sets normally you can close up the building and go home.

If the alarm refuses to set (typically a faulty sensor can cause this), there is a phone number on the alarm box,
Ring this number, you will typically be given a follow on number for out of hours service,
Ring the follow up number,
You will be asked for the location and PASSCODE – Currently 'Diver'
You will be instructed of number to key into the alarm box to get past the error, and / or disable the single faulty sensor.

A Double Sensor fault.
Police should be called to the site.
If there is any possible danger, unauthorised people in the buildings DO NOT APPROACH. Wait until the police turn up.

The alarm box should indicate which sensor have been tripped.
The police will want to walk around the building with you.
I suggest you contact DL / HL / JSL / SN at this point for further instructions.