## VersaStream
Part number	Brand	Main OEM	Manufacturer	Patient condition	Usage description	Usage time	Gas	Patient type	Sampling line type	Qty/Box	CE Mark	CE Class
4420800	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Nasal Prong	25	CE	Class I
4420801	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Nasal	25	CE	Class I
4420802	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Paediatric	Nasal	25	CE	Class I
4420803	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Infant	Nasal	25	CE	Class I
4420804	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Adult	Nasal	10	CE0482	Class IIa
4420805	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Paediatric	Nasal	10	CE0482	Class IIa
4420806	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Infant	Nasal	10	CE0482	Class IIa
4420807	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Adult	Nasal	25	CE	Class I
4420808	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Paediatric	Nasal	25	CE	Class I
4420809	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Infant	Nasal	25	CE	Class I
4420810	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Adult	Nasal	10	CE0482	Class IIa
4420811	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Paediatric	Nasal	10	CE0482	Class IIa
4420812	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Infant	Nasal	10	CE0482	Class IIa
4420813	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Oral/Nasal	25	CE	Class I
4420814	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Paediatric	Oral/Nasal	25	CE	Class I
4420815	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Adult	Oral/Nasal	10	CE	Class IIa
4420816	VersaStream	Viamed	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Paediatric	Oral/Nasal	10	CE	Class IIa
4420817	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Adult	Oral/Nasal	25	CE	Class I
4420818	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Paediatric	Oral/Nasal	25	CE	Class I
4420819	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Adult	Oral/Nasal	10	CE0482	Class IIa
4420820	VersaStream	Viamed	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Paediatric	Oral/Nasal	10	CE0482	Class IIa
4420821	VersaStream	Viamed	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Adult/Paediatric	Airway Adapter	25	CE	Class I
4420822	VersaStream	Viamed	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Infant (ID < 4.0mm)	Airway Adapter	25	CE	Class I
4420823	VersaStream	Viamed	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Adult/Paediatric	Airway Adapter	25	CE	Class I
4420824	VersaStream	Viamed	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Infant (ID < 4.0mm)	Airway Adapter	25	CE	Class I
4420825	VersaStream	Viamed	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Adult/Paediatric/Infant	Line with Luer Connector	25	CE	Class I
4420826	VersaStream	Viamed	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Adult/Paediatric/Infant	Line with Luer Connector	25	CE	Class I
4420850	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Nasal Prong	25	CE	Class I
4420851	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Nasal	25	CE	Class I
4420852	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Paediatric	Nasal	25	CE	Class I
4420853	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Infant	Nasal	25	CE	Class I
4420854	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Adult	Nasal	10	CE0482	Class IIa
4420855	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Paediatric	Nasal	10	CE0482	Class IIa
4420856	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Infant	Nasal	10	CE0482	Class IIa
4420857	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Adult	Nasal	25	CE	Class I
4420858	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Paediatric	Nasal	25	CE	Class I
4420859	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Infant	Nasal	25	CE	Class I
4420860	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Adult	Nasal	10	CE0482	Class IIa
4420861	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Paediatric	Nasal	10	CE0482	Class IIa
4420862	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Infant	Nasal	10	CE0482	Class IIa
4420863	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Oral/Nasal	25	CE	Class I
4420864	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Paediatric	Oral/Nasal	25	CE	Class I
4420865	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Adult	Oral/Nasal	10	CE	Class IIa
4420866	VersaStream	Luer Lock Male	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Paediatric	Oral/Nasal	10	CE	Class IIa
4420867	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Adult	Oral/Nasal	25	CE	Class I
4420868	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Paediatric	Oral/Nasal	25	CE	Class I
4420869	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Adult	Oral/Nasal	10	CE0482	Class IIa
4420870	VersaStream	Luer Lock Male	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Paediatric	Oral/Nasal	10	CE0482	Class IIa
4420871	VersaStream	Luer Lock Male	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Adult/Paediatric	Airway Adapter, 22mm	25	CE	Class I
4420872	VersaStream	Luer Lock Male	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Infant (ID < 4.0mm)	Airway Adapter, 15mm	25	CE	Class I
4420873	VersaStream	Luer Lock Male	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Adult/Paediatric	Airway Adapter, 22mm	25	CE	Class I
4420874	VersaStream	Luer Lock Male	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Infant (ID < 4.0mm)	Airway Adapter, 15mm	25	CE	Class I
4420880	VersaStream	Luer Lock Male	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Adult/Paediatric/Infant	Line with Luer Lock connector	25	CE	Class I
4420881	VersaStream	Luer Lock Male	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Adult/Paediatric/Infant	Line with Luer Lock connector	25	CE	Class I
4420950	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Nasal Prong	25	CE0482	Class IIa
4420951	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Nasal	25	CE0482	Class IIa
4420952	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Paediatric	Nasal	25	CE0482	Class IIa
4420953	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Infant	Nasal	25	CE0482	Class IIa
4420954	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Adult	Nasal	10	CE0482	Class IIa
4420955	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Paediatric	Nasal	10	CE0482	Class IIa
4420956	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Infant	Nasal	10	CE0482	Class IIa
4420957	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Adult	Nasal	25	CE0482	Class IIa
4420958	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Paediatric	Nasal	25	CE0482	Class IIa
4420959	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Infant	Nasal	25	CE0482	Class IIa
4420960	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Adult	Nasal	10	CE0482	Class IIa
4420961	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Paediatric	Nasal	10	CE0482	Class IIa
4420962	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Infant	Nasal	10	CE0482	Class IIa
4420963	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Adult	Oral/Nasal	25	CE0482	Class IIa
4420964	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2	Paediatric	Oral/Nasal	25	CE0482	Class IIa
4420965	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Adult	Oral/Nasal	10	CE0482	Class IIa
4420966	VersaStream	Respironics / Philips	Viamed	Non-intubated	Short-term	≤ 24hrs	CO2/O2	Paediatric	Oral/Nasal	10	CE0482	Class IIa
4420967	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Adult	Oral/Nasal	25	CE0482	Class IIa
4420968	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2	Paediatric	Oral/Nasal	25	CE0482	Class IIa
4420969	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Adult	Oral/Nasal	10	CE0482	Class IIa
4420970	VersaStream	Respironics / Philips	Viamed	Non-intubated	Long-term	≤ 72hrs	CO2/O2	Paediatric	Oral/Nasal	10	CE0482	Class IIa
4420971	VersaStream	Respironics / Philips	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Adult/Paediatric	Line with Airway Adapter	25	CE0482	Class IIa
4420972	VersaStream	Respironics / Philips	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Infant (ID < 4.0mm)	Line with Airway Adapter	25	CE0482	Class IIa
4420973	VersaStream	Respironics / Philips	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Adult/Paediatric	Line with Airway Adapter	25	CE0482	Class IIa
4420974	VersaStream	Respironics / Philips	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Infant (ID < 4.0mm)	Line with Airway Adapter	25	CE0482	Class IIa
4420975	VersaStream	Respironics / Philips	Viamed	Intubated	Short-term	≤ 24hrs	CO2	Adult/Paediatric	Line with Luer Connector	25	CE0482	Class IIa
4420976	VersaStream	Respironics / Philips	Viamed	Intubated	Long-term	≤ 72hrs	CO2	Adult/Paediatric	Line with Luer Connector	25	CE0482	Class IIa