Description: VersaStream Range
	No.
	Question
	Evaluation

(Tick which statement applies and add result/comments as appropriate)

	
	
	Very Good/
Simple
	Good/ Moderate
	Poor
	Result/Comments

	1. 
	How clear are the Instructions for Use?
	
	
	
	

	
	Are the warnings, contraindications and safety notes easily understood and are they appropriate?
	
	
	
	

	
	Is the patient type and weight clearly stated and easily understood?
	Yes
	
	No
	
	

	
	Is the stated usage time clear and easily understood? 
(Short Term Use or Long Term Use)
	
	
	
	

	2. 
	State the usual clinical application of the sampling line (critical patient monitoring, patient transport monitoring, emergency medicine...)
	--
	--
	--
	

	3. 
	What is your assessment regarding the legibility of the labelling and markings?
	
	
	
	

	
	How well is the information within the Instructions for Use explained?
	
	
	
	

	4. 
	Connect the sampling line to the monitor.

How secure and stable is the connection?
	
	
	
	

	
	Is the sampling line detected by the monitor?
	Yes
	
	No
	
	

	
	Are there any error messages or alarms? If so, please describe.
	Yes
	
	No
	
	

	5. 
	Attach the sampling line to the patient.
How clear did you find the handling and application instructions in the Instructions for Use?
	
	
	
	

	6. 
	What is your assessment of the quality of the capnogram and the measurement accuracy?
	
	
	
	

	7. 
	How appropriate is the information regarding product storage and disposal?
	
	
	
	

	Additional comments:

	

	Signature & Date:
	


