Parts Listing

Viamed Microstim DB3 Supramaximal Nerve Stimulator

	Viamed Part Number
	Description
	Qty 

per unit
	Viamed Free Stock
	Samples provided

	2510000
	Microstim DB3 Supramaximal Nerve Stimulator.

Includes:

Patient lead

Battery

User manual

Packaging
	1

1

1

1

1
	
	3

	2500000
	Microstim DB3 – PCB Assembly
	1
	15
	3

	2530001
	Microstim DB3 – Upper Casing.
	1
	43
	3

	2530002
	Microstim DB3 – Lower Casing
	1
	62
	3

	2530003
	Microstim DB3 – Lower Casing Label
	1
	
	

	2530004
	Microstim DB3 – Battery Cover
	1
	85
	3

	2530005
	Microstim DB3 – Battery Contact +ve
	1
	217
	3

	2530006
	Microstim DB3 – Battery Contact -ve
	1
	217
	3

	2530007
	Microstim DB3 – Cables, Battery Contacts
	1
	217
	3

	2530008
	Microstim DB3 – Casing Screw
	2
	940
	3

	2530009
	Microstim DB3 – PCB Assembly Screw
	4
	920
	3

	2530010
	Microstim DB3 – Output Connector
	1
	162
	3

	2530011
	Microstim DB3 – Mode Switch & Bezel
	4
	154
	3

	2530012
	Microstim DB3 – Intensity Control Knob
	1
	78
	3

	2530013
	Microstim DB3 – Potentiometer
	
	175
	3

	2530014
	Microstim DB3 – Audio Transducer
	1
	157
	3

	2530015
	Microstim DB3 – Transistor PSS8050C
	
	2000
	

	2530016
	Microstim DB3 – LED
	1
	
	

	2530017
	Microstim DB3 – S/N Label
	1
	
	

	2530020
	Microstim DB3 – PIC Processor (unprogrammed)
	
	
	

	2530021
	Microstim DB3 – PIC Processor (programmed)
	
	
	


