QC 21 Non Conformance Report

Date	25/08/15
Issue id	61744
BSI Ref (if applicable)	1225836N1
Responsibility	Derek Lamb
Non-Conformance	“The ER checklist is part way through a major update. The current checklist is written as a generic list to cover multiple devices. Harmonised standards referred to in the checklist are nonsensical for the device and many of the headings are not relevant. “
Investigation By:	Derek Lamb
Investigation Issue id / (if applicable)	As noted the ER check list is currently undergoing a major computerisation update which was started at the beginning of July,
Corrective Action By:	Derek Lamb
Corrective Action Issue ID (if applicable):
Time Scale for Corrective Action	This will be completed within the next 3 Months for all products.
Corrective Action:	In progress
Follow-up future issue id / (Effectiveness verification)
Effectiveness verification
Closed By:
Closed on