QC 21 Non Conformance Report

Date	25/08/15
Issue id	61747
BSI Ref (if applicable)	1225836N4
Responsibility	Derek Lamb
Non-Conformance	“The instructions for use must also include details allowing the medical staff to brief the patient on any / contra-indications and any precautions to be taken. These details should cover in particular: / (n) precautions to be taken against any special, unusual risks related to the disposal of the device; “
Investigation By:	Derek Lamb
Investigation Issue id / (if applicable)	Currently in the File is Document ID 15183, States there are no special or unusual risks relating to the disposal of the device. / As such we do not reference disposal of the device in the ifu, / Possibility of contamination was suggested, however the environment where the device is used contamination of devices is not uncommon or unusual.
Corrective Action By:	Derek Lamb
Corrective Action Issue ID (if applicable):	The Issue will be discussed in the next management meeting (estimated time September) where we will discuss how to proceed.
Time Scale for Corrective Action
Corrective Action:
Follow-up future issue id / (Effectiveness verification)
Effectiveness verification
Closed By:
Closed on