	0330505
	Label, top panel (Start, Freeze, Reset).
	

	0330548
	APGAR Timer Case.
	Includes:

1 x Front panel (machined & painted white)

1 x Rear panel (machined & painted white)

    with 2 x Hank bushes.

	0330549
	APAGR Timer End Cap Set
	Includes:

1 x End cap (painted white)

1 x Seal, blue (for end cap)

2 x Screws (for end cap)

2 x Screw caps, grey (for end cap)

	0330555  
	APGAR Timer PCB v1.0 assembly.
	NOTE: Populated with the components.

Does not include the LCD nor the battery compartment.

	0330558  
	Battery Holder BE60 - Black
	

	0330566  
	PCB Spacer - Single unit.
	

	0330567  
	M3 Hex Full Nut zinc plated.
	

	0330570  
	APGAR timer - keypad membrane assembly.
	

	0330575  
	APGAR Timer LCD.
	

	0392000  
	Operator manual - APGAR Timer. English
	

	
	
	

	0330201
	Mounting Bracket – Medirail. Rev. 2


	Comprises of the following parts:

1 x 0330242 Medirail mounting plate.

2 x 0330239 Mounting plate screws (black).

1 x 0330240 Medirail mount knob (black).

1 x 0360000 Hex wrench

	0121199
	Swivel Mount
	

	0121200
	Universal mounting clamp
	

	9950054
	Batteries 1.5V AA. Pack of 4
	


