[image: image1.png]7.23 * Consult ACCOMPANYING DOCUMENTS

When appropriate, symbol 1SO 7000-1641 (DB:2004-01) (see Table D.1, symbol 11) may be
used to advise the OPERATOR to consult the ACCOMPANYING DOCUMENTS. When consulting the
ACCOMPANYING DOCUMENTS is @ mandatory action, safety sign IEC 60878 Safety 01 (see Table
D.2, safety sign 10) shall be used instead of symbol ISO 7000-1641




ISO 7000-0434A

Caution

Indicates the need for the user to consult the instructions for use for important cautionary information such as warnings or precautions that cannot, for a variety of reasons, be presented on the medical device itself.

[image: image2.jpg]



ISO 7000-1641

Consult instructions for use
[image: image3.jpg]


Indicates the need for the user to consult the instructions for use.

IEC 60878 Safety 01

[image: image4.jpg]



