Calibration Register
Calibration Register is now Tracked from Within Intrastats,

Triggered From Management Meeting OR

Manually Triggered Via Intrastats -> ISO -> Calibration Index. (Fig 1.0)


[image: image1.png]006 Updated

p | ISO | Wan
* Document Index Admin

Training Records

IS0 13485 Links Admin

Document Index

Calibration Index

Task Lists

Supplier Review

Non Conformance Reports





Fig 1.0

Initial List shows Equipment where Next Due date is Past and Equipment Location (Fig.2). To see a complete list of all Equpiment in the Calibration File and Locations Click ‘List all Calibration File’.


[image: image2.png]List All Calimation Filss

Show OverDue Calbration Files
Equprent Barcode ID (CE Nuacher Serial Nuber [Last Updated [Next Dus Location status
Calfate Spectrometer Prema 9001 102003 CEO1S 10030 Sepf2006  [Jen/1972 Main Offce KD Room Celirated Request Calibation
Calate Pisoscope virtual nstrument (102004 CE20)  SOR34100 Sep2106 [Feby2006 [Main Offce KD Room Celirated Request Calibation
(Calfrate Rigel Sefety Tester 255 10028 [CEDM  [Unknown  Sep2006 w972 ndicaton [Reguest Calforation
Calfaate Micro Cal 10040 [CEOSS  [S31B5  Sep006 w972 (Calfrated [Reguest Calforation
(Calfoate Pressue Gage Digitron 2022F 102061 CEO77 Unkaown  Sep2006  Jan/1970 ndicaton [Reguest Calforation
Calioate DL310 Probe Calibrator 10077 [CEO093  [Unknown  [Sep2006 w1970 [Moin Office RuD Room Calirated Request Calbration
Calbate 102153 [CEI69  [Unknown  PewioT0  lanio70 Request Calibration



Fig 2.0

To request an Employee sorts out a calibration Click ‘Request Calibration’ – This will open an issue and prefill the Issue text (fig.3)


[image: image3.png]Cal

New Action/Notes Derek Lamb &

Spectrometer Prema 9001 Barcode:102003 e e
CE:CED1S 5/N:10030 Last Locatio:

office RnD Room Requires Calibrating AddIssue





Fig 3.0

When Calibration has been Completed Click ‘Calibrate’


[image: image4.png]Previous Fon Stbmission(s) on
07152p/2006 440 prn - Calbvation

isocalibration CEO19 (10030)
Calibration

Find Date Code.
[[odeys Dete 1156671176

Find Date Code.
CalfrtedOn
Calfntion Crtifate
Equipment Description Spectometer Prema 80
Iforaton
Sexial Nuber
Baprent Type
Calfntion dus Brery ) Months

E—T— EremdCabeion v |
s Calbreed V]| ]




Fig 4

Fill in Fields to Log the Calibration and any Certificate numbers.

_1220179494.bin

_1220179656.bin

_1220179775.bin

_1220172796.bin

