[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




                    CE File : sample


Introduction.

All Medical products require a CE mark and an accompanying Technical file.

Each product has its own unique file.

Viamed CE files all take the same format :

Red Binder sectioned A-Z.

Red ducket for current unfiled data.

Paperport.

Red Binders :

These binders are sectioned A-Z.  Each letter is a major subject or group of associated subjects.

Where the files are large these sections may be split numerically.

e.g.

[C]   
Classification.

Has both product classification and EMC classification.

[F] 
Device description

Includes Device description, Photographs, Accessories, Instructions labels.

Red Duckets :

Vast quantities of information mainly during the design phase are received sometimes with no specific designated area. These documents are held in a Red ducket.  These duckets are also used for product development ideas prior to adoption.

Suppliers files also contain hard copies of technical correspondence.

With the advent of email this correspondence and meeting minutes  are also held in “Goldmine” an electronic filing and contact system.

Written procedures are compiled as Word Pro or Word documents.

Current location path is T: Drive. Under the user.

This can be located with a normal Windows search.

On completion the CE file e.g 2006 Microstim will be assembled in S;/CE Files live until Intrastats is ready.

Paperport

All hard copy documents are scanned into “Paperport” and electronic document filing system. All Word , Word pro documents, and “Goldmine” documents are printed into paperport. They can also be copied into paperport as documents. Paperport is a quick location file for reference.

Non Viamed products also have CE files where possible and OEM’s are encouraged to supply as much  information as possible which is scanned into Paperport as well as hard copy.

September 22nd 2006

Introduction sample.doc               21/09/2006                  Page 1 of 1                                                                                         

[image: image1.jpg][image: image2.png]