[image: image1.png]


[image: image2.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid





                       

         Master CE file.

Risk Assessment  EN ISO 14971:2000 Annex D : Possible hazards with medical devices.

	Ref.
	Hazard.

	Related part / Component posing risk.
	Sev

of

Haz.
	Like

of

Haz.
	Risk.
	Solution.
	Document referenced.
	Sev

of

Haz.
	Like

0f

Haz.
	Risk.

	D.2
	Energy hazards and contributory factors

	D.2.1
	Electricity
	
	
	
	
	
	
	
	
	

	D.2.2
	Heat
	
	
	
	
	
	
	
	
	

	D.2.3
	Mechanical force
	
	
	
	
	
	
	
	
	

	D.2.4
	Ionising radiation
	
	
	
	
	
	
	
	
	

	D.2.5
	Non ionising radiation
	
	
	
	
	
	
	
	
	

	D.2.6
	Moving parts
	
	
	
	
	
	
	
	
	

	D.2.7
	Unintended motion
	
	
	
	
	
	
	
	
	

	D.2.8
	Suspended masses
	
	
	
	
	
	
	
	
	

	D.2.9
	Patient support failure
	
	
	
	
	
	
	
	
	

	D.2.10
	Pressure (vessel rupture)
	
	
	
	
	
	
	
	
	

	D.2.11
	Acoustic pressure
	
	
	
	
	
	
	
	
	

	D.2.12
	Vibration
	
	
	
	
	
	
	
	
	

	D.2.13
	Magnetic fields 

(eg. MRI)
	
	
	
	
	
	
	
	
	

	Ref.
	Hazard.

	Related part / Component posing risk.
	Sev

of

Haz.
	Like

of

Haz.
	Risk.
	Solution.
	Document referenced.
	Sev

of

Haz.
	Like

0f

Haz.
	Risk.

	D.3
	Biological hazards and contributory factors

	D.3.1
	Bio-contamination
	
	
	
	
	
	
	
	
	

	D.3.2
	Bio-incompatibility
	
	
	
	
	
	
	
	
	

	D.3.3
	Incorrect formulation (chemical composition)
	
	
	
	
	
	
	
	
	

	D.3.4
	Toxicity
	
	
	
	
	
	
	
	
	

	D.3.5
	Allergenicity
	
	
	
	
	
	
	
	
	

	D.3.6
	Mutagenicity
	
	
	
	
	
	
	
	
	

	D.3.7
	Oncogenicity
	
	
	
	
	
	
	
	
	

	D.3.8
	Carcinogenicity
	
	
	
	
	
	
	
	
	

	D.3.9
	Re and/or cross infection
	
	
	
	
	
	
	
	
	

	D.3.10
	Pyrogenicity
	
	
	
	
	
	
	
	
	

	D.3.11
	Inability to maintain hygienic standards
	
	
	
	
	
	
	
	
	

	D.3.12
	Degradation
	
	
	
	
	
	
	
	
	

	Ref.
	Hazard.

	Related part / Component posing risk.
	Sev

of

Haz.
	Like

of

Haz.
	Risk.
	Solution.
	Document referenced.
	Sev

of

Haz.
	Like

0f

Haz.
	Risk.

	D.4
	Environmental hazards and contributory factors

	D.4.1
	Electromagnetic fields
	
	
	
	
	
	
	
	
	

	D.4.2
	Susceptibility to electromagnetic interference
	
	
	
	
	
	
	
	
	

	D.4.3
	Emissions of electromagnetic interference 
	
	
	
	
	
	
	
	
	

	D.4.4
	Inadequate supply of power 
	
	
	
	
	
	
	
	
	

	D.4.5
	Inadequate supply of coolant
	
	
	
	
	
	
	
	
	

	D.4.6
	Storage / operation outside prescribed environmental conditions
	
	
	
	
	
	
	
	
	

	D.4.7
	Incompatibility with other devices with which the product is intended to be used
	
	
	
	
	
	
	
	
	

	D.4.8
	Accidental mechanical damage
	
	
	
	
	
	
	
	
	

	D.4.9
	Contamination due to waste products and/or device disposal
	
	
	
	
	
	
	
	
	

	Ref.
	Hazard.

	Related part / Component posing risk.
	Sev

of

Haz.
	Like

of

Haz.
	Risk.
	Solution.
	Document referenced.
	Sev

of

Haz.
	Like

0f

Haz.
	Risk.

	D.5
	Hazards resulting from incorrect output of energy and substances

	D.5.1
	Electricity
	
	
	
	
	
	
	
	
	

	D.5.2
	Radiation
	
	
	
	
	
	
	
	
	

	D.5.3
	Volume
	
	
	
	
	
	
	
	
	

	D.5.4
	Pressure
	
	
	
	
	
	
	
	
	

	D.5.5
	Supply of medical gases
	
	
	
	
	
	
	
	
	

	D.5.6
	Supply of anaesthetic agents
	
	
	
	
	
	
	
	
	

	D.6
	Hazards related to the use of the medical device and contributory factors

	D.6.1
	Inadequate labelling
	Instrument
	
	
	
	
	
	
	
	

	D.6.2
	Inadequate operating instructions
	User manual & Insert
	
	
	
	
	
	
	
	

	D.6.3
	Inadequate specification of accessories
	User manual & insert
	
	
	
	
	
	
	
	

	D.6.4
	Inadequate specification of pre-use checks
	User manual & insert
	
	
	
	
	
	
	
	

	D.6.5
	Over-complicated operating instructions
	User manual & insert
	
	
	
	
	
	
	
	

	D.6.6
	Inadequate specification of service and maintenance
	User manual & inserts

Technical manual
	
	
	
	
	
	
	
	

	D.6.7
	Use by unskilled / untrained personnel
	Instrument / cable / sensor
	
	
	
	
	
	
	
	

	D.6.8
	Reasonable foreseeable misuse
	Instrument / cable / sensor
	
	
	
	
	
	
	
	

	D.6.9
	Insufficient warning of side effects
	N/A
	
	
	
	
	
	
	
	

	D.6.10
	Inadequate warnings of hazards likely with re-use of single use devices
	Mask sensor / universal sensor
	
	
	
	
	
	
	
	

	D.6.11
	Incorrect measurement and other metrological aspects
	
	
	
	
	
	
	
	
	

	D.6.12
	Misrepresentation of results
	Instrument
	
	
	
	
	
	
	
	

	D.6.13
	Incompatibility with consumables / accessories / other devices
	
	
	
	
	1. 
	
	
	
	

	D.6.14
	Sharp edges or points
	
	
	
	
	
	
	
	
	

	Ref.
	Hazard.

	Related part / Component posing risk.
	Sev

of

Haz.
	Like

of

Haz.
	Risk.
	Solution.
	Document referenced.
	Sev

of

Haz.
	Like

0f

Haz.
	Risk.

	D.7
	Inappropriate, inadequate or overcomplicated user interface ( man/machine communication)

	D.7.1
	Mistakes & judgement errors
	
	
	
	
	
	
	
	
	

	D.7.2
	Lapses and cognitive recall errors
	
	
	
	
	
	
	
	
	

	D.7.3
	Slips & blunders (mental or physical)
	
	
	
	
	
	
	
	
	

	D.7.4
	Violation or abbreviation of instructions,  procedures etc
	
	
	
	
	
	
	
	
	

	D.7.5
	Complex or confusing control system
	
	
	
	
	
	
	
	
	

	D.7.6
	Ambiguous or unclear device state
	
	
	
	
	
	
	
	
	

	D.7.7
	Ambiguous or unclear presentation of settings, measurement, or other information
	
	
	
	
	
	
	
	
	

	D.7.8
	Misrepresentation of results
	
	
	
	
	
	
	
	
	

	D.7.9
	Insufficient visibility, audibility or tactility
	
	
	
	
	
	
	
	
	

	D.7.10
	Poor mapping of controls to action or of displayed information to actual state
	
	
	
	
	
	
	
	
	

	D.7.11
	Controversional modes or mappings as compared to existing equipment
	
	
	
	
	
	
	
	
	

	Ref.
	Hazard.

	Related part / Component posing risk.
	Sev

of

Haz.
	Like

of

Haz.
	Risk.
	Solution.
	Document referenced.
	Sev

of

Haz.
	Like

0f

Haz.
	Risk.

	D.8
	Hazards arising from function failure, maintenance and ageing and contributory factors

	D.8.1
	Erroneous data transfer
	
	
	
	
	
	
	
	
	

	D.8.2
	Lack of, or inadequate specification for maintenance including post maintenance functional tests
	
	
	
	
	
	
	
	
	

	D.8.4
	Inadequate maintenance
	
	
	
	
	
	
	
	
	

	D.8.5
	Lack of adequate determination of end of device life
	
	
	
	
	
	
	
	
	

	D.8.6
	Loss of electrical integrity
	
	
	
	
	
	
	
	
	

	D.8.7
	Loss of mechanical integrity
	
	
	
	
	
	
	
	
	

	D.8.8
	Inadequate packaging (contamination and / or deterioration of the device)
	
	
	
	
	
	
	
	
	

	D.8.9
	Re-use and/or improper re-use
	
	
	
	
	
	
	
	
	

	D.8.10
	Deterioration in function (gradual occlusion of fluid / gas path or change in resistance to flow, electrical conductivity) as a result of repeated use
	
	
	
	
	
	
	
	
	



E5. Risk Management BS14971 Annex D_sample.doc    21/09/2006                        Page 2 of 6
Explanation   1 = Insignificant   2 =  Significant    3  = Tolerable    4  =  Catastrophic     Risk  calculated as product   1 - 16


