[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]





Master  CE file

Risk assessment iaw  EN ISO 14971:2000 Annex A : Identification of medical device characteristics that could impact on safety.

	Section
	Main Question
	Subsidiary questions
	Answer

Y / N
	Risk 

Y / N

	A.2.1
	Q.  What is the intended use ? 

A.  
	Diagnosis
	
	

	
	
	Prevention
	
	

	
	
	Monitoring
	
	

	
	
	Treatment or alleviation of disease
	
	

	
	
	Compensation for injury or handicap 
	
	

	
	
	Replacement or modification of anatomy 
	
	

	
	
	Control of conception
	
	

	A.2.1
	Q.  What is the intended purpose ? 

Q.  
	Life sustaining, 
	
	

	
	
	Life supporting,
	
	

	A.2.1
	Q.  How is the medical device to be used ? 

A.  
	The patient can control the use
	
	

	
	
	The patient can influence the use
	
	

	
	
	Mental abilities  of the user 
	
	

	
	
	Physical abilities of the user
	
	

	
	
	Skill of the user
	
	

	
	
	Training of the user
	
	

	
	
	Used by handicapped persons
	
	

	
	
	Used by the elderly 
	
	

	
	
	Used by children
	
	

	
	
	Used by individuals with various skill levels?
	
	

	
	
	Used by individuals from various cultural backgrounds?
	
	

	A.2.2
	Q.  Is the medical device intended to contact the patient or other persons? A.  Not in normal use.
	Surface contact, 
	
	

	
	
	The period of contact.
	
	

	
	
	The frequency of contact
	
	

	
	
	Invasive contact
	
	

	
	
	The period of contact.
	
	

	
	
	The frequency of contact
	
	

	
	
	Implantation 
	
	

	
	
	The period of contact.
	
	

	
	
	The frequency of contact
	
	

	A.2.3
	Q.  What materials and/or components are incorporated in the medical device or are used with, or are in contact with, the medical device?  A.  
	
	

	A.2.4
	Q.  Is energy delivered to and/or extracted from the patient? A.  Only slight temperature and flow of expired air across the sensor.
	
	

	A.2.5
	Q.  Are substances delivered to and/or extracted from the patient?  A.  No.
	Single substance 
	
	

	
	
	Range of substances,
	
	

	
	
	The maximum and minimum transfer rates and control thereof.
	
	

	A.2.6
	Q.  Are biological materials processed by the medical device for subsequent re-use?
	
	

	A.2.7

	Q.  Is the medical device supplied sterile or intended to be sterilized by the user, or are other microbiological controls applicable ? A.  No.
	The shelf-life 
	
	

	
	
	Any limitation on the number of re-use cycles
	
	

	
	
	Any limitation type of sterilization process to be used.
	
	

	
	
	Limitation on the number of cleaning cycles
	
	

	
	
	The effectiveness of routine cleaning and disinfection
	
	

	A.2.9
	Q. Is the medical device intended to modify the patient  environment? A. No.
	Temperature,
	
	

	
	
	Humidity,
	
	

	
	
	Atmospheric gas composition
	
	

	
	
	Pressure and light
	
	

	
	
	Light
	
	

	A.2.10
	Q.  Are measurements taken? A.  Yes
	The variables measured : 
	
	

	
	
	The accuracy  : +/- 
	
	

	
	
	The precision of the measurement results :.
	
	

	A.2.11
	Q.  Is the medical device interpretative?  A. No.
	Conclusions are presented by the medical device from input data, 
	
	

	
	
	Conclusions are presented by the medical device from acquired data
	
	

	
	
	Conclusions are presented by the medical device from the algorithms used 
	
	

	
	
	Conclusions are presented by the medical device from input or acquired data, the algorithms used and confidence limits
	
	

	A.2.12
	Q.  Is the medical device intended for use in conjunction with medicines or other medical technologies?
	
	

	A.2.13
	Q. Are there unwanted outputs of energy or substances? A. No.


	Noise 
	
	

	
	
	Vibration, 
	
	

	
	
	Heat,.
	
	

	
	
	Radiation 
	
	

	
	
	Ionizing, 
	
	

	
	
	Non-ionizing 
	
	

	
	
	Ultraviolet 
	
	

	
	
	Visible  
	
	

	
	
	Infrared 
	
	

	
	
	Contact temperatures
	
	

	
	
	Leakage currents 
	
	

	
	
	Electric fields
	
	

	
	
	Magnetic fields
	
	

	
	
	Discharge of chemicals
	
	

	
	
	Discharge of waste products 
	
	

	
	
	Discharge of body fluids. 
	
	

	A.2.14
	Q. Is the medical device susceptible to environmental influences?  A. No.
	Operational, 
	
	

	
	
	Transport storage environments
	
	

	
	
	Light, 
	
	

	
	
	Temperature,.
	
	

	
	
	Vibrations
	
	

	
	
	Spillage
	
	

	
	
	Susceptibility to variations in power 
	
	

	
	
	Susceptibility of cooling supplies, 
	
	

	
	
	Electromagnetic interference
	
	

	A.2.15
	Q. Does the medical device influence the environment? A. No.
	The effects on power supplies
	
	

	
	
	The effects cooling supplies, 
	
	

	
	
	Emission of toxic materials 
	
	

	
	
	The generation of electromagnetic interference.
	
	

	A.2.16
	Q. Are there essential consumables or accessories associated with the medical device?
	
	

	A.2.17
	Q. Is maintenance and/or calibration necessary? A. No.


	Carried out by the operator
	
	

	
	
	Carried out by the user 
	
	

	
	
	Carried out by a specialist. 
	
	

	
	
	Are special substances necessary for proper maintenance and/or calibration?
	
	

	
	
	Is special equipment necessary for proper maintenance and/or calibration 
	
	

	A.2.18
	Q. Does the medical device contain software? A. Yes.
	Is software intended to be installed,
	
	

	
	
	Is software  intended to be verified
	
	

	
	
	Is software  intended to be modified 
	
	

	A.2.19
	Q. Does the medical device have a restricted shelf-life? A. No.
	Labeling 
	
	

	
	
	Indicators 
	
	

	
	
	The disposal of such medical devices
	
	

	A.2.20
	Q. Are there any delayed and/or long-term use effects? A. No.
	Ergonomic 
	
	

	
	
	Cumulative effects
	
	

	A.2.21
	Q. To what mechanical forces will the medical device be subjected? A. Negligible.
	Under the control of the user 
	
	

	
	
	Controlled by interaction with other persons
	
	

	A.2.22
	Q. What determines the lifetime of the medical device? 
	Ageing 
	
	

	
	
	Battery depletion
	
	

	
	
	User care
	
	

	A.2.23
	Q. Is the medical device intended for single use?
	
	

	A.2.24
	Q. Is safe decommissioning or disposal of the medical device necessary? A. No, safe disposal of spent batteries by user.
	Does it contain toxic material, 
	
	

	
	
	Does it contain hazardous material
	
	

	
	
	Does it contain recyclable material
	
	

	A.2.25
	Q. Does installation or use of the medical device require special training?
	
	

	A.2.26
	Q. Will new manufacturing processes need to be established or introduced?
	
	

	A.2.27
	Q. Is successful application of the medical device critically dependent on human factors such as the user interface?
	
	

	A.2.27.1
	Q. Does the medical device have connecting parts or accessories? A. Yes.
	Connections
	
	

	
	
	Connection force
	
	

	
	
	Feedback on connection integrity,
	
	

	
	
	Over tightening.
	
	

	
	
	Under tightening.
	
	

	
	
	Spacing, 
	
	

	
	
	Coding,.
	
	

	
	
	Grouping, 
	
	

	A.2.27.2
	Q. Does the medical device have a control interface? A. Yes.
	Mapping, 
	
	

	
	
	Modes of feedback, 
	
	

	
	
	Blunders, 
	
	

	
	
	Slips,
	
	

	
	
	Control differentiation, 
	
	

	
	
	Visibility, 
	
	

	
	
	Direction of activation or change, 
	
	

	
	
	Are the controls continuous 
	
	

	
	
	Are the controls discrete, 
	
	

	
	
	The reversibility of settings or actions
	
	

	A.2.27.3
	Q. Does the medical device display information? A. Yes.
	Visibility in various environments, 
	
	

	
	
	Orientation, 
	
	

	
	
	Populations and perspectives, 
	
	

	
	
	The clarity of the presented information, 
	
	

	
	
	Units, 
	
	

	
	
	Colour coding, 
	
	

	
	
	The accessibility of critical information
	
	

	A.2.27.4
	Q. Is the medical device controlled by a menu? A. Yes.
	Complexity
	
	

	
	
	Number of layers, 
	
	

	
	
	Awareness of state,.
	
	

	
	
	Location of settings
	
	

	
	
	Navigation method, 
	
	

	
	
	Number of steps per action, 
	
	

	
	
	Sequence 
	
	

	
	
	Clarity and memorization problems, 
	
	

	
	
	Importance of control function relative to its accessibility
	
	

	A.2.28
	Q. Is the medical device intended to be mobile or portable?

A. Yes
	Grips,
	
	

	
	
	Handles, 
	
	

	
	
	Wheels, 
	
	

	
	
	Brakes,.
	
	

	
	
	Mechanical stability 
	
	

	
	
	Mechanical durability
	
	


E4. Risk Management BS14971 Annex A sample.doc      21/09/2006                Page 6 of 6
Explanation   1 = Insignificant   2 =  Significant    3  = Tolerable    4  =  Risk  calculated as product   1 - 16


[image: image1.jpg][image: image2.png]