## Sheet1
Manufacturer | Model | Method Masimo Rainbow SET Pulse Co-oximetry Co-Oximetry (Spectrophotometry) ABG (Arterial Blood Gas Analysis) Reflectance Photometry | Invasive/Non-invasive | Equipment Price | Price Source URL | Cost per Measurement (approx) | Measurement Management Method Embedded in Sensor Dongle | SpO2 | Pulse Rate | Haematocrit | Methaemoglobin | Haemoglobin | Perfusion Index | Carboxyhaemoglobin
Masimo | ROOT | n/a This is the platform which is used with the Radical-7 to display the information gained from the handheld monitors.
Masimo | Radius-7 | Masimo Rainbow SET Pulse Co-oximetry | Non-invasive |  |  |  |  | Yes | Yes | No | Yes | Yes | Yes | ?
Masimo | Radical-7 | Masimo Rainbow SET Pulse Co-oximetry | Non-invasive |  |  |  |  | Yes | Yes | No | Yes | Yes | Yes | Yes
Masimo | Rad-57, upgraded | Masimo Rainbow SET Pulse Co-oximetry | Non-invasive |  |  |  |  | Yes | Yes | No | Yes | Yes | Yes | Yes
Masimo | Rad-87, upgraded | Masimo Rainbow SET Pulse Co-oximetry | Non-invasive |  |  |  |  | Yes | Yes | No | Yes | Yes | Yes | Yes
Masimo | Pronto | Masimo Rainbow SET Pulse Co-oximetry | Non-invasive |  |  |  |  | Yes | Yes | No | No | Yes | Yes | No
Masimo | Pronto-7 | Masimo Rainbow SET Pulse Co-oximetry | Non-invasive |  |  |  |  | Yes | Yes | No | No | Yes | Yes | No
HemoCue | B-Hemoglobin
HemoCue | Hb 201+ |  | Invasive | 840.84 | http://esuppliesmedical.co.uk/equipment/diagnostic-machines/hemocue-hb201-haemoglobin-blood-analyser | 0.8 | n/a | No | No | No | No | Yes | No | No
Stanbio Laboratory | Stat Site MHgb Hemoglobin Analyzer - POCD | Reflectance Photometry | Invasive | 68.33 | http://www.cliawaived.com/cf.inventory.htm | 1 | n/a | No | No | No | No | Yes | No | No
Alere | HemoPoint H2 Test System | Optical absorption photometry | Invasive | 578.5 | https://www.fishersci.com/shop/products/alere-hemopoint-h2-photometer-starter-kits-3/p-4393155 | 0.9 | n/a | No | No | Yes | No | Yes | No | No
Acon Clinical Chemistry International | Mission Plus Hb | Reflectance Photometry | Invasive | 100 | http://www.cliawaived.com/cf.inventory.htm?action=showinvone&invid=3905&head=Mission+Plus+Hemoglobin+%28Hb%29+Meter&key=Mission+Plus+Hemoglobin+%28Hb%29+MeterMission+Plus+Hemoglobin+%28Hb%29+Meter&desc=The+Mission%C2%AE+Plus+Hemoglobin+%28Hb%29+Testing+System+is+desired+for+point-of-care+testing.+This+handheld+system+is+quick%2C+accurate+and+convenient%2C+with+results+in+less+than+15+seconds.+It+features+a+large%2C+easy-to-read+LCD+and+stores+up+to+1%2C000+results.+The+device%27s+format+minimizes+cross-contamination+and+no+specimen+preparation+is+required.+Purchase+includes+meter%2C+carrying+case%2C+warranty+card%2C+user+manual%2C+QRG+and+4+AAA+batteries.%0D%0A%0D%0ANOTE%3A+FOR+PROFESSIONAL+USE+ONLY.+NOT+FOR+HOME+USE. | 0.8 | n/a | No | No | Yes | No | Yes | No | No
EasyTouch | EasyTouch GCHb |  | Invasive | 49.99 | http://www.amazon.co.uk/Easy-Touch-monitoring-cholesterol-hemoglobin/dp/B00B6BD5ZY | 0.7 | n/a | No | No | No | No | Yes | No | No
| EasyMate GcHb |  | Invasive | 47 | https://www.homelabdiagnostics.com/product/gchb-hemoglobin-meter-starter-kit/ | 0.7 | n/a | No | No | Yes | No | Yes | No | No
ApexBio Polska | HemoSmart |  | Invasive | 67 | http://www.redmed.pl/hemosmart-gold-analizator-hemoglobiny-p-349.html | 0.65 | n/a | No | No | Yes | No | Yes | No | No
Sunny Medical Equipment | SY-B153 Hb |  | Invasive |  |  |  | n/a | No | No | Yes | No | Yes | No | No
Clarity Diagnostics | Cla-hb2 Clarity Hb Check |  | Invasive | 235 | http://www.amazon.com/Clarity-Diagnostics-Cla-hbpromo2-Hemoglobin-Testing/dp/B00RY3LZNM |  | n/a | No | No | Yes | No | Yes | No | No
Ecotest Hb
URIT | URIT-12 | Optical Reflectance | Invasive | 89.99 | http://www.amazon.co.uk/URIT-12-Hemoglobin-Hemospherin-Hematocrit-Meter/dp/B00D2OP6U0 | 0.7 | n/a | No | No | Yes | No | Yes | No | No
Sunny Medical Equipment | SY-B152 Cheap
Biosense | ToucHb *UNRELEASED* |  | Non-invasive
Horron H618
Hemokwik DGTL
EKF Diagnostics | Hemo Control | Photometric azide methemoglobin | Invasive |  |  |  |  | No | No | Yes | No | Yes | No | No
Gesunde Medical | Quik-Check |  | Invasive
Lifescan | OneTouch Verio | Blood Glucose Devices
Lifescan | OneTouch Verio IQ | Blood Glucose Devices
Lifescan | OneTouch Select Plus | Blood Glucose Devices
Eotest
ITC | Hgb Pro |  | Invasive | 158 | http://www.whitmiremedical.com/pages/HgbPro_details.htm | 0.8 | n/a | No | No | No | No | Yes | No | No
| A1cNow | Blood Glucose Devices
EKF Diagnostics | Alere HemoPoint H2 | Ultrasound | Invasive |  |  |  |  | No | No | Yes | No | Yes | No | No
EKF Diagnostics | UltraCrit Plus | Ultrasound | Invasive |  |  |  |  | No | No | Yes | No | Yes | No | No
EKF Diagnostics | HemataStat II