| Manufacture | Model | PPM Range | Displays | Breath hold Countdown Time | Environmental CO Capture In PPM | Calibration | Resolution | D-Piece Adapter Sterilisation | Configurable Traffic Light Settings | Warranty | Batteries |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bedfont | PICO Simple | 0 – 100ppm | PPM %COHb | 15 seconds | No | MHRA * | 1.0ppm | No | No | 5 years * | 2 x AA |
| Bedfont | PICO Baby | 0 – 100ppm | PPM %COHb %FCOHb | 15 seconds | No | MHRA * | 1.0ppm | No | No | 5 years * | 2 x AA |
| MD Diagnostics | CO Check Pro | 0 – 100ppm | PPM %COHb ECC | Configurable 0 – 5 – 10 – 15 – 20 seconds | Yes | 6 months | 0.1ppm | Yes | Yes | 5 years * | 1 x 9v |
| MD Diagnostics | CO Check Baby | 0 – 100ppm | PPM %COHb %FCOHb ECC | Configurable 0 – 5 – 10 – 15 – 20 seconds | Yes | 6 months | 0.1ppm | Yes | Yes | 5 years* | 1 x 9v |
| MD Diagnostics | CO Check + | 0 – 100ppm | PPM %COHb ECC | 15 seconds | Yes | 6 months | 0.1ppm | Yes | No | 5 years* | 1 x 9v |
| MD Diagnostics | CO Check + Baby | 0 – 100ppm | PPM %COHb %FCOHb ECC | 10 seconds | Yes | 6 months | 0.1ppm | Yes | No | 5 years * | 1 x 9v |
| Care Fusion | Micro CO | 0 – 100ppm | PPM %COHb | 15 seconds | No | 6 months | 1.0ppm | Yes | No | 13 Months | 1 x 9v |
| Care Fusion | Baby CO | 0 – 100ppm | PPM %COHb %FCOHb | 10 seconds | No | 6 months | 1.0ppm | Yes | No | 13 Months | 1 x 9v |
| Care Fusion | Smoke Check | 0 – 100ppm | PPM | 15 seconds | No | 6 months | 1.0ppm | Yes | No | 13 Months | 1 x 9v |

MHRA * = This device is being reviewed over calibration claims by UK Medicines & Healthcare Regulatory Agency (MHRA)

5 Years * = Not applicable to all countries. ECC = Environmental CO capture in PPM – PPM = Parts per million