QC 21 Non Conformance Report

Date	08/09/2016
Issue id	78698
BSI Ref (if applicable)	1368854M1 / Virtual Manufacture requirements for products
Responsibility	Derek Lamb
Non-Conformance	“The client is purchasing the finished product from EnviteC, but is not in control of the designs, specifications, etc. and does not hold the documentation mentioned above. The technical agreement requires EnviteC to maintain traceability to batch serial number level, but not of any components below. “
Investigation By:	Derek Lamb
Investigation Issue id / (if applicable)	ISSUE #78698 / OBL Certificates requirements have been changing over the past 2-3 Years. / 2015, We had a similar Non-conformance how ever Envitec supplied confidential documents directly to BSI to close the Non Conformance. / The OBL certificate requirements have moved further See Client Communication from BSI 20th July 2016. (Actually received by Viamed 7th September 2016 during the BSI Audit this non conformance has been raised) / 22nd September, Discussed the requirements further with / Daniel Taylor, our new Scheme Managers/Technical Specialist Daniel.Taylor@bsigroup.com / It appears currently while we do require more documentation in our local technical file, we are still able to utilise the Original OEM documentation if, as per last years audit, the documents are available on request from BSI.
Corrective Action By:	Derek Lamb. / Going forwards as per the Client Communication from BSI 20th July 2016. (Actually received by Viamed 7th September 2016 during the BSI Audit this non conformance has been raised). / By December 1st 2016 Viamed will build a Technical file of as much data required that does not contain sensitive propriety information of the OEM. Any documentation which we do not hold locally we will include in our file a document which explicitly states Viamed does not hold this information but is available direct form the OEM, / When Viamed is requested a Desktop Review, the OEM will supply the extra information not supplied by Viamed, / During an internal audit the BSI Auditor will find a document pointing to the OEM holding the required documentation.
Corrective Action Issue ID (if applicable):
Time Scale for Corrective Action
Corrective Action:
Follow-up future issue id / (Effectiveness verification)
Effectiveness verification
Closed By:
Closed on