QC 22 Non Conformance Report

Date	08/09/2016
Issue id	78698
BSI Ref (if applicable)	1368854M2 / Virtual Manufacture requirements for products
Responsibility	Derek Lamb
Non-Conformance	“The client is purchasing the finished product from Blue Point, but is not in control of the designs, specifications, etc. and does not hold the documentation mentioned above. The technical agreement requires Blue Point to maintain traceability to batch serial number level, but not of any components below. The technical agreement does not cover the notified body to have access to premises and information unannounced. “
Investigation By:	Derek Lamb
Investigation Issue id / (if applicable)	OBL Certificates requirements have been changing over the past 2-3 Years. / 2015, We had a similar Non-conformance how ever Envitec supplied confidential documents directly to BSI to close the Non Conformance. / The OBL certificate requirements have moved further See Client Communication from BSI 20th July 2016. / Technical Agreement has not been updated since the last review due to unforeseen circumstances stopping the 2 parties getting together to discuss and sign a new contract.
Corrective Action By:
Corrective Action Issue ID (if applicable):
Time Scale for Corrective Action
Corrective Action:
Follow-up future issue id / (Effectiveness verification)
Effectiveness verification
Closed By:
Closed on