QC 22 Non Conformance Report

Date	08/09/2016
Issue id	78700
BSI Ref (if applicable)	1368854N2 / Manufacture and test: Nerve stimulators
Responsibility	Derek Lamb
Non-Conformance	“Although records of the 2 QA operatives reading VMCOP61.00 Microstim QA procedure were available the records of them being trained were missing from the online training log. “
Investigation By:	Derek Lamb
Investigation Issue id / (if applicable)
Corrective Action By:
Corrective Action Issue ID (if applicable):
Time Scale for Corrective Action
Corrective Action:
Follow-up future issue id / (Effectiveness verification)
Effectiveness verification
Closed By:
Closed on