## Sheet1
0212015	Draeger	Infinity M540 (direct)	Monitor
0212015	Draeger	Infinity M540 (via Infinity Mpod-Quad Hemo)	Monitor
0212015	Draeger	Infinity Delta	Monitor
0212015	Draeger	Infinity Delta XL	Monitor
0212015	Draeger	Infinity Omega	Monitor
0212015	Draeger	Infinity Kappa	Monitor
0212015	Draeger	Infinity Omega-S	Monitor
0212015	Draeger	Infinity Kappa XLT	Monitor
0212015	Draeger	Infinity Gamma X XL	Monitor
0212015	Draeger	Infinity Gamma XL	Monitor
0212015	Draeger	Infinity Vista XL	Monitor
0212015	Draeger	Infinity Vista via Multimed Pods	Monitor
0212015	Draeger	Infinity Hemo2 Pod	Pod
0212015	Draeger	Infinity Hemo4 Pod	Pod
0212015	Draeger	Infinity Mpod-Quad Hemo	Pod
0212015	Draeger	Zeus Infinity Empowered via MultiMed Pods	Monitor
0212015	Siemens	SC 6002XL via MultiMed Pods	Monitor
0212015	Siemens	SC 6802XL via MultiMed Pods	Monitor
0212015	Siemens	SC 7000 via MultiMed Pods	Monitor
0212015	Siemens	SC 8000 via MultiMed Pods	Monitor
0212015	Siemens	SC 9000XL via MultiMed Pods	Monitor
0212016	Draeger	Infinity M540 (direct)	Monitor
0212016	Draeger	Infinity M540 (via Infinity Mpod-Quad Hemo)	Monitor
0212016	Draeger	Infinity Delta	Monitor
0212016	Draeger	Infinity Delta XL	Monitor
0212016	Draeger	Infinity Omega	Monitor
0212016	Draeger	Infinity Kappa	Monitor
0212016	Draeger	Infinity Omega-S	Monitor
0212016	Draeger	Infinity Kappa XLT	Monitor
0212016	Draeger	Infinity Gamma X XL	Monitor
0212016	Draeger	Infinity Gamma XL	Monitor
0212016	Draeger	Infinity Vista XL	Monitor
0212016	Draeger	Infinity Vista via Multimed Pods	Monitor
0212016	Draeger	Infinity Hemo2 Pod	Pod
0212016	Draeger	Infinity Hemo4 Pod	Pod
0212016	Draeger	Infinity Mpod-Quad Hemo	Pod
0212016	Draeger	Zeus Infinity Empowered via MultiMed Pods	Monitor
0212016	Siemens	SC 6002XL via MultiMed Pods	Monitor
0212016	Siemens	SC 6802XL via MultiMed Pods	Monitor
0212016	Siemens	SC 7000 via MultiMed Pods	Monitor
0212016	Siemens	SC 8000 via MultiMed Pods	Monitor
0212016	Siemens	SC 9000XL via MultiMed Pods	Monitor
0212017	Draeger	Infinity M540 (direct)	Monitor
0212017	Draeger	Infinity M540 (via Infinity Mpod-Quad Hemo)	Monitor
0212017	Draeger	Infinity Delta	Monitor
0212017	Draeger	Infinity Delta XL	Monitor
0212017	Draeger	Infinity Omega	Monitor
0212017	Draeger	Infinity Kappa	Monitor
0212017	Draeger	Infinity Omega-S	Monitor
0212017	Draeger	Infinity Kappa XLT	Monitor
0212017	Draeger	Infinity Gamma X XL	Monitor
0212017	Draeger	Infinity Gamma XL	Monitor
0212017	Draeger	Infinity Vista XL	Monitor
0212017	Draeger	Infinity Vista via Multimed Pods	Monitor
0212017	Draeger	Infinity Hemo2 Pod	Pod
0212017	Draeger	Infinity Hemo4 Pod	Pod
0212017	Draeger	Infinity Mpod-Quad Hemo	Pod
0212017	Draeger	Zeus Infinity Empowered via MultiMed Pods	Monitor
0212017	Siemens	SC 6002XL via MultiMed Pods	Monitor
0212017	Siemens	SC 6802XL via MultiMed Pods	Monitor
0212017	Siemens	SC 7000 via MultiMed Pods	Monitor
0212017	Siemens	SC 8000 via MultiMed Pods	Monitor
0212017	Siemens	SC 9000XL via MultiMed Pods	Monitor
0212027	Draeger	Infinity M540 (direct)	Monitor
0212027	Draeger	Infinity M540 (via Infinity Mpod-Quad Hemo)	Monitor
0212027	Draeger	Infinity Delta	Monitor
0212027	Draeger	Infinity Delta XL	Monitor
0212027	Draeger	Infinity Omega	Monitor
0212027	Draeger	Infinity Kappa	Monitor
0212027	Draeger	Infinity Omega-S	Monitor
0212027	Draeger	Infinity Kappa XLT	Monitor
0212027	Draeger	Infinity Gamma X XL	Monitor
0212027	Draeger	Infinity Gamma XL	Monitor
0212027	Draeger	Infinity Vista XL	Monitor
0212027	Draeger	Infinity Vista via Multimed Pods	Monitor
0212027	Draeger	Infinity Hemo2 Pod	Pod
0212027	Draeger	Infinity Hemo4 Pod	Pod
0212027	Draeger	Infinity Mpod-Quad Hemo	Pod
0212027	Draeger	Zeus Infinity Empowered via MultiMed Pods	Monitor
0212027	Siemens	SC 6002XL via MultiMed Pods	Monitor
0212027	Siemens	SC 6802XL via MultiMed Pods	Monitor
0212027	Siemens	SC 7000 via MultiMed Pods	Monitor
0212027	Siemens	SC 8000 via MultiMed Pods	Monitor
0212027	Siemens	SC 9000XL via MultiMed Pods	Monitor
0212028	Draeger	Infinity M540 (direct)	Monitor
0212028	Draeger	Infinity M540 (via Infinity Mpod-Quad Hemo)	Monitor
0212028	Draeger	Infinity Delta	Monitor
0212028	Draeger	Infinity Delta XL	Monitor
0212028	Draeger	Infinity Omega	Monitor
0212028	Draeger	Infinity Kappa	Monitor
0212028	Draeger	Infinity Omega-S	Monitor
0212028	Draeger	Infinity Kappa XLT	Monitor
0212028	Draeger	Infinity Gamma X XL	Monitor
0212028	Draeger	Infinity Gamma XL	Monitor
0212028	Draeger	Infinity Vista XL	Monitor
0212028	Draeger	Infinity Vista via Multimed Pods	Monitor
0212028	Draeger	Infinity Hemo2 Pod	Pod
0212028	Draeger	Infinity Hemo4 Pod	Pod
0212028	Draeger	Infinity Mpod-Quad Hemo	Pod
0212028	Draeger	Zeus Infinity Empowered via MultiMed Pods	Monitor
0212028	Siemens	SC 6002XL via MultiMed Pods	Monitor
0212028	Siemens	SC 6802XL via MultiMed Pods	Monitor
0212028	Siemens	SC 7000 via MultiMed Pods	Monitor
0212028	Siemens	SC 8000 via MultiMed Pods	Monitor
0212028	Siemens	SC 9000XL via MultiMed Pods	Monitor
0212029	Draeger	Infinity M540 (direct)	Monitor
0212029	Draeger	Infinity M540 (via Infinity Mpod-Quad Hemo)	Monitor
0212029	Draeger	Infinity Delta	Monitor
0212029	Draeger	Infinity Delta XL	Monitor
0212029	Draeger	Infinity Omega	Monitor
0212029	Draeger	Infinity Kappa	Monitor
0212029	Draeger	Infinity Omega-S	Monitor
0212029	Draeger	Infinity Kappa XLT	Monitor
0212029	Draeger	Infinity Gamma X XL	Monitor
0212029	Draeger	Infinity Gamma XL	Monitor
0212029	Draeger	Infinity Vista XL	Monitor
0212029	Draeger	Infinity Vista via Multimed Pods	Monitor
0212029	Draeger	Infinity Hemo2 Pod	Pod
0212029	Draeger	Infinity Hemo4 Pod	Pod
0212029	Draeger	Infinity Mpod-Quad Hemo	Pod
0212029	Draeger	Zeus Infinity Empowered via MultiMed Pods	Monitor
0212029	Siemens	SC 6002XL via MultiMed Pods	Monitor
0212029	Siemens	SC 6802XL via MultiMed Pods	Monitor
0212029	Siemens	SC 7000 via MultiMed Pods	Monitor
0212029	Siemens	SC 8000 via MultiMed Pods	Monitor
0212029	Siemens	SC 9000XL via MultiMed Pods	Monitor
0212031	Hewlett Packard	21078A	Probe
0212020	Hewlett Packard	21076A	Probe
0212020	Hewlett Packard	21075A	Probe
0212031	Philips Healthcare	21078A	Probe
0212020	Philips Healthcare	21076A	Probe
0212020	Philips Healthcare	21075A	Probe
0212014	Measurement Specialities Inc.	Model 401	Probe
0212014	Measurement Specialities Inc.	Model 401AC	Probe
0212013	Measurement Specialities Inc.	Model 402	Probe
0212025	Measurement Specialities Inc.	Model 409AC	Probe
0212013	Measurement Specialities Inc.	Model 402AC	Probe
0212025	Measurement Specialities Inc.	Model 409A	Probe
0212025	Measurement Specialities Inc.	Model 409B	Probe
0212024	Measurement Specialities Inc.	Model 427	Probe
0212014	Measurement Specialities Inc.	881101	Probe
0212014	Measurement Specialities Inc.	008401	Probe
0212013	Measurement Specialities Inc.	081102	Probe
0212025	Measurement Specialities Inc.	008409	Probe
0212013	Measurement Specialities Inc.	008402	Probe
0212025	Measurement Specialities Inc.	081208	Probe
0212025	Measurement Specialities Inc.	081209	Probe
0212024	Measurement Specialities Inc.	081117	Probe
0212014	Variohm EuroSensor	Model 401	Probe
0212014	Variohm EuroSensor	Model 401AC	Probe
0212013	Variohm EuroSensor	Model 402	Probe
0212025	Variohm EuroSensor	Model 409AC	Probe
0212013	Variohm EuroSensor	Model 402AC	Probe
0212025	Variohm EuroSensor	Model 409A	Probe
0212025	Variohm EuroSensor	Model 409B	Probe
0212024	Variohm EuroSensor	Model 427	Probe
0212014	Variohm EuroSensor	881101	Probe
0212014	Variohm EuroSensor	008401	Probe
0212013	Variohm EuroSensor	081102	Probe
0212025	Variohm EuroSensor	008409	Probe
0212013	Variohm EuroSensor	008402	Probe
0212025	Variohm EuroSensor	081208	Probe
0212025	Variohm EuroSensor	081209	Probe
0212024	Variohm EuroSensor	081117	Probe
0212014	TE Connectivity	Model 401	Probe
0212014	TE Connectivity	Model 401AC	Probe
0212013	TE Connectivity	Model 402	Probe
0212025	TE Connectivity	Model 409AC	Probe
0212013	TE Connectivity	Model 402AC	Probe
0212025	TE Connectivity	Model 409A	Probe
0212025	TE Connectivity	Model 409B	Probe
0212024	TE Connectivity	Model 427	Probe
0212014	TE Connectivity	881101	Probe
0212014	TE Connectivity	008401	Probe
0212013	TE Connectivity	081102	Probe
0212025	TE Connectivity	008409	Probe
0212013	TE Connectivity	008402	Probe
0212025	TE Connectivity	081208	Probe
0212025	TE Connectivity	081209	Probe
0212024	TE Connectivity	081117	Probe
0212014	TE Connectivity	081103 (tubular)	Probe
0212014	TE Connectivity	Model 403 (tubular)	Probe
0212014	Measurement Specialities Inc.	081103 (tubular)	Probe
0212014	Measurement Specialities Inc.	Model 403 (tubular)	Probe
0212014	Arrow	081103 (tubular)	Probe
0212014	Arrow	Model 403 (tubular)	Probe
0212014	Arrow	Model 401	Probe
0212014	Arrow	Model 401AC	Probe
0212013	Arrow	Model 402	Probe
0212025	Arrow	Model 409AC	Probe
0212013	Arrow	Model 402AC	Probe
0212025	Arrow	Model 409A	Probe
0212025	Arrow	Model 409B	Probe
0212024	Arrow	Model 427	Probe
0212014	Arrow	881101	Probe
0212014	Arrow	008401	Probe
0212013	Arrow	081102	Probe
0212025	Arrow	008409	Probe
0212013	Arrow	008402	Probe
0212025	Arrow	081208	Probe
0212025	Arrow	081209	Probe
0212024	Arrow	081117	Probe
0212014	TTI Inc.	081103 (tubular)	Probe
0212014	TTI Inc.	Model 403 (tubular)	Probe
0212014	TTI Inc.	Model 401	Probe
0212014	TTI Inc.	Model 401AC	Probe
0212013	TTI Inc.	Model 402	Probe
0212025	TTI Inc.	Model 409AC	Probe
0212013	TTI Inc.	Model 402AC	Probe
0212025	TTI Inc.	Model 409A	Probe
0212025	TTI Inc.	Model 409B	Probe
0212024	TTI Inc.	Model 427	Probe
0212014	TTI Inc.	881101	Probe
0212014	TTI Inc.	008401	Probe
0212013	TTI Inc.	081102	Probe
0212025	TTI Inc.	008409	Probe
0212013	TTI Inc.	008402	Probe
0212025	TTI Inc.	081208	Probe
0212025	TTI Inc.	081209	Probe
0212024	TTI Inc.	081117	Probe