| Directorate |  | Medicine |  |  |  |  |  |  | Risk Ref: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Department |  | Respiratory and Sleep Medicine |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Source of risk (e.g. Incident Form) |  | To accompany MEMG form as using new equipment in the trust |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Risk Assessment of |  | Viamed VM-2160 oximeter and battery operated data logger |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of Risk |  | Health & Safety |  |  |  | x |  | Patient Safety |  |  | x |  | Security |  |  |  |
| Location |  | Sleep unit, wards and home community setting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Risk Assessor |  | Ruth Kingshott |  |  | Department Manager |  |  |  |  |  |  | Heather Elphick |  |  |  |  |
| Signed |  |  |  |  | Signed |  |  |  |  |  |  |  |  |  |  |  |
| Date of Assessment |  | 27/12/2016 |  |  | Review date |  |  |  |  |  |  |  |  |  |  |  |
| Contact Phone No. |  | 07599913138 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Indicate below whether this risk is department only or for inclusion on directorate or trust risk register? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Internal Department Risk Assessment? |  |  |  |  |  |  |  | Yes |  |  | x |  | No |  |  |  |
| Escalate to Risk Register? |  |  |  | No |  | x |  | Strategic |  |  |  |  | Directorate |  |  |  |
| Current revision |  | Summary Of Changes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.0 |  | - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description Of Risk Being Assessed We are assessing the risk of introducing a new piece of oximetry kit and a data logger entering the sleep and respiratory department as per the current MEMG protocol for new equipment. There are currently three different brands of oximeter used by the respiratory and sleep service - Masimo Radical 7’s and 8’s - Minolta wrist watch oximeters - Nellcor SomnoMedics oximeters incorporated into the sleep kit. For our research project we will be using the following new equipment - Viamed VM-2160 with SMART sat oximeter - Battery operated data logger We are doing the research in collaboration with Viamed to record anonymous data for paediatric algorithms. To do this we need to use Viameds oximeter and a data logger. Viamed oximeter: This is a standard piece of oximetry kit used in hospitals all over the UK. However it is new to SCH. In our research project, the Viamed oximeter would be attached by a standard reusable or disposable Viamed sensor to the child’s toe who is already undergoing routine oximetry. Battery operated data logger: This is a small microcontroller unit that houses an SD card to collect the anonymous SpO2, pulse, alarm status and recovery periods. The data logger will be connected to both the SCH Masimo oximeter and the Viamed oximeter by the standard isolated USB ports on the oximeters. The data logger has no direct connection to the patients. The research team have chosen to use a battery operated data logger, so that in the home community setting there is less need for available plug sockets. The risks are as follows - Viamed oximeter is new to the trust and so this piece of kit has not been used before in SCH. The kit will be set up by the research physiologist (Ruth Kingshott) and she will receive full training from Viamed prior to its use. The Viamed oximeter will undergo the standard procedures at clinical engineering including: indemnity insurance certificate for loan kit, acceptance testing, logging of the serial numbers and a set loan period time agreed upon. - The battery operated data logger is new to the trust and so this piece of kit has not been used before in SCH. The kit will be set up by the research physiologist (Ruth Kingshott) and she will receive full training from Viamed prior to its use. The Viamed oximeter will undergo the standard procedures at clinical engineering including: indemnity insurance certificate for loan kit, acceptance testing, logging of the serial numbers and a set loan period time agreed upon |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Summary Of Current Control measures - CE marked kit where appropriate - Has to pass MEMG approval - Full training of research staff who will be using the kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Overall Risk Grading |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Consequence (C) | 2 |  | Likelihood (L) |  |  |  | 1 |  |  | Risk (C x L) |  |  |  |  | 1 |  |

See over for grading table

| Consequence |  |  |  | Likelihood |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Negligible | Minimal injury, none or minor treatment / adverse health outcome / some disruption to service / small financial loss / potential for public concern |  | 1 | Rare | This will probably never happen / recur (not expected to occur for years) |  |
| 2 | Low | Minor injury / <3 days off work / adverse health outcome / short term disruption to service / financial loss or claim < £10,000 / local media coverage short term |  | 2 | Unlikely | Do not expect it to happen / recur but it is possible it may do so (expected to occur annually) |  |
| 3 | Medium | Medium injury / 4-14 days off work / adverse health outcome / moderate service disruption / financial loss or claim £10,000-£100,00 / local media coverage long term |  | 3 | Possible | Might happen or recur occasionally (Expected to occur monthly) |  |
| 4 | Very high | Major injury or disability / closure of a service / financial loss or claim £100,000-£1 Million / possible litigation / national media coverage short term |  | 4 | Likely | Will probably happen / recur but it is not a persisting issue (Expected to occur weekly) |  |
| 5 | Extreme | Death(s) / multiple permanent injury or health effects / extended service disruption or closure / financial loss or claim >£1 Million / national media coverage long term |  | 5 | Almost certain | Will undoubtedly happen / recur possibly frequently (Expected to occur daily) |  |
| Extreme 15 -25 |  |  | High 8 – 12 | Moderate 4 – 6 |  |  | Low 1 -3 |
| Extreme risk, immediate action required |  |  | High risk, action planned immediately, commenced within one month | Moderate risk, action planned within one month, commenced within three months |  |  | Low risk, action planned within three months, reviewed within 1year |

| Activity and Task | Hazards and Risks Identified | People at Risk | Controls In Place | Consequence | Likelihood | Risk Rating | Recommended Additional Controls | Post Risk Rating |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1-5 | 1-5 | 1-25 |  |  |
|  |  |  |  | C x L = R |  |  |  |  |
| 1 Transporting the kit to the place of testing | Dropping of equipment | N | Wipeable plastic carry trolleys to transport equipment (already standard issue). | 1 | 1 | 1 | Nil | 1 |
| 2 Setting up the kit by the bedside in hospital | Not enough plug sockets Kit falling off bedside tables onto floor or patient in hospital | N Y | Viamed oximeter & datalogger are battery powered so no extra plug sockets required The viamed oximeter is handheld and small, as is the data logger and both will be placed on the bedside table on top of the masimo | 1 1 | 1 1 | 1 1 | Adequate supply of batteries Adequate cable length to reach bedside table. | 1 |
| 3 Setting up the kit by the bedside at home | Not enough plug sockets Kit falling off bedside tables onto floor or patient in hospital | N Y | Viamed oximeter & datalogger are battery powered so no extra plug sockets required Kit is placed on the floor at home to prevent falling kit | 1 1 | 1 1 | 1 1 | Adequate supply of batteries Adequate cable length to reach onto floor. | 1 1 |
| 4 Attaching sensor to patient | Potential strangulation risk | Y | Sensors are placed on toes, with cables fed along clothing and out from bottom of bed to avoid strangulation risk | 2 | 1 | 2 | In addition, oximeters have in built low oxygen levels alarms which would be set off if significant SpO2 levels were detected | 2 |
| 5 Connecting oximeters to data logger | Risk of connecting a patient to an extra piece of electrical kit | Y | The data logger is battery powered. In addition the connections to mains powered masimo oximeter are isolated and fulfil all electrical safety and patient isolation requirements. | 2 | 1 | 2 |  | 2 |

You will have inevitably used some subjectivity in completing the risk assessment based on your knowledge, experience and judgement. You should record the rationale behind your decision making throughout this assessment.  You should also provide supporting evidence for your rationale if the rating is High or Extreme.

Rationale The risk form has been completed as part of the MEMG application because the kit being used is on trial for a research project. All of the risks mentioned above currently apply to standard clinical practice for our respiratory service oximeters. The only added risk here is the connection to the data logger (which is battery powered and isolated).

Action Plan For Risk Control

Where additional controls from those already in place have been identified record your action plan

| No. | Risk | Recommended Additional Controls | Cost and Time to Implement | Action By | Target Date | Date Completed | Post Risk Rating |
| --- | --- | --- | --- | --- | --- | --- | --- |

Instructions on using the risk assessment template – Please note these following pages will not print

Example

| Activity and Task Persons at Risk | Hazards and Risks Identified | People at Risk | Controls In Place | Likelihood | Consequence | Risk Rating | Recommended Additional Controls | Post Risk Rating |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1-5 | 1-5 | 1-25 |  |  |
|  |  |  |  | L x C = R |  |  |  |  |
| 1 Offices, General use and access. | Items left /stored on floor due to inadequate storage, poor housekeeping. No storage for staff personal items. Too many paper files. Slips and trips. | Staff, visitors, possibly patients | Shelves provided for files. | 3 | 2 | 6 | Provide coat hooks. Clear archive items from shelves to long term storage to create extra space. Discussion with staff re good housekeeping Ongoing monitoring by manager of housekeeping | 2 |

HOW TO USE THE RISK MATRIX:

- Referring to the Risk Assessment Matrix Table on last page below, choose a classification for your risk consequence, e.g. manual handling issues could result in ‘Impact on staff safety’ or breach of ‘Statutory Duty’

- From the descriptions of ‘Consequence’ choose the one you think most likely to occur.

- So if the most likely consequence might be an injury resulting in absence of  4 - 14 days – the score is 3

- From ‘Likelihood’ choose the frequency which that consequence will occur at.

- If the likelihood is assessed as ‘might recur occasionally’ – score 3 then the overall score is 9

- If required reassess for a different consequence, so a worse consequence of 4 may have a likelihood of 2 giving an overall score of 8

- Having assessed the range of consequences and associated likelihoods the overall score to be recorded is the worst case.

- You can also assess a different type of consequence - only 3 types are shown in the table below  - more are available click icon here for the full NPSA consequence and likelihood risk matrix

| RISK ASSESSMENT MATRIX |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CONSEQUENCE SCORE |  |  |  | LIKELIHOOD SCORE |  |  |  |  |
| Impact on the safety of patients, staff or public (physical/psychological harm) | Quality/complaints/audit | Statutory duty/ inspections |  | 1 | 2 | 3 | 4 | 5 |
|  |  |  |  | This will probably never happen / recur | Do not expect it to happen / recur but it is possible it may do so | Might happen or recur occasionally | Will probably happen / recur but it is not a persisting issue | Will undoubtedly happen / recur, possibly frequently |
| Minimal injury requiring no/minimal intervention or treatment. No time off work | Peripheral element of treatment or service suboptimal Informal complaint/inquiry | No or minimal impact or breech of guidance/ statutory duty | 1 | 1 | 2 | 3 | 4 | 5 |
| Minor injury or illness, requiring minor intervention Requiring time off work of less than 3 days Increase in length of hospital stay by 1-3 days | Overall treatment or service suboptimal Formal complaint (stage 1) Local resolution Single failure to meet internal standards Minor implications for patient safety if unresolved Reduced performance rating if unresolved | Breech of statutory legislation Reduced performance rating if unresolved | 2 | 2 | 4 | 6 | 8 | 10 |
| Moderate injury requiring professional intervention Requiring time off work for 4-14 days Increase in length of hospital stay by 4-15 days RIDDOR/agency reportable incident An event which impacts on a small number of patients | Treatment or service has significantly reduced effectiveness Formal complaint (stage 2) complaint Local resolution (with potential to go to independent review) Repeated failure to meet internal standards Major patient safety implications if findings are not acted on | Single breech in statutory duty Challenging external recommendations/ improvement notice | 3 | 3 | 6 | 9 | 12 | 15 |
| Major injury leading to long-term incapacity/disability Requiring time off work for >14 days Increase in length of hospital stay by >15 days Mismanagement of patient care with long-term effects | Non-compliance with national standards with significant risk to patients if unresolved Multiple complaints/ independent review Low performance rating Critical report | Enforcement action Multiple breeches in statutory duty Improvement notices Low performance rating Critical report | 4 | 4 | 8 | 12 | 16 | 20 |
| Incident leading to death Multiple permanent injuries or irreversible health effects An event which impacts on a large number of patients | Totally unacceptable level or quality of treatment/service Gross failure of patient safety if findings not acted on Inquest/ombudsman inquiry Gross failure to meet national standards | Multiple breeches in statutory duty Prosecution Complete systems change required Zero performance rating Severely critical report | 5 | 5 | 10 | 15 | 20 | 25 |