## Sheet1
Gender | Age | Comorbidities | Comments
M | 3 | Asthmatic | 02:00 - woke up crying as did not want it on foot, refusing to have sensor back on, 04:30am - still refusing to have sensor on and kicking it off, does not want the machine on his toe
M | 10 | Muscle weakness condition | not the best night's sleep due to the wires and the machine buzzing
M | 1 | Down Syndrome | probe detached from toe after 1.5 hours
M | 14 | Epilepsy | 2 nights - probe off 3 times first night, 2 times second night
M | 0.88 | None | Night 1 - 10:15 woke after 2 hours as monitor off foot.11:45pm - finally reattached to toe; 03:15am - turned off machine as patient woke up and machine fell off foot. Would not let me put it back on. Night 2 - 09:30pm attached; 09:44pm woke up - put it back on as wasn't on toe properly; 12:30 - turned off as patient fully awake and won't let parent put it back on. 01:00 am reattached, working ok. 01:45am - turned off for the night as won't keep it on foot and distressed
F | 3 | None | Night 1 - 20:42 bedtime; 20:47 - asleep; 01:15 - came off toe ?exact time; 07:52- awake Night 2 - 18:30-asleep; 20:33 - came off toe; 07:15 - awake
F | 3 | Asthmatic | Overnight - woke up several times taking off the wire and falling back to sleep. Had to reattach the wire using up most of the stickers
F | 2 | Asthmatic | Moved wire and probe causing machine to alarm. Probe kept falling off causing machine to alarm.
M | 7 | Autistic Spectrum | Tried with machine at home for 2 nights - failed, no data
F | 4 | None | Put sensor on awake, checked a little later and child was asleep. Woke for toilet at 00:20; woke again at 04:15 crying because it was itching. 04:30 probe removed for the rest of the night. Not a normal nights sleep as they usually sleep through.
M | 4 | Asthmatic | 23:50 Tried to attach monitor whilst awake, but would not accept monitor on toe. Waiting until they fully settle again. 00:00 - managed to get monitor on toe. 01:30 - monitor came off toe. 03:30 - A bit upset in their sleep, must know that the monitor is on as keeps trying to take it off. Settled down again with cuddle and reassurance.
M | 3 | None | Had to switch on three times as machine faulty. Switched machine off as not working - night 1. Night 2: 20:15 turned on, 20:22 - machine alarmed; did not have to replace, came back on; 21:10 - alarm went off, no change to probe made; 03:00 am probe alarming - went in but child asleep & probe in place; went off for a few seconds throughout the night, haven't repositioned, just came back on.
M | 3 | Wheeze | Attempted for 2 nights, would not keep probes on and got very upset when mum tried again. Family aware that they will have to come into the sleep unit for a repeat oximetry - written by home oximetry tech. Diary card: 20:45 - sleeping, attach monitor. 00:00 - alarm sounding as sensor had come off foot, put back on, don't know how long it has been off. 02:30 checked again and sensor was off; 07:00 - sensor was off again don't know how long it had been off. Night 2: 21:20-started monitoring - took a while to get on as child moving. 22:15 woke up distressed trying to take sensor from foot. 22:30 pulled off sensor, refused to put it back on. Mum would prefer to come into unit for this as child won't keep probe on.