## Sheet1
Opera	FIAB P/N		Patient type	Version	Cable & Connector	Patient age	Patient weight	Primary packaging pair per pouch	Sales packaging pouches per box	Box dimensions	Box weight, Kg	Compatibility	Adhesive ring width, cm	Electrode surface area, cm2	Electrode active area, cm2	Conductive material	Electro-conductive gel	Cable length, cm	Connection	Number of discharges	Operating temperature C	Storage temperature C	Shelf life (from manufacturing date)	Expiry date			Unit price	Box price
5510000	F7950		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Philips, Laerdal Medical, Agilent	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510000	F7950	€10.90	#REF!
5510001	F7951		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Zoll Medical	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510001	F7951	€10.90	#REF!
5510002	F7952		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510002	F7952	€10.90	#REF!
5510003	F7953		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Agilent HP, Laerdal	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510003	F7953	€10.90	#REF!
5510004	F7954		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Schiller, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510004	F7954	€10.90	#REF!
5510005	F7955		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510005	F7955	€10.90	#REF!
5510006	F7956		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Schiller (Fred Easy)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510006	F7956	€10.90	#REF!
5510008	F7958		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	CU Medical Systems	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510008	F7958	€10.90	#REF!
5510009	F7959		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	CU Medical Systems, Cmos Drake	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510009	F7959	€10.90	#REF!
5510011	F7961		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510011	F7961	€10.90	#REF!
5510012	F7962		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Marquette GE, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510012	F7962	€10.90	#REF!
5510013	F7963		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510013	F7963	€10.90	#REF!
5510015	F7965		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Corpuls	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510015	F7965	€10.90
5510016	F7965/PLUS	Pouch with hard plastic support	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Corpuls	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510016	F7965/PLUS	€13.90
5510018	F7967		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Schiller	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510018	F7967	€10.90
5510021	F7970		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Laerdal (snap connection)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510021	F7970	€10.90
5510022	F7971		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Medtronic Physiocontrol (snap connection)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510022	F7971	€10.90
5510023	F7972		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Marquette GE (snap connection)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510023	F7972	€10.90
5510022	F7981		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	GE	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510022	F7981	€13.90
5510036	F7985		Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Instramed	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510036	F7985	€10.90

5510050	F7950W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Philips, Laerdal Medical, Agilent	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510050	F7950W	€12.90	#REF!
5510051	F7951W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Zoll Medical	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510051	F7951W	€12.90	#REF!
5510052	F7952W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510052	F7952W	€12.90	#REF!
5510053	F7953W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Agilent HP, Laerdal	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510053	F7953W	€12.90	#REF!
5510054	F7954W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Schiller, Esaote	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510054	F7954W	€12.90	#REF!
5510055	F7955W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL. Metsis	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510055	F7955W	€12.90	#REF!
5510056	F7956W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Schiller	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510056	F7956W	€12.90	#REF!
5510058	F7958W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	CU Medical Systems	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510058	F7958W	€12.90	#REF!
5510059	F7959W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	CU Medical Systems, Cmos Drake	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510059	F7959W	€12.90	#REF!
5510060	F7960W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Metrax Primedic	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510060	F7960W	€17.90	#REF!
5510061	F7961W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510061	F7961W	€12.90	#REF!
5510064	F7964W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Weinmann, Cardiaid	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510064	F7964W	€12.90
5510067	F7966W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Defibtech	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510067	F7966W	€16.90
5510070	F7969W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Mediana	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510070	F7969W	€13.90
5510084	F7983W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Metsis	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510084	F7983W	€16.90
5510085	F7984W		Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Instramed	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510085	F7984W	€13.90

5510100	F7950P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Philips, Laerdal Medical, Agilent	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510100	F7950P	€13.90	#REF!
5510101	F7951P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Zoll Medical	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510101	F7951P	€13.90	#REF!
5510102	F7952P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510102	F7952P	€13.90	#REF!
5510103	F7953P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Agilent HP, Laerdal	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510103	F7953P	€13.90	#REF!
5510104	F7954P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Schiller, Esaote	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510104	F7954P	€13.90	#REF!
5510105	F7955P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510105	F7955P	€13.90	#REF!
5510106	F7956P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Schiller (Fred Easy)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510106	F7956P	€13.90	#REF!
5510108	F7958P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			CU Medical Systems	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510108	F7958P	€13.90
5510109	F7959P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Cmos Drake	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510109	F7959P	€13.90	#REF!
5510111	F7961P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Nihon Kohden	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510111	F7961P	€13.90	#REF!
5510112	F7962P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Marquette GE, Esaote	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510112	F7962P	€13.90	#REF!
5510115	F7965P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Corpuls (cable length cm 50)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	50	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510115	F7965P	€13.90
5510116	F7965PXL	Longer cable	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Corpuls (cable length cm 100)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510116	F7965PXL	€13.90
5510118	F7967P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Schiller	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510118	F7967P	€13.90
5510121	F7970P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Laerdal (snap connection)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510121	F7970P	€13.90
5510123	F7972P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Marquette GE (snap connection)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510123	F7972P	€13.90
5510132	F7981P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			GE	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510132	F7981P	€16.90
5510136	F7985P		Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Instramed	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510136	F7985P	€13.90

5510150	F7950PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Philips, Laerdal Medical, Agilent	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510150	F7950PW	€16.90	#REF!
5510151	F7951PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Zoll Medical	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510151	F7951PW	€16.90	#REF!
5510152	F7952PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510152	F7952PW	€16.90	#REF!
5510153	F7953PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Agilent HP, Laerdal	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510153	F7953PW	€16.90
5510155	F7955PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510155	F7955PW	€16.90	#REF!
5510164	F7964PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Weinmann, Cardiaid	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510164	F7964PW	€16.90
5510170	F7969PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Mediana	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510170	F7969PW	€16.90
5510184	F7983PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Metsis	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510184	F7983PW	€16.90
5510185	F7984PW		Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Instramed	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510185	F7984PW	€16.90

5510200	F7750		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Philips, Laerdal Medical, Agilent	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510200	F7750	€14.90
5510201	F7751		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Zoll Medical	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510201	F7751	€14.90
5510202	F7752		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510202	F7752	€14.90
5510203	F7753		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Agilent, Laerdal	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510203	F7753	€14.90
5510204	F7754		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Schiller, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510204	F7754	€14.90
5510205	F7755		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510205	F7755	€14.90
5510206	F7756		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Schiller	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510206	F7756	€14.90
5510209	F7759		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	CU Medical Systems, Cmos Drake	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510209	F7759	€14.90
5510211	F7761		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510211	F7761	€14.90
5510212	F7762		Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Marquette GE, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510212	F7762	€14.90

5510250	F7750W		Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Philips, Laerdal Medical, Agilent	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510250	F7750W	€16.90
5510251	F7751W		Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Zoll Medical	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510251	F7751W	€16.90
5510252	F7752W		Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510252	F7752W	€16.90
5510255	F7755W		Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	39.5 x 28.5 x 19.5	2	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510255	F7755W	€16.90

5510300	F7750P		Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Philips, Laerdal Medical, Agilent	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510300	F7750P	€16.90
5510301	F7751P		Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Zoll Medical	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510301	F7751P	€16.90
5510302	F7752P		Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510302	F7752P	€16.90
5510303	F7753P		Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Agilent, Laerdal	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510303	F7753P	€16.90
5510304	F7754P		Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Schiller, Esaote	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510304	F7754P	€16.90
5510305	F7755P		Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510305	F7755P	€16.90

5510352	F7752PW		Paediatric	Radiolucent	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510352	F7752PW	€16.90

5510400	F7950PL	With power reducer	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Philips, Laerdal Medical, Agilent						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510400	F7950PL	€25.00
5510402	F7952PL	With power reducer	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			Medtronic Physio Control						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510402	F7952PL	€25.00
5510408	F7958PL	With power reducer	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			CU Medical Systems						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510408	F7958PL	€25.00
5510409	F7959PL	With power reducer	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5			CU Medical Systems						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510409	F7959PL	€25.00

5510450	F7950WPL	With power reducer	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Philips, Laerdal Medical, Agilent						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510450	F7950WPL	€29.00
5510452	F7952WPL	With power reducer	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Medtronic Physio Control						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510452	F7952WPL	€29.00
5510459	F7959WPL	With power reducer	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			CU Medical Systems						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510459	F7959WPL	€29.00
5510467	F7966WPL	With power reducer	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5			Defibtech						100	Safety anti-shock or clip	50 @ 100 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510467	F7966WPL	€29.00

5510500	F7950U		Adult & Paediatric	Radiopaque (standard)	Inside pouch (standard)	>1 year	>10Kg	1	10	39.5 x 28.5 x 19.5	2		0.8	119	79	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 300 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510500	F7950U	€12.90

5510550	F7950UW		Adult & Paediatric	Radiopaque (standard)	Outside pouch (emergency)	>1 year	>10Kg	1	10	39.5 x 28.5 x 19.5	2		0.8	119	79	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 300 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510550	F7950UW	€14.90
5510587	F7986UW		Adult & Paediatric	Radiopaque (standard)	Outside pouch (emergency)	>1 year	>10Kg	1	10	39.5 x 28.5 x 19.5	2	Mediana	0.8	119	79	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 300 J	0 to +50	+5 to +35	30 months	Printed on packaging	5510587	F7986UW	€14.90