## Sheet1
Opera	FIAB P/N	Patient type	Version	Cable & Connector	Compatibility
5510000	F7950	Adult	Radiopaque (standard)	Inside pouch (standard)	Philips, Laerdal Medical, Agilent	5510000	F7950	Philips	HeartStream Forerunner I AED, model E
								Philips	HeartsSream Forerunner I AED, model S
								Philips	HeartStream Forerunner I AED, model M
								Philips	Heartstart FR1 AED, model 940010XX
								Philips	HeartStart FR1 AED, model 940020XX
								Philips	HeartStart FR1 AED, model 940030XX
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Philips	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Philips	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Laerdal Medical	HeartStream Forerunner I AED, model E
								Laerdal Medical	HeartsSream Forerunner I AED, model S
								Laerdal Medical	HeartStream Forerunner I AED, model M
								Laerdal Medical	Heartstart FR1 AED, model 940010XX
								Laerdal Medical	HeartStart FR1 AED, model 940020XX
								Laerdal Medical	HeartStart FR1 AED, model 940030XX
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Laerdal Medical	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Agilent	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Agilent	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Agilent	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Agilent	HeartStart 4000, model M5500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Philips	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Philips	HeartStart 4000, model M5500B with Philips cable M3508A
5510001	F7951	Adult	Radiopaque (standard)	Inside pouch (standard)	Zoll Medical	5510001	F7951	Zoll Medical	PD 1200
								Zoll Medical	PD 1400
								Zoll Medical	PD 1600
								Zoll Medical	PD 1700
								Zoll Medical	PD 2000
								Zoll Medical	M Series
								Zoll Medical	E Series
								Zoll Medical	R Series
								M&B Electronic Instruments	AED 7000
5510002	F7952	Adult	Radiopaque (standard)	Inside pouch (standard)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510002	F7952
5510003	F7953	Adult	Radiopaque (standard)	Inside pouch (standard)	Agilent HP, Laerdal	5510003	F7953
5510004	F7954	Adult	Radiopaque (standard)	Inside pouch (standard)	Schiller, Esaote	5510004	F7954
5510005	F7955	Adult	Radiopaque (standard)	Inside pouch (standard)	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	5510005	F7955
5510006	F7956	Adult	Radiopaque (standard)	Inside pouch (standard)	Schiller (Fred Easy)	5510006	F7956
5510008	F7958	Adult	Radiopaque (standard)	Inside pouch (standard)	CU Medical Systems	5510008	F7958
5510009	F7959	Adult	Radiopaque (standard)	Inside pouch (standard)	CU Medical Systems, Cmos Drake	5510009	F7959
5510011	F7961	Adult	Radiopaque (standard)	Inside pouch (standard)	Nihon Kohden	5510011	F7961
5510012	F7962	Adult	Radiopaque (standard)	Inside pouch (standard)	Marquette GE, Esaote	5510012	F7962
5510013	F7963	Adult	Radiopaque (standard)	Inside pouch (standard)	Nihon Kohden	5510013	F7963
5510015	F7965	Adult	Radiopaque (standard)	Inside pouch (standard)	Corpuls	5510015	F7965
5510016	F7965/PLUS	Adult	Radiopaque (standard)	Inside pouch (standard)	Corpuls	5510016	F7965/PLUS
5510018	F7967	Adult	Radiopaque (standard)	Inside pouch (standard)	Schiller	5510018	F7967
5510021	F7970	Adult	Radiopaque (standard)	Inside pouch (standard)	Laerdal (snap connection)	5510021	F7970
5510022	F7971	Adult	Radiopaque (standard)	Inside pouch (standard)	Medtronic Physiocontrol (snap connection)	5510022	F7971
5510023	F7972	Adult	Radiopaque (standard)	Inside pouch (standard)	Marquette GE (snap connection)	5510023	F7972
5510022	F7981	Adult	Radiopaque (standard)	Inside pouch (standard)	GE	5510022	F7981
5510036	F7985	Adult	Radiopaque (standard)	Inside pouch (standard)	Instramed	5510036	F7985

5510050	F7950W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Philips, Laerdal Medical, Agilent	5510050	F7950W	Philips	HeartStream Forerunner I AED, model E
								Philips	HeartsSream Forerunner I AED, model S
								Philips	HeartStream Forerunner I AED, model M
								Philips	Heartstart FR1 AED, model 940010XX
								Philips	HeartStart FR1 AED, model 940020XX
								Philips	HeartStart FR1 AED, model 940030XX
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Philips	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Philips	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Laerdal Medical	HeartStream Forerunner I AED, model E
								Laerdal Medical	HeartsSream Forerunner I AED, model S
								Laerdal Medical	HeartStream Forerunner I AED, model M
								Laerdal Medical	Heartstart FR1 AED, model 940010XX
								Laerdal Medical	HeartStart FR1 AED, model 940020XX
								Laerdal Medical	HeartStart FR1 AED, model 940030XX
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Laerdal Medical	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Agilent	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Agilent	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Agilent	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Agilent	HeartStart 4000, model M5500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Philips	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Philips	HeartStart 4000, model M5500B with Philips cable M3508A
5510051	F7951W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Zoll Medical	5510051	F7951W	Zoll Medical	PD 1200
								Zoll Medical	PD 1400
								Zoll Medical	PD 1600
								Zoll Medical	PD 1700
								Zoll Medical	PD 2000
								Zoll Medical	M Series
								Zoll Medical	E Series
								Zoll Medical	R Series
								M&B Electronic Instruments	AED 7000
5510052	F7952W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510052	F7952W
5510053	F7953W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Agilent HP, Laerdal	5510053	F7953W
5510054	F7954W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Schiller, Esaote	5510054	F7954W
5510055	F7955W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL. Metsis	5510055	F7955W
5510056	F7956W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Schiller	5510056	F7956W
5510058	F7958W	Adult	Radiopaque (standard)	Outside pouch (emergency)	CU Medical Systems	5510058	F7958W
5510059	F7959W	Adult	Radiopaque (standard)	Outside pouch (emergency)	CU Medical Systems, Cmos Drake	5510059	F7959W
5510060	F7960W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Metrax Primedic	5510060	F7960W
5510061	F7961W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Nihon Kohden	5510061	F7961W
5510064	F7964W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Weinmann, Cardiaid	5510064	F7964W
5510067	F7966W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Defibtech	5510067	F7966W
5510070	F7969W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Mediana	5510070	F7969W
5510084	F7983W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Metsis	5510084	F7983W
5510085	F7984W	Adult	Radiopaque (standard)	Outside pouch (emergency)	Instramed	5510085	F7984W

5510100	F7950P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Philips, Laerdal Medical, Agilent	5510100	F7950P	Philips	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Philips	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Laerdal Medical	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Agilent	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Agilent	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Agilent	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Agilent	HeartStart 4000, model M5500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Philips	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Philips	HeartStart 4000, model M5500B with Philips cable M3508A
5510101	F7951P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Zoll Medical	5510101	F7951P	Zoll Medical	PD 1200
								Zoll Medical	PD 1400
								Zoll Medical	PD 1600
								Zoll Medical	PD 1700
								Zoll Medical	PD 2000
								Zoll Medical	M Series
								Zoll Medical	E Series
								Zoll Medical	R Series
5510102	F7952P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510102	F7952P
5510103	F7953P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Agilent HP, Laerdal	5510103	F7953P
5510104	F7954P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Schiller, Esaote	5510104	F7954P
5510105	F7955P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	5510105	F7955P
5510106	F7956P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Schiller (Fred Easy)	5510106	F7956P
5510108	F7958P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	CU Medical Systems	5510108	F7958P
5510109	F7959P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Cmos Drake	5510109	F7959P
5510111	F7961P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Nihon Kohden	5510111	F7961P
5510112	F7962P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Marquette GE, Esaote	5510112	F7962P
5510115	F7965P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Corpuls (cable length cm 50)	5510115	F7965P
5510116	F7965PXL	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Corpuls (cable length cm 100)	5510116	F7965PXL
5510118	F7967P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Schiller	5510118	F7967P
5510121	F7970P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Laerdal (snap connection)	5510121	F7970P
5510123	F7972P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Marquette GE (snap connection)	5510123	F7972P
5510132	F7981P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	GE	5510132	F7981P
5510136	F7985P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	Instramed	5510136	F7985P

5510150	F7950PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Philips, Laerdal Medical, Agilent	5510150	F7950PW	Philips	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Philips	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Laerdal Medical	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Agilent	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Agilent	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Agilent	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Agilent	HeartStart 4000, model M5500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Philips	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Philips	HeartStart 4000, model M5500B with Philips cable M3508A
5510151	F7951PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Zoll Medical	5510151	F7951PW	Zoll Medical	PD 1200
								Zoll Medical	PD 1400
								Zoll Medical	PD 1600
								Zoll Medical	PD 1700
								Zoll Medical	PD 2000
								Zoll Medical	M Series
								Zoll Medical	E Series
								Zoll Medical	R Series
5510152	F7952PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510152	F7952PW
5510153	F7953PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Agilent HP, Laerdal	5510153	F7953PW
5510155	F7955PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	5510155	F7955PW
5510164	F7964PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Weinmann, Cardiaid	5510164	F7964PW
5510170	F7969PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Mediana	5510170	F7969PW
5510184	F7983PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Metsis	5510184	F7983PW
5510185	F7984PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Instramed	5510185	F7984PW

5510200	F7750	Adult	Radiolucent	Inside pouch (standard)	Philips, Laerdal Medical, Agilent	5510200	F7750	Philips	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Philips	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Laerdal Medical	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Agilent	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Agilent	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Agilent	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Agilent	HeartStart 4000, model M5500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Philips	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Philips	HeartStart 4000, model M5500B with Philips cable M3508A
5510201	F7751	Adult	Radiolucent	Inside pouch (standard)	Zoll Medical	5510201	F7751	Zoll Medical	PD 1200
								Zoll Medical	PD 1400
								Zoll Medical	PD 1600
								Zoll Medical	PD 1700
								Zoll Medical	PD 2000
								Zoll Medical	M Series
								Zoll Medical	E Series
								Zoll Medical	R Series
								M&B Electronic Instruments	AED 7000
5510202	F7752	Adult	Radiolucent	Inside pouch (standard)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510202	F7752
5510203	F7753	Adult	Radiolucent	Inside pouch (standard)	Agilent, Laerdal	5510203	F7753
5510204	F7754	Adult	Radiolucent	Inside pouch (standard)	Schiller, Esaote	5510204	F7754
5510205	F7755	Adult	Radiolucent	Inside pouch (standard)	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	5510205	F7755
5510206	F7756	Adult	Radiolucent	Inside pouch (standard)	Schiller	5510206	F7756
5510209	F7759	Adult	Radiolucent	Inside pouch (standard)	CU Medical Systems, Cmos Drake	5510209	F7759
5510211	F7761	Adult	Radiolucent	Inside pouch (standard)	Nihon Kohden	5510211	F7761
5510212	F7762	Adult	Radiolucent	Inside pouch (standard)	Marquette GE, Esaote	5510212	F7762

5510250	F7750W	Adult	Radiolucent	Outside pouch (emergency)	Philips, Laerdal Medical, Agilent	5510250	F7750W	Philips	HeartStream Forerunner I AED, model E
								Philips	HeartsSream Forerunner I AED, model S
								Philips	HeartStream Forerunner I AED, model M
								Philips	Heartstart FR1 AED, model 940010XX
								Philips	HeartStart FR1 AED, model 940020XX
								Philips	HeartStart FR1 AED, model 940030XX
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Philips	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Philips	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Laerdal Medical	HeartStream Forerunner I AED, model E
								Laerdal Medical	HeartsSream Forerunner I AED, model S
								Laerdal Medical	HeartStream Forerunner I AED, model M
								Laerdal Medical	Heartstart FR1 AED, model 940010XX
								Laerdal Medical	HeartStart FR1 AED, model 940020XX
								Laerdal Medical	HeartStart FR1 AED, model 940030XX
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Laerdal Medical	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Agilent	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Agilent	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Agilent	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Agilent	HeartStart 4000, model M5500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Philips	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Philips	HeartStart 4000, model M5500B with Philips cable M3508A
5510251	F7751W	Adult	Radiolucent	Outside pouch (emergency)	Zoll Medical	5510251	F7751W	Zoll Medical	PD 1200
								Zoll Medical	PD 1400
								Zoll Medical	PD 1600
								Zoll Medical	PD 1700
								Zoll Medical	PD 2000
								Zoll Medical	M Series
								Zoll Medical	E Series
								Zoll Medical	R Series
								M&B Electronic Instruments	AED 7000
5510252	F7752W	Adult	Radiolucent	Outside pouch (emergency)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510252	F7752W
5510255	F7755W	Adult	Radiolucent	Outside pouch (emergency)	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	5510255	F7755W

5510300	F7750P	Paediatric	Radiolucent	Inside pouch (standard)	Philips, Laerdal Medical, Agilent	5510300	F7750P	Philips	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Philips	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Philips	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Laerdal Medical	CodeMaster, model M1722A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M1723A/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M17224/B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	CodeMaster, model M2475B with Philips cable M30507A and pad adapter 05-200
								Laerdal Medical	HeartStart Mrx, model M3535A, with Philips cable M3508A
								Agilent	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Agilent	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Agilent	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Agilent	HeartStart 4000, model M5500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL, model M4735A with Philips cable M3508A
								Philips	HeartStream HeartStart XLT, model M3500B with Philips cable M3508A
								Philips	HeartStream HeartStart XL+, model 861290 with Philips cable M3508A
								Philips	HeartStart 4000, model M5500B with Philips cable M3508A
5510301	F7751P	Paediatric	Radiolucent	Inside pouch (standard)	Zoll Medical	5510301	F7751P	Zoll Medical	PD 1200
								Zoll Medical	PD 1400
								Zoll Medical	PD 1600
								Zoll Medical	PD 1700
								Zoll Medical	PD 2000
								Zoll Medical	M Series
								Zoll Medical	E Series
								Zoll Medical	R Series
5510302	F7752P	Paediatric	Radiolucent	Inside pouch (standard)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510302	F7752P
5510303	F7753P	Paediatric	Radiolucent	Inside pouch (standard)	Agilent, Laerdal	5510303	F7753P
5510304	F7754P	Paediatric	Radiolucent	Inside pouch (standard)	Schiller, Esaote	5510304	F7754P
5510305	F7755P	Paediatric	Radiolucent	Inside pouch (standard)	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	5510305	F7755P

5510352	F7752PW	Paediatric	Radiolucent	Outside pouch (emergency)	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	5510352	F7752PW

5510400	F7950PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	Philips, Laerdal Medical, Agilent	5510400	F7950PL	Philips	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
5510402	F7952PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	Medtronic Physio Control	5510402	F7952PL
5510408	F7958PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	CU Medical Systems	5510408	F7958PL
5510409	F7959PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	CU Medical Systems	5510409	F7959PL

5510450	F7950WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	Philips, Laerdal Medical, Agilent	5510450	F7950WPL	Philips	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Philips	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Philips	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3841A
								Laerdal Medical	HeartStream HeartStart FR2 AED with ECG module, model M3861A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3840A
								Laerdal Medical	HeartStream HeartStart FR2+ AED with ECG module, model M3860A
5510452	F7952WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	Medtronic Physio Control	5510452	F7952WPL
5510459	F7959WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	CU Medical Systems	5510459	F7959WPL
5510467	F7966WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	Defibtech	5510467	F7966WPL

5510500	F7950U	Adult & Paediatric	Radiopaque (standard)	Inside pouch (standard)		5510500	F7950U

5510550	F7950UW	Adult & Paediatric	Radiopaque (standard)	Outside pouch (emergency)		5510550	F7950UW
5510587	F7986UW	Adult & Paediatric	Radiopaque (standard)	Outside pouch (emergency)	Mediana	5510587	F7986UW