## Sheet1
Part number	Model	Description	Patient type	Application	Sensor diameter	Connector	Main OEM
212009	2009	Oesophageal/rectal – neonatal, Ø 2mm	Neonatal	Oesophageal/rectal	2 mm	6.35mm (¼") jack (mono)	General purpose / various
212010	2010	Oesophageal/rectal – paediatric, Ø 3mm	Paediatric	Oesophageal/rectal	3 mm	6.35mm (¼") jack (mono)	General purpose / various
212011	2011	Oesophageal/rectal – adult, Ø 4mm	Adult	Oesophageal/rectal	4 mm	6.35mm (¼") jack (mono)	General purpose / various
212012	2012	Oesophageal/rectal – neonatal, Ø 2mm	Neonatal	Oesophageal/rectal	2 mm	6.35mm (¼") jack (mono)Right angled	General purpose / various
212013	2013	Oesophageal/rectal – paediatric, Ø 3mm	Paediatric	Oesophageal/rectal	3 mm	6.35mm (¼") jack (mono)Right angled	General purpose / various
212014	2014	Oesophageal/rectal – adult, Ø 4mm	Adult	Oesophageal/rectal	4 mm	6.35mm (¼") jack (mono)Right angled	General purpose / various
212015	2015	Oesophageal/rectal – neonatal, Ø 2mm	Neonatal	Oesophageal/rectal	2 mm	Siemens / Draeger	Siemens / Draeger
212016	2016	Oesophageal/rectal – paediatric, Ø 3mm	Paediatric	Oesophageal/rectal	3 mm	Siemens / Draeger	Siemens / Draeger
212017	2017	Oesophageal/rectal – adult, Ø 4mm	Adult	Oesophageal/rectal	4 mm	Siemens / Draeger	Siemens / Draeger
212018	2018	Oesophageal/rectal – neonatal, Ø 2mm	Neonatal	Oesophageal/rectal	2 mm	Hewlett Packard / Philips	Hewlett Packard / Philips
212019	2019	Oesophageal/rectal – paediatric, Ø 3mm	Paediatric	Oesophageal/rectal	3 mm	Hewlett Packard / Philips	Hewlett Packard / Philips
212020	2020	Oesophageal/rectal – adult, Ø 4mm	Adult	Oesophageal/rectal	4 mm	Hewlett Packard / Philips	Hewlett Packard / Philips
212021	2021	Skin contact – neonatal, Ø 6mm	Neonatal	Skin contact	6 mm	6.35mm (¼") jack (mono)	General purpose / various
212022	2022	Skin contact – paediatric, Ø 10mm	Paediatric	Skin contact	10 mm	6.35mm (¼") jack (mono)	General purpose / various
212023	2023	Skin contact – adult, Ø 16mm	Adult	Skin contact	16 mm	6.35mm (¼") jack (mono)	General purpose / various
212024	2024	Skin contact – neonatal, Ø 6mm	Neonatal	Skin contact	6 mm	6.35mm (¼") jack (mono)Right angled	General purpose / various
212025	2025	Skin contact – paediatric, Ø 10mm	Paediatric	Skin contact	10 mm	6.35mm (¼") jack (mono)Right angled	General purpose / various
212026	2026	Skin contact – adult, Ø 16mm	Adult	Skin contact	16 mm	6.35mm (¼") jack (mono)Right angled	General purpose / various
212027	2027	Skin contact – neonatal, Ø 6mm	Neonatal	Skin contact	6 mm	Siemens / Draeger	Siemens / Draeger
212028	2028	Skin contact – paediatric, Ø 10mm	Paediatric	Skin contact	10 mm	Siemens / Draeger	Siemens / Draeger
212029	2029	Skin contact – adult, Ø 16mm	Adult	Skin contact	16 mm	Siemens / Draeger	Siemens / Draeger
212030	2030	Skin contact – neonatal, Ø 6mm	Neonatal	Skin contact	6 mm	Hewlett Packard / Philips	Hewlett Packard / Philips
212031	2031	Skin contact – paediatric, Ø 10mm	Paediatric	Skin contact	10 mm	Hewlett Packard / Philips	Hewlett Packard / Philips
212032	2032	Skin contact – adult, Ø 16mm	Adult	Skin contact	16 mm	Hewlett Packard / Philips	Hewlett Packard / Philips