| Description | Precision part number | Opera part number |  |
| --- | --- | --- | --- |
| User manual | 505127 | 5690000 |  |
| Oxygen sensor and diverter | 504877 | 5620001 |  |
| T adapter | 505126 | 5620011 |  |
| Oxygen sensor cable | 504937 | 5620002 |  |
| Battery Pack (4) | 505124-4 | 9950054 |  |
| Rubber feet (4) | 505122-4 | 5630002 |  |
| Battery Cover | 504909 | 5630001 |  |
| V Block | 505010 | ? | Being queried, see email. |
| Diverter | 505344 | 5620012 |  |
| Monitor wall mount bracket | 505189 | 5620005 |  |
| Monitor vertical pole mount clamp | 505013 | 5620006 |  |
| Monitor horizontal pole mount clamp | 505014 | 5620007 |  |
| Dove tail bracket | 505012 | 5620003 ? | Being queried, see email. |
| Dove tail bracket screw | 505712 | 5620004 ? | Being queried, see email. |