| Description | Precision part number | Opera part number |  |
| --- | --- | --- | --- |
| User manual | 505127 | 5690000 |  |
| Oxygen sensor and diverter | 504877 | 5620001 |  |
| T adapter | 505126 | 5620011 |  |
| Oxygen sensor cable | 504937 | 5620002 |  |
| Battery Pack (4) | 505124-4 | 9950054 |  |
| Rubber feet (4) | 505122-4 | 5630002 |  |
| Battery Cover | 504909 | 5630001 |  |
| Monitor V mount bracket | 505010 | 5620003 | Supplied fitted to the monitor |
| Monitor V mount bracket Screw | 505120 | 5620004 | Supplied fitted to the monitor |
| Flow diverter | 505344 | 5620012 |  |
| Monitor wall mount & screws | 505189 | 5620005 | See also parts: 5630003 & 5630004 |
| Monitor vertical pole mount clamp | 505013 | 5620006 |  |
| Monitor horizontal pole mount clamp | 505014 | 5620007 |  |
| Monitor wall mount | 505012 | 5630003 |  |
| Monitor wall mount screws (2) | 505712 | 5630004 |  |