## Sheet1
Leaflet	Web site	Opera ref	Precision ref.	Oxygen Monitor	Image		List	Distributor

				Low Flow Blender
To add	To add	5610050	PM5300EN	PM5300 Series Low Flow Air/O2 Blender. DISS inlet. 1 x DISS Primary Outlet, 1 x DISS Auxillary Outlet.	Received		$965.00	$675.50
To add	To add	5610051	PM5300NISTAP	PM5300 Series Low Flow Air/O2 Blender. NIST Inlet. 1 x DISS Primary Outlet, 1 x DISS Auxillary Outlet.	Required		$965.00	$675.50
To add	To add	5620051	504776	Blender Wall Mount	Received		$25.00	$20.00
To add	To add	5620052	504778	Blender Pole Mount	Received		$47.50	$38.00
To add	To add	5620053	507267	Blender Rail Mount	Received		$73.00	$58.40
To add	To add	5620054	505976	Blender DIN Rail Clamp	Received		$62.00	$49.60
		5620060	PM15-45	Blender Condensation Trap	Received		$58.50	$46.80
To add	To add	5620065	505500	Primary Outlet Fitting Kit, DISS with label for Low Flwo Blender.	Required		TBA	TBA
To add	To add	5620066	505499	Auxiliary Outlet Fitting Kit, DISS with label for Low Flow Blender.	Required		TBA	TBA
To add	To add	5620080	1MFA1002AU-L	Flowmeter, 0-15 lpm with DISS inlet. Brass body. Left side version	Required		TBA	TBA
To add	To add	5620081	1MFA1002AU-R	Flowmeter, 0-15 lpm with DISS inlet. Brass body. Right side version	Required		TBA	TBA
To add	To add	5620082	1MFA1002AU-S	Flowmeter, 0-15 lpm with DISS inlet. Brass body. Straight version	Required		TBA	TBA
To add	To add	5620083	8MFA1002AU-L	Flowmeter, 0-15 lpm with DISS inlet. Aluminium body. Left side version	Required		TBA	TBA
To add	To add	5620084	8MFA1002AU-R	Flowmeter, 0-15 lpm with DISS inlet. Aluminium body. Right side version	Required		TBA	TBA
To add	To add	5620085	8MFA1002AU-S	Flowmeter, 0-15 lpm with DISS inlet. Aluminium body. Straight side version	Required		TBA	TBA
To add	To add	5630050	505535	Blender Service Kit – PM5300 Low Flow, NIST	Required		$322.00	$256.60
To add	To add	5630051	504932	Blender Service Kit – PM5300 Low Flow, DISS	Required		TBA	TBA
To add	To add	5690050	504827	Blender Service Manual - PM5300 Series	Not Required		TBA	TBA

				Flowmeters
		5610100	8MFA1004AU	Oxygen Flowmeter, Compact (0-15 L/min) DISS Male			$32.00	$25.60
		5610110	1MFA1004AU	MFA Series Flowmeter, Chrome, O2,15LPM, Male DISS			$42.00	$33.60
		5610120	8MFA1009AU	Oxygen Flowmeter, Compact (0-15 L/min) Schrader			$48.00	$38.40
		5610130	1MFA1009AU	1MFA Series Flowmeter, Chrome, O2,15LPM, Schrader			$52.00	$41.60