## Sheet1
		Direct from TAI (Y/N)	Base sensor type, wet component	Verify output	Datasheet?	USD $	Converted (Y/N)	If converted, from which base sensor	Procedure Y/N	Batch qty	Approx. annual qty	Comments
0110215	R-33S1	Y		23-27	Y		N		N	50	100-150
0110214	R-33S	Y		23-27	Y		N		N		0-3	Used mainly as a component
0110217	R-17VAN	Y	R-17	7 - 13 mV	Y		N		N		800-1000	Also from Envitec. Vandagraph datasheet will be prepared.
0110220	R-22OMS	N	R-22SHO	23-27	N		Y	R-22SHO	Y		10
0110224	R-33DE	N	R-33S1	23-27	N		Y	R-33S1	Y	50	300-350
0110240	NRC D-40 (OEM)	N	R-33S1	23-27	N		Y	R-33S1 (This is the same as the R-33DE)	Y	25	100
0110381	Sumner WGA-02 (OEM)	N	R-17VAN	9-13	N		Y	R-17VAN – Label Only	N		300-350
0110301	Divesoft Type 22 (OEM)	N	R-22AV	9-13	N		Y	R-22AV – Label Only	N	200	800-1000
0110225	R-22DEM	N	R-22AV	9-13	N		Y	R-22AV	Y	2	10
0110226	R-33VAN	N	R-33S	23-27	N		Y	R-33S	Y		50
0110227	R-22AEX	N	R-22A/R-22AV	7-13	N		Y	R-22A/R-22AV	Y		20-30
0110228	R-22ADD	N	R-22A/R-22AV	7-13	N		Y	R-22A/R-22AV	Y		0
0110229	R-22SHO	Y		23-27	Y		N		N		100
0110232	R-22VAN	N	R-22AV	9-13	N			R-22AV - Label Change Only			250
0110235	R-33VAN-4	N			N		Y	R-33S	Y		0
0110236	R-33S1 REV POL	Yes, as R-33S1		23-27	N			R-33S1 – Change polarity of connector only	N		50
0110237	R-17S1	Yes		23-27	Y		N				10
0110238	R-22AT	N	R-22AV	9-13	N		Y	R-22AV	Y	20	60
0110239	R-33VAN REV POL	N	R-33S	23-27	N		Y	R-33S – R-33VAN – Change Polarity of R-33VAN connector only	N		20
0110241	R-33VAN-2	N	R-33S	23-27	N		Y	R-33S	Y		12