| Received | Dated – valid from | OEM board | Document number | Hardware version | Software version | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| 2017-07-18 | 2009-07-01 | Flow-A | 305016.7 | ≥ 303016.8 | 1.32 | References SpiroTrue A and SpiroQuant A. |
| 2017-07-19 | 2009-07-01 | Flow-A | 305016.7 | ≥ 303016.8 | 1.32 | References SpiroTrue A and SpiroQuant A. |
| 2017-07-20 | 2016-12-12 | Flow A | 305016.8 | ≥ 303016.8 | 1.32 | SpiroTrue A and SpiroQuant A references removed. |
| 2017-07-19 | 2015-04-01 | Flow A-F | 309016.3 | ≥ 309016.2 | 1.3.00 | * |

States: The OEM module Flow A-F is designed to work with our hot-wire flow sensors.

This alludes that the the flow sensors are manufactured by Sensatronic. Can we just remove the word ‘our’ then the manual suits all (Sensatronic/Bluepoint/Viamed) of our purposes?