Post Market Surveillance Review

4310003 Flowsensor SpiroTrue H. Box of 6

First sold: 8th May 2009

Total sales to date: 2,700 boxes, across 19 countries

Total failures: 2 boxes

Total returns: 2 packs – failed calibration on Hamilton G5 ventilator, reported then returned to Viamed for credit 10/12/2009. Sensors supplied to Bluepoint Medical for evaluation 29/12/2009

Customer: Royal Sussex County Hospital    SRS61983

Total customer failures: 0.07%

Applications:

| Manufacturer | Description |  |
| --- | --- | --- |
| Draeger | Oxilog 2000 Plus (if disposable circuits used) | Ventilator |
| Draeger | Oxilog 3000 (if disposable circuits used) | Ventilator |
| Draeger | Oxilog 3000 Plus (if disposable circuits used) | Ventilator |
| Draeger | VentStar | Ventilator |
| Hamilton Medical | 155362 | Flow Sensor |
| Hamilton Medical | 279331 | Flow Sensor |
| Hamilton Medical | 53120 | Flow Sensor |
| Hamilton Medical | Amadeus | Ventilator |
| Hamilton Medical | C1 | Ventilator |
| Hamilton Medical | C2 | Ventilator |
| Hamilton Medical | G5 | Ventilator |
| Hamilton Medical | Galileo | Ventilator |
| Hamilton Medical | H72 | Ventilator |
| Hamilton Medical | H7200 | Ventilator |
| Hamilton Medical | H7400 AccuTach | Flow Sensor |
| Hamilton Medical | MR1 | Ventilator |
| Hamilton Medical | Raphael | Ventilator |
| Hamilton Medical | S1 | Ventilator |
| Hamilton Medical | T1 | Ventilator |
| Hamilton Medical | Veolar | Ventilator |
| Hamilton Medical | VR-1 | Ventilator |

Reviewed by: Steve Nixon

Director – Viamed Ltd.

Date: 21st July 2017